{"text_format":"2","workbook":"xlsx","n_sheets":5,"sheets":["版次订正记录","下拉菜单","(#1) 规格调查表--1.6版 (91號左梯地下室梯) ","(#2) 规格调查表--1.6版 (93號右梯平面梯)","土建示意图"],"not_rendered":{"charts":0,"images":2,"macros":0,"external_links":0,"defined_names":0,"comments":2,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"版次订正记录","index":0,"n_rows":13,"n_cols":4,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
["版次","内容","作成/审核","时间"]
["1.0","初版作成","祝晓祥/李普祥","2022.06.10"]
["1.1","依照和巨龙检讨：不锈钢标配由长丝改为短丝","祝晓祥/李普祥","2022.06.10"]
["1.2","依实际使用状况，重新排版；","祝","2022.11.09"]
["1.3","依營業使用状况，重新修正；","郭","2022.11.22"]
["1.4","H10 追加全机旧改","郭","2022.11.28"]
["↑","F26 強驅照明電源追加程式","↑","↑"]
["↑","M32 追加(修改)程式","↑","↑"]
["1.5","選配功能程式修正","郭","2022.12.6"]
["↑","追加改訂欄位","↑","↑"]
["1.6","追加語音合成選項","郭","2022.12.23"]
["↑","自動返回基站改選配","↑","↑"]
["↑","新增語音形式選擇","↑","↑"]

{"sheet":"下拉菜单","index":1,"n_rows":62,"n_cols":41,"rows_kept":62,"cut":false,"hidden":false,"merged":[]}
[]
[{"$nulls":14},"天井","地板",{"$nulls":6},"无"]
["机种",{"$nulls":13},"依标准","依标准","外呼","明镜",null,"操纵盘型号","无",null,"依标准","无","无",{"$nulls":11},"到站灯"]
["MAE100有机房","人乘","台湾","新梯","公共","450kg","30m/min",{"$nulls":5},"1","2","MB001","PVC","无","无","普通,直角配","无","标准","无","彩妆钢板","Q235A","依标准","无","2P-CO","光幕","无","2:1","Φ8mm×5沟",null,"220V/50HZ",800,"2000mm",null,"无","海德汉1357","sin/cos","Φ320","TK5A-1"]
["MAM200無機房","货梯","大陆","全机旧改","一般","550kg","45m/min","否","3相4线制380V/60HZ","单相110V/60HZ","全混泥土","单台","2","3","MB002","大理石",null,"后侧(半身明鏡)有,由台北自理","一体式,直角配","ME001","非标,见特记事项","MC001","钢板烤漆","304短丝","见特记事项","两侧","2S-L","二合一","标准大门框","1:1","Φ8mm×6沟",null,null,900,"2100mm",null,"MG001",null,null,"Φ400","T75/B"]
["MAH100小電梯","观光",null,"旧改M1",null,"600kg","60m/min","是,千鸟","3相5线制380V/60HZ",null,"圈梁","联动","3","4","MB003","花纹钢板","---人乘用---","见特记事项",null,"ME002",null,"MC002","发纹不锈钢",304,null,"特记","2S-R",null,"大门框附幕板",null,"Φ8mm×7沟",null,null,1000,"2200mm",null,"MG002",null,null,"Φ420","T89/B"]
["MAQ100強驅梯","客货",null,"旧改M2",null,"700kg","90m/min","是,贯通","3相4线制220V/60HZ",null,"钢结构","群控","4","5","MB004","业主自理","MF001",null,null,"ME003",null,"MC003","镜面不锈钢","依标准",null,null,"4P-CO",null,null,null,"Φ10mm×5沟",null,null,1100,"2300mm",null,"MG003",null,null,"Φ450","T114/B"]
["MAF100貨梯","病床",null,"旧改M3",null,"750kg","105m/min",null,"单相 220V/60HZ",null,null,null,"5","6","MB005",null,"MF002",null,null,"ME005(含語音呼梯)",null,"MC004","镀钛不锈钢(抗指紋)","其他",null,null,"2U",null,null,null,"Φ10mm×6沟",null,null,1200,"2400mm",null,"MG004",null,null,"Φ550","T127/B"]
["MAZ100雜物梯","紧急",null,"旧改M4",null,"800kg","120m/min",{"$nulls":5},"6","7","MB006","依标准","MF003",null,null,"ME006(一体式,非前側)","无","见特记事项","发纹不锈钢(蚀刻)",null,null,null,"特记事项",null,null,null,"Φ10mm×7沟",null,null,1400,"特记事项",null,"MG005"]
[null,"残障",null,"旧改M1+M4",null,"900kg","150m/min",{"$nulls":5},"7","8","MB007","MD001","MF004",null,null,"ME008(一体式,前側)","标准",null,"镜面不锈钢(蚀刻)",{"$nulls":10},1700,null,null,"MG006"]
[null,"紧急兼残障",null,null,null,"1000kg",{"$nulls":6},"8","9","MB008","MD002","MF005",null,null,"--------------------","见特记事项(需先和上海确认OK)",null,"镀钛不锈钢(蚀刻+抗指紋)",{"$nulls":10},2300,null,"否","特记事项"]
[null,"特殊环境",null,null,null,"1050kg",{"$nulls":6},"9","10","MB009","MD003","MF006",null,null,"以下為小電梯用",null,null,"见特记事项",{"$nulls":10},"特记事项",null,"千鸟"]
[{"$nulls":5},"1150kg",{"$nulls":6},"10","11","MB010","MD004","MF010 (有底盒,手勢呼梯)",null,null,"ME017",null,null,null,"ML001",{"$nulls":7},"是",null,null,null,"贯通"]
[{"$nulls":5},"1350kg",{"$nulls":6},"11","12","MB011","MD005","MF011",null,null,"ME018",null,null,null,"ML002",null,null,"是",null,null,null,"无","否",{"$nulls":8},12]
["號机",{"$nulls":4},"1600kg",{"$nulls":6},"12","13","MB012","MD006","MF013 (無接觸式按鈕)",null,null,"ME019",null,null,null,"ML003",null,null,"否",null,null,null,"依标准",{"$nulls":9},18]
["NO.1",{"$nulls":11},"13","14","见特记事项","MD007","MF021",{"$nulls":5},"烤漆(色号7036)","ML004",null,"无",null,null,"无",null,"见特记事项",null,null,"刷卡机",{"$nulls":6},24]
["NO.2",{"$nulls":11},"14","15",null,"MD008","MF022 (有底盒,手勢呼梯)",{"$nulls":5},"烤漆(色号7042)","ML005",null,"依标准",null,null,"标准-仅留配线(網線)",{"$nulls":4},"无"]
["NO.3",{"$nulls":11},"15","16",null,"MD009",{"$nulls":6},"纯发纹不锈钢","ML006",null,"特记事项",null,null,"我司负责",null,"无","是",null,"业主自理(外挂式)"]
["NO.4",{"$nulls":11},"16","17",null,"MD010","---残障用---",{"$nulls":5},"镜面不锈钢","ML007",{"$nulls":6},"轿厢侧","否",null,"标准-业主自理(隐藏式)"]
["NO.5",{"$nulls":11},"17","18","轎廂","MD011","MF001+MF015",null,null,"残障操纵盘",null,null,"镀钛不锈钢","ML008",{"$nulls":6},"乘场侧",null,null,"我司负责(隐藏式)"]
["NO.6",{"$nulls":11},"18","19","MA001","MD012","MF007",null,null,"无",null,null,null,"ML009",{"$nulls":4},"无",null,"轿厢+乘场"]
["NO.7",{"$nulls":11},"19","20","MA002","MD013","MF008",null,null,"ME010",null,null,null,"ML010",null,"标准",null,null,"业主自理"]
["NO.8",{"$nulls":11},"20","21","MA003","其他","MF009 (兩台並聯,手勢呼梯)",null,null,"ME011",{"$nulls":5},"非标准",null,null,"我司负责"]
["NO.9",{"$nulls":11},"21","22","MA004",null,"MF011+MF012",null,null,"ME012",null,null,null,7036]
["NO.10",{"$nulls":11},"22","23","MA005",{"$nulls":4},"ME013",null,null,null,7042,{"$nulls":4},"无",null,"到站灯","橫顯",null,"語音合成"]
["NO.11",{"$nulls":11},"23","24","MA006",2,"---人乘+残障用---",{"$nulls":6},"/",{"$nulls":4},"手势",null,"无","无","无"]
["NO.12",{"$nulls":11},"24","25","MA007",4,"MF019 (左側殘障用)",{"$nulls":11},"APP",null,"MG001","MH001","轎廂","國語 (標準)"]
["NO.13",{"$nulls":11},"25","26","MA008",6,"MF020 (右側殘障用)",{"$nulls":13},"MG002","MH002","乘場","國語+台語"]
["NO.14",{"$nulls":11},"26","27","其他",20,"见特记事项",{"$nulls":13},"MG003","见特记事项",null,"國語+英語"]
["NO.15",{"$nulls":11},"27","28",null,"特记",{"$nulls":14},"MG004",null,null,"國語+客語"]
["NO.16",{"$nulls":11},"28","29",{"$nulls":16},"MG005",null,null,"见特记事项"]
["NO.17",{"$nulls":11},"29","30",{"$nulls":16},"MG006"]
["NO.18",{"$nulls":11},"30","31",{"$nulls":16},"见特记事项"]
["NO.19",{"$nulls":11},"31","32"]
["NO.20",{"$nulls":11},"32","33"]
["NO.21",{"$nulls":11},"33","34"]
["NO.22",{"$nulls":11},"34","35"]
["NO.23",{"$nulls":11},"35","36"]
["NO.24",{"$nulls":11},"36","37"]
["NO.25",{"$nulls":11},"37","38"]
["NO.26",{"$nulls":11},"38","39"]
["NO.27",{"$nulls":11},"39","40"]
["NO.28",{"$nulls":11},"40","41"]
["NO.29",{"$nulls":11},"41","42"]
["NO.30",{"$nulls":11},"42","43"]
["NO.31",{"$nulls":11},"43","44"]
["NO.32",{"$nulls":11},"44","45"]
["NO.33",{"$nulls":11},"45","46"]
["NO.34",{"$nulls":11},"46","47"]
["NO.35",{"$nulls":11},"47","48"]
[{"$nulls":12},"48","49"]
[{"$nulls":12},"49","50"]
[{"$nulls":12},"50","51"]
[{"$nulls":12},"其他","52"]
[{"$nulls":13},"53"]
[{"$nulls":13},"54"]
[{"$nulls":13},"55"]
[{"$nulls":13},"56"]
[{"$nulls":13},"57"]
[{"$nulls":13},"58"]
[{"$nulls":13},"59"]
[{"$nulls":13},"60"]

{"sheet":"(#1) 规格调查表--1.6版 (91號左梯地下室梯) ","index":2,"n_rows":118,"n_cols":21,"rows_kept":118,"cut":false,"hidden":false,"merged":[[124,1,124,8],[124,9,124,14],[121,1,121,8],[121,9,121,14],[122,1,122,8],[122,9,122,14],[123,1,123,8],[123,9,123,14],[118,1,118,8],[118,9,118,14],[119,1,119,8],[119,9,119,14],[120,1,120,8],[120,9,120,14],[115,1,115,8],[115,9,115,14],[116,1,116,8],[116,9,116,14],[117,1,117,8],[117,9,117,14],[110,9,110,11],[110,13,110,14],[111,1,112,3],[111,5,111,6],[112,5,112,6],[114,1,114,2],[114,9,114,10],[108,1,108,3],[108,5,108,6],[108,9,109,9],[108,10,108,11],[108,13,108,14],[109,1,110,3],[109,5,109,6],[109,10,109,11],[109,13,109,14],[110,5,110,6],[106,1,106,3],[106,5,106,6],[106,9,107,11],[106,13,106,14],[107,1,107,3],[107,5,107,6],[107,13,107,14],[103,1,103,3],[103,5,103,6],[103,9,104,11],[103,13,103,14],[104,1,105,3],[104,5,104,6],[104,13,104,14],[105,5,105,6],[105,9,105,11],[105,13,105,14],[99,1,99,3],[99,5,99,6],[99,9,99,11],[99,13,99,14],[100,1,101,3],[100,5,100,6],[100,9,100,11],[100,13,100,14],[101,5,101,6],[101,9,102,11],[101,13,101,14],[102,1,102,3],[102,5,102,6],[102,13,102,14],[95,1,95,3],[95,5,95,6],[95,9,95,11],[95,13,95,14],[96,1,96,3],[96,5,96,6],[96,9,96,11],[96,13,96,14],[97,1,98,3],[97,5,97,6],[97,9,98,11],[97,13,97,14],[98,13,98,14],[91,1,91,4],[92,1,92,3],[92,5,92,6],[92,9,94,11],[92,13,92,14],[93,1,93,3],[93,5,93,6],[93,13,93,14],[94,1,94,3],[94,5,94,6],[94,13,94,14],[89,1,89,3],[89,4,89,6],[89,9,89,11],[89,13,89,14],[90,1,90,3],[90,4,90,6],[87,1,87,3],[87,4,87,6],[87,9,87,11],[87,12,87,14],[88,1,88,3],[88,4,88,6],[88,9,88,11],[88,12,88,14],[86,1,86,3],[86,4,86,6],[86,9,86,11],[86,12,86,14],[72,8,72,9],[72,10,72,11],[72,12,72,14],[74,1,74,4],[82,9,82,12],[84,1,84,4],[71,1,72,2],[71,3,71,4],[71,5,71,7],[71,8,71,9],[71,10,71,11],[71,12,71,14],[72,3,72,4],[72,5,72,7],[85,1,85,3],[85,4,85,6],[85,9,85,11],[85,12,85,14],[69,1,70,2],[69,3,69,4],[69,5,69,7],[69,8,69,9],[69,10,69,11],[69,12,69,14],[70,3,70,4],[70,5,70,7],[70,8,70,9],[70,10,70,11],[70,12,70,14],[64,1,64,2],[64,3,64,4],[65,1,65,2],[66,1,66,4],[66,5,66,7],[66,8,66,9],[66,10,66,11],[66,12,66,14],[68,12,68,14],[67,1,68,2],[67,3,67,4],[67,5,67,7],[67,8,67,9],[67,10,67,11],[67,12,67,14],[68,3,68,4],[68,5,68,7],[68,8,68,9],[68,10,68,11],[62,1,62,2],[62,3,62,4],[62,6,62,7],[62,8,62,9],[62,11,62,14],[63,1,63,2],[63,3,63,4],[63,6,63,7],[63,8,63,9],[63,11,63,12],[63,13,63,14],[58,1,59,2],[58,3,59,5],[58,6,58,8],[58,9,58,14],[59,6,59,8],[59,9,59,14],[54,1,54,14],[56,1,57,2],[56,3,57,5],[56,6,56,8],[56,9,56,14],[57,6,57,8],[57,9,57,14],[51,1,53,2],[51,3,53,5],[51,6,51,8],[51,9,51,14],[52,6,52,8],[52,9,52,14],[53,6,53,8],[53,9,53,10],[47,1,47,2],[47,3,47,5],[47,6,47,8],[47,9,47,14],[48,1,48,2],[48,3,48,5],[48,6,48,8],[48,9,48,14],[45,1,46,2],[45,3,46,5],[45,6,45,8],[45,9,45,14],[46,6,46,8],[46,9,46,14],[41,1,41,2],[41,3,41,9],[42,1,42,4],[43,1,44,2],[43,3,44,5],[43,6,43,8],[43,9,43,14],[44,6,44,8],[44,9,44,14],[38,1,38,14],[39,1,39,2],[39,3,39,4],[39,6,39,7],[39,8,39,9],[40,1,40,2],[40,3,40,4],[40,6,40,7],[40,8,40,9],[36,1,36,2],[36,3,36,5],[36,6,36,7],[36,8,36,10],[36,11,36,14],[37,1,37,2],[37,3,37,5],[37,6,37,7],[37,8,37,10],[37,11,37,14],[34,1,34,2],[34,3,34,5],[34,6,34,7],[34,8,34,10],[34,11,34,14],[35,1,35,2],[35,3,35,5],[35,6,35,7],[35,8,35,10],[35,11,35,14],[32,1,32,2],[32,3,32,5],[32,6,32,7],[32,8,32,10],[32,11,32,14],[33,1,33,2],[33,3,33,5],[33,6,33,7],[33,8,33,10],[33,11,33,14],[30,11,30,12],[31,1,31,2],[31,3,31,5],[31,6,31,7],[31,8,31,10],[31,11,31,14],[29,1,29,2],[29,3,29,5],[29,6,29,7],[29,8,29,10],[30,1,30,2],[30,3,30,5],[30,6,30,7],[30,8,30,10],[22,1,22,2],[22,3,22,4],[25,1,25,2],[25,3,25,5],[25,7,25,9],[28,1,28,2],[28,3,28,5],[28,6,28,7],[28,8,28,10],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[16,1,16,2],[16,3,16,4],[16,7,16,8],[16,11,16,12],[17,1,17,2],[17,3,17,4],[17,6,17,7],[17,8,17,13],[14,1,14,2],[14,3,14,4],[14,6,14,7],[14,8,14,9],[14,11,14,12],[14,13,14,14],[11,1,11,2],[11,3,11,4],[11,6,11,7],[11,8,11,14],[13,1,13,2],[13,3,13,4],[13,6,13,7],[13,8,13,9],[13,11,13,12],[13,13,13,14],[10,1,10,2],[10,3,10,4],[10,6,10,7],[10,8,10,10],[10,11,10,12],[10,13,10,14],[9,1,9,2],[9,3,9,4],[9,6,9,7],[9,8,9,9],[9,11,9,12],[9,13,9,14],[6,1,6,2],[6,3,6,4],[6,5,6,6],[6,7,6,8],[6,9,6,10],[6,11,6,12],[6,13,6,14],[4,1,4,2],[4,3,4,5],[4,7,4,8],[4,9,4,14],[5,1,5,2],[5,3,5,4],[5,5,5,6],[5,7,5,8],[5,9,5,10],[5,11,5,12],[0,0,0,14],[1,1,1,2],[1,3,1,5],[1,10,3,14],[2,1,2,2],[2,3,2,5],[3,1,3,2],[3,3,3,5],[5,13,5,14]]}
["        請確實填入改訂紀錄 (A為初版不用註記，B番開始須確實記錄)"]
[null,"填写日期:",null,"2023-06-15",null,null,null,"版次","A",null,"【使用說明 】\n  1.请營業单位依客户要求，逐条填写；\n  2.没有选项或者说明不清楚的,於特记事项注明；\n  3.空白处或者没有底色的部分，不可以自行修改；"]
[null,"客户名称:",null,"大翰林"]
[null,"预定交期:",null,"2023-09-01"]
[null,"安装地区:",null,"台湾",null,null,null,"安装地址:",null,"桃園市桃園區朝陽街一段91號"]
[null,"号机:",null,"NO.1"]
[null,"制造编号:",null,"B33008500805"]
[null," PS：正式订单台北都必须填写(仅询价时无需填写)，编号由台湾业务编制；"]
[null,"基本规格",{"$nulls":4},"PS:非标轿厢內法，請依实際尺寸填写；",{"$nulls":12},"人分","KG"]
[null,"机种:",null,"MAE100有机房",null,null,"载重:",null,"700kg",null,"非标准","速度:",null,"90m/min",{"$nulls":5},8,550]
[null,"用途:",null,"客货",null,null,"类型:",null,"旧改M1+M4",null,null,"场合:",null,"一般",{"$nulls":5},10,700]
[null,"运转方式:",null,"单台",null,null,"联/群控号机:",{"$nulls":12},12,800]
[{"$nulls":19},15,1000]
[null,"轿厢內法寬:",{"$nulls":4},"內法深:",{"$nulls":4},"內法高:",{"$nulls":7},17,1150]
[null,"开门形式:",null,"2P-CO",null,null,"开门宽:",{"$nulls":4},"开门高:",{"$nulls":7},20,1350]
[{"$nulls":19},24,1600]
[null,"层站门：",null,"12",null,"層","×","12",null,"站","×","12",null,"門",{"$nulls":5},13,900]
[null,"千鸟&贯通:",null,"否",null,null,"层楼名：",null,"B2-B1,1-10F"]
[]
[null,"井道尺寸",{"$nulls":4},"PS:井道最终依土建图为准；"]
[null,"顶层:",null,null,null,"mm","底坑:",null,null,"mm",null,"行程:",null,"mm"]
[null,"井道内法宽:",null,null,null,"mm","井道內法深:",null,null,"mm",null,"全高:",null,"mm"]
[null,"井道结构:",null,"全混泥土"]
[]
["    ","电源叁数"]
[null,"主电源:",null,"3相4线制380V/60HZ",null,null,"照明:",{"$f":"IF(D10=\"MAQ100強驅梯\",\"单相220V/60HZ\",\"单相110V/60HZ\")","v":"单相110V/60HZ"},null,null,null,{"$f":"IF(D10=\"MAQ100強驅梯\",\"P.S.強驅梯照明電源为单相220V/60HZ\",\" \")","v":" "}]
[]
["    ","轿厢"]
[null,"轎廂:",{"$nulls":4},"標準選型:",null,"否",null,null,{"$f":"IF(I29=\"否\",\"  P.S.請確實填寫下方選型資料\",\"\")","v":"  P.S.請確實填寫下方選型資料"}]
[null,"天井:",{"$nulls":4},"材质:",{"$nulls":4},"  P.S.法規規定逃生窗400*500"]
[null,"地板:",{"$nulls":4},"型号:",{"$nulls":4},"预留厚度:",null,null,"mm"]
[null,"轎壁侧板位置",null,"材质",null,null,"材质厚度",null,"色号(依様本填写)",null,null,"备注"]
[null,"前侧:",null,"发纹不锈钢",null,null,"依标准"]
[null,"两侧两端:",null,"发纹不锈钢",null,null,"依标准"]
[null,"两侧中间:",null,"发纹不锈钢",null,null,"依标准"]
[null,"后侧两端:",null,"发纹不锈钢",null,null,"依标准"]
[null,"后侧中间:",null,"发纹不锈钢",null,null,"依标准"]
[null,"轎門:",null,"发纹不锈钢",null,null,"依标准"]
[null,"PS:除发纹不锈钢、镜面外，其余材质需按照公司样本填写色号；"]
[null,"预留装潢重:",null,null,null,"kg","预留装潢厚度",null,null,null,"mm"]
[null,"扶手:",{"$nulls":4},"位置",{"$nulls":4},{"$f":"IF(D11=\"紧急兼残障\",\"  P.S.不可使用MC001,標準為两侧\",IF(D11=\"残障\",\"  P.S.不可使用MC001,標準為两侧\",\" \"))","v":" "}]
[null,"明镜:",{"$nulls":9},{"$f":"IF(D42=\"后侧(半身明鏡)有,由台北自理\",\"  P.S:选配明镜时，由台北自理；\",\"\")","v":""}]
[null,"人机界面 (轎廂側)"]
[null,"主操纵盘型号",null,"ME003",null,null,"按钮&显示:",null,null,"标准"]
[{"$nulls":6},"面板材质&位置:",null,null,"见特记事项(需先和上海确认OK)"]
[null,"副操纵盘型号",null,"无",null,null,"按钮&显示:",null,null,"无"]
[{"$nulls":6},"面板材质&位置:",null,null,"无"]
[null,"残障主操纵盘",null,"无",null,null,"面板材质&位置:",null,null,"标准"]
[null,"残障副操纵盘",null,"无",null,null,"面板材质&位置:",null,null,"无"]
[]
["    ","人机界面 (層门側)"]
[null,"外呼:",null,"MF003",null,null,"按钮&显示:",null,null,"标准"]
[{"$nulls":6},"面板材质:",null,null,"标准"]
[{"$nulls":6},"基准阶楼层:",null,null,"1",null,"FL"," P.S：基准阶标配外呼锁"]
[null,"PS:外呼/操纵盘等,於残障时需附盲文点字板,盲文点字板由台北自理,上海需注意按钮之间的间隙；"]
[]
[null,"到站灯",null,"无",null,null,"面板材质:",null,null,"无"]
[{"$nulls":6},"安装楼层:"]
[null,"橫向顯示器",null,"无",null,null,"面板材质:",null,null,"无"]
[{"$nulls":6},"安装楼层:"]
[]
["    ","層门系统"]
[null,"前门楼层:",null,"B2-10F",null,"＋","后门楼层:",{"$nulls":4},{"$f":"IF(D18=\"是\",\" P.S:后门仅当千鸟或贯穿时需填写\",\" \")","v":" "}]
[null,"耐火:",null,"否",null,null,"耐火停数:",null,"无",null,null,"耐火楼层:",null,"无"]
[null,"门保护:",null,"光幕"]
[]
[null,"部品",null,null,null,"材质",null,null,"材质厚度",null,"色号(依様本)",null,"备注"]
[null,"层门:",null,"首层:"]
[null,null,null,"其余层:"]
[null,"小门框:",null,"首层:"]
[null,null,null,"其余层:"]
[null,"大门框:",null,"首层:"]
[null,null,null,"其余层:"]
[null,"PS:如其余层有大、小门框区別，请于备注栏填写。"]
[null,"轿厢象限示意圖"]
[]
[]
[]
[]
[{"$nulls":11}," P.S:主操纵盘标准位置为左前側板"]
[{"$nulls":11}," P.S:残障主操纵盘标准位置为右側中央"]
[]
[]
[]
[null,"标配功能"]
[null,"井道照明",null,null,"标配",{"$nulls":4},"物联网",null,null,"标配"]
[null,"出货方式",null,null,"依公司标准",{"$nulls":4},"开延长",null,null,"标配"]
[null,"无机房主机侧是否为卧室",{"$nulls":7},"次楼层停靠",null,null,"标配"]
[null,"误登录取消",null,null,"标配",{"$nulls":4},"出口木箱",null,null,"标配"]
[null,"再平层功能",null,null,"标配",{"$nulls":4},"保固年限",null,null,null,"單位 : 月"]
[{"$nulls":9},"PS:标配功能，不限于下表所列选项，以Masada样本上所列为准；"]
[null,"选配功能"]
[null,"三大件进口",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!P93=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"临时层门(IB)",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!Q93=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"出入口牛腿",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!P94=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"停数:",1,null,false,true]
[null,"对重附安全钳",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!P95=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"楼层:","1F",null,false,true]
[null,"冷气(歌林)",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!P96=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"临时轿门(IB)",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!Q96=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"夏普空气清净机",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!P97=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"火灾",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!Q97=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"对讲机集中管理",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!P98=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"轎廂側電子佈告欄",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!Q98=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[{"$nulls":4},"台数:",{"$nulls":7},"位置:",null,null,true,true]
[null,"中央监控系统(CRT)",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!P100=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"紫外灯杀菌系统",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!Q100=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"人脸识别",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!P101=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"语音呼梯(外置式)",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!Q101=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[{"$nulls":4},"形式:",{"$nulls":4},"APP智能呼梯",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!Q102=TRUE,\"✅\",\"  \")","v":"  "},null,true,false]
[null,"轿厢附到站钟GONG",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!P103=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"形式:",null,null,false,true]
[null,"地震管制",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!P104=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"刷卡机管制\n(轿厢侧)",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!Q104=TRUE,\"✅\",\"  \")","v":"✅"},null,false,true]
[null,"语音合成",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!P105=TRUE,\"✅\",\"  \")","v":"✅"},{"$nulls":6},"形式:","我司负责(隐藏式)",null,true,true]
[{"$nulls":4},"形式:","國語+台語",null,null,null,"自動返回基站",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!Q106=TRUE,\"✅\",\"  \")","v":"  "},null,null,false]
[null,"ARD",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!P107=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"刷卡机管制\n(乘场侧)",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!Q107=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"能量回馈器",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!P108=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"形式:",null,null,false,true]
[null,"RS485接口",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!P109=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"特殊操作","专用运转",null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!Q109=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"轿厢摄像头\n(CCTV)",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!P110=TRUE,\"✅\",\"  \")","v":"✅"},{"$nulls":4},"司机操作",null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!Q110=TRUE,\"✅\",\"  \")","v":"  "},null,true,false]
[{"$nulls":4},"形式:","我司负责",null,null,null,"满载直驶",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!Q111=TRUE,\"✅\",\"  \")","v":"  "},null,true,false]
[null,"观光梯外妆板",null,null,null,{"$f":"IF('(#1) 规格调查表--1.6版 (91號左梯地下室梯) '!P112=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"PS:選擇刷卡机时，須配PASS開關；刷卡機面板尺寸 : 90x125mm",{"$nulls":5},false,true]
[{"$nulls":4},"材质:","特记事项",null,null,null,"PS:緊急梯时，火災回歸為標配，無須勾選。"]
[]
[null,"特记事项：",{"$nulls":7},"改訂履歷："]
[null,"1.內叫面板附隱藏式刷卡機位置",{"$nulls":7},"例 : [A] 外呼選型變更  2022.11.22 郭承瑋"]
[null,"2.CCTV我司負責復歸"]
[null,"3.本部電梯先行施工(門牌號91號)"]

{"sheet":"(#2) 规格调查表--1.6版 (93號右梯平面梯)","index":3,"n_rows":117,"n_cols":21,"rows_kept":117,"cut":false,"hidden":false,"merged":[[0,0,0,14],[1,1,1,2],[1,3,1,5],[1,10,3,14],[2,1,2,2],[2,3,2,5],[3,1,3,2],[3,3,3,5],[5,13,5,14],[6,1,6,2],[6,3,6,4],[6,5,6,6],[6,7,6,8],[6,9,6,10],[6,11,6,12],[6,13,6,14],[4,1,4,2],[4,3,4,5],[4,7,4,8],[4,9,4,14],[5,1,5,2],[5,3,5,4],[5,5,5,6],[5,7,5,8],[5,9,5,10],[5,11,5,12],[10,1,10,2],[10,3,10,4],[10,6,10,7],[10,8,10,10],[10,11,10,12],[10,13,10,14],[9,1,9,2],[9,3,9,4],[9,6,9,7],[9,8,9,9],[9,11,9,12],[9,13,9,14],[11,1,11,2],[11,3,11,4],[11,6,11,7],[11,8,11,14],[13,1,13,2],[13,3,13,4],[13,6,13,7],[13,8,13,9],[13,11,13,12],[13,13,13,14],[16,11,16,12],[17,1,17,2],[17,3,17,4],[17,6,17,7],[17,8,17,13],[14,1,14,2],[14,3,14,4],[14,6,14,7],[14,8,14,9],[14,11,14,12],[14,13,14,14],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[16,1,16,2],[16,3,16,4],[16,7,16,8],[22,1,22,2],[22,3,22,4],[25,1,25,2],[25,3,25,5],[25,7,25,9],[28,1,28,2],[28,3,28,5],[28,6,28,7],[28,8,28,10],[30,11,30,12],[31,1,31,2],[31,3,31,5],[31,6,31,7],[31,8,31,10],[31,11,31,14],[29,1,29,2],[29,3,29,5],[29,6,29,7],[29,8,29,10],[30,1,30,2],[30,3,30,5],[30,6,30,7],[30,8,30,10],[32,1,32,2],[32,3,32,5],[32,6,32,7],[32,8,32,10],[32,11,32,14],[33,1,33,2],[33,3,33,5],[33,6,33,7],[33,8,33,10],[33,11,33,14],[34,1,34,2],[34,3,34,5],[34,6,34,7],[34,8,34,10],[34,11,34,14],[35,1,35,2],[35,3,35,5],[35,6,35,7],[35,8,35,10],[35,11,35,14],[36,1,36,2],[36,3,36,5],[36,6,36,7],[36,8,36,10],[36,11,36,14],[37,1,37,2],[37,3,37,5],[37,6,37,7],[37,8,37,10],[37,11,37,14],[38,1,38,14],[39,1,39,2],[39,3,39,4],[39,6,39,7],[39,8,39,9],[40,1,40,2],[40,3,40,4],[40,6,40,7],[40,8,40,9],[45,1,46,2],[45,3,46,5],[45,6,45,8],[45,9,45,14],[46,6,46,8],[46,9,46,14],[41,1,41,2],[41,3,41,9],[42,1,42,4],[43,1,44,2],[43,3,44,5],[43,6,43,8],[43,9,43,14],[44,6,44,8],[44,9,44,14],[51,1,53,2],[51,3,53,5],[51,6,51,8],[51,9,51,14],[52,6,52,8],[52,9,52,14],[53,6,53,8],[53,9,53,10],[47,1,47,2],[47,3,47,5],[47,6,47,8],[47,9,47,14],[48,1,48,2],[48,3,48,5],[48,6,48,8],[48,9,48,14],[58,1,59,2],[58,3,59,5],[58,6,58,8],[58,9,58,14],[59,6,59,8],[59,9,59,14],[54,1,54,14],[56,1,57,2],[56,3,57,5],[56,6,56,8],[56,9,56,14],[57,6,57,8],[57,9,57,14],[62,1,62,2],[62,3,62,4],[62,6,62,7],[62,8,62,9],[62,11,62,14],[63,1,63,2],[63,3,63,4],[63,6,63,7],[63,8,63,9],[63,11,63,12],[63,13,63,14],[64,1,64,2],[64,3,64,4],[65,1,65,2],[66,1,66,4],[66,5,66,7],[66,8,66,9],[66,10,66,11],[66,12,66,14],[68,12,68,14],[67,1,68,2],[67,3,67,4],[67,5,67,7],[67,8,67,9],[67,10,67,11],[67,12,67,14],[68,3,68,4],[68,5,68,7],[68,8,68,9],[68,10,68,11],[69,1,70,2],[69,3,69,4],[69,5,69,7],[69,8,69,9],[69,10,69,11],[69,12,69,14],[70,3,70,4],[70,5,70,7],[70,8,70,9],[70,10,70,11],[70,12,70,14],[86,1,86,3],[86,4,86,6],[86,9,86,11],[86,12,86,14],[72,8,72,9],[72,10,72,11],[72,12,72,14],[74,1,74,4],[82,9,82,12],[84,1,84,4],[71,1,72,2],[71,3,71,4],[71,5,71,7],[71,8,71,9],[71,10,71,11],[71,12,71,14],[72,3,72,4],[72,5,72,7],[85,1,85,3],[85,4,85,6],[85,9,85,11],[85,12,85,14],[89,1,89,3],[89,4,89,6],[89,9,89,11],[89,13,89,14],[90,1,90,3],[90,4,90,6],[87,1,87,3],[87,4,87,6],[87,9,87,11],[87,12,87,14],[88,1,88,3],[88,4,88,6],[88,9,88,11],[88,12,88,14],[91,1,91,4],[92,1,92,3],[92,5,92,6],[92,9,94,11],[92,13,92,14],[93,1,93,3],[93,5,93,6],[93,13,93,14],[94,1,94,3],[94,5,94,6],[94,13,94,14],[95,1,95,3],[95,5,95,6],[95,9,95,11],[95,13,95,14],[96,1,96,3],[96,5,96,6],[96,9,96,11],[96,13,96,14],[97,1,98,3],[97,5,97,6],[97,9,98,11],[97,13,97,14],[98,13,98,14],[99,1,99,3],[99,5,99,6],[99,9,99,11],[99,13,99,14],[100,1,101,3],[100,5,100,6],[100,9,100,11],[100,13,100,14],[101,5,101,6],[101,9,102,11],[101,13,101,14],[102,1,102,3],[102,5,102,6],[102,13,102,14],[106,1,106,3],[106,5,106,6],[106,9,107,11],[106,13,106,14],[107,1,107,3],[107,5,107,6],[107,13,107,14],[103,1,103,3],[103,5,103,6],[103,9,104,11],[103,13,103,14],[104,1,105,3],[104,5,104,6],[104,13,104,14],[105,5,105,6],[105,9,105,11],[105,13,105,14],[108,1,108,3],[108,5,108,6],[108,9,109,9],[108,10,108,11],[108,13,108,14],[109,1,110,3],[109,5,109,6],[109,10,109,11],[109,13,109,14],[110,5,110,6],[115,1,115,8],[115,9,115,14],[116,1,116,8],[116,9,116,14],[117,1,117,8],[117,9,117,14],[110,9,110,11],[110,13,110,14],[111,1,112,3],[111,5,111,6],[112,5,112,6],[114,1,114,2],[114,9,114,10],[124,1,124,8],[124,9,124,14],[121,1,121,8],[121,9,121,14],[122,1,122,8],[122,9,122,14],[123,1,123,8],[123,9,123,14],[118,1,118,8],[118,9,118,14],[119,1,119,8],[119,9,119,14],[120,1,120,8],[120,9,120,14]]}
["        請確實填入改訂紀錄 (A為初版不用註記，B番開始須確實記錄)"]
[null,"填写日期:",null,"2023-06-16",null,null,null,"版次","A",null,"【使用說明 】\n  1.请營業单位依客户要求，逐条填写；\n  2.没有选项或者说明不清楚的,於特记事项注明；\n  3.空白处或者没有底色的部分，不可以自行修改；"]
[null,"客户名称:",null,"大翰林"]
[null,"预定交期:",null,"2023-09-01"]
[null,"安装地区:",null,"台湾",null,null,null,"安装地址:",null,"桃園市桃園區朝陽街一段93號"]
[null,"号机:",null,"NO.2"]
[null,"制造编号:",null,"B33008500816"]
[null," PS：正式订单台北都必须填写(仅询价时无需填写)，编号由台湾业务编制；"]
[null,"基本规格",{"$nulls":4},"PS:非标轿厢內法，請依实際尺寸填写；",{"$nulls":12},"人分","KG"]
[null,"机种:",null,"MAE100有机房",null,null,"载重:",null,"700kg",null,"非标准","速度:",null,"90m/min",{"$nulls":5},8,550]
[null,"用途:",null,"客货",null,null,"类型:",null,"旧改M1+M4",null,null,"场合:",null,"一般",{"$nulls":5},10,700]
[null,"运转方式:",null,"单台",null,null,"联/群控号机:",{"$nulls":12},12,800]
[{"$nulls":19},15,1000]
[null,"轿厢內法寬:",{"$nulls":4},"內法深:",{"$nulls":4},"內法高:",{"$nulls":7},17,1150]
[null,"开门形式:",null,"2P-CO",null,null,"开门宽:",{"$nulls":4},"开门高:",{"$nulls":7},20,1350]
[{"$nulls":19},24,1600]
[null,"层站门：",null,"9",null,"層","×","9",null,"站","×","9",null,"門",{"$nulls":5},13,900]
[null,"千鸟&贯通:",null,"否",null,null,"层楼名：",null,"1-9F"]
[]
[null,"井道尺寸",{"$nulls":4},"PS:井道最终依土建图为准；"]
[null,"顶层:",null,null,null,"mm","底坑:",null,null,"mm",null,"行程:",null,"mm"]
[null,"井道内法宽:",null,null,null,"mm","井道內法深:",null,null,"mm",null,"全高:",null,"mm"]
[null,"井道结构:",null,"全混泥土"]
[]
["    ","电源叁数"]
[null,"主电源:",null,"3相4线制380V/60HZ",null,null,"照明:",{"$f":"IF(D10=\"MAQ100強驅梯\",\"单相220V/60HZ\",\"单相110V/60HZ\")","v":"单相110V/60HZ"},null,null,null,{"$f":"IF(D10=\"MAQ100強驅梯\",\"P.S.強驅梯照明電源为单相220V/60HZ\",\" \")","v":" "}]
[]
["    ","轿厢"]
[null,"轎廂:",{"$nulls":4},"標準選型:",null,"否",null,null,{"$f":"IF(I29=\"否\",\"  P.S.請確實填寫下方選型資料\",\"\")","v":"  P.S.請確實填寫下方選型資料"}]
[null,"天井:",{"$nulls":4},"材质:",{"$nulls":4},"  P.S.法規規定逃生窗400*500"]
[null,"地板:",{"$nulls":4},"型号:",{"$nulls":4},"预留厚度:",null,null,"mm"]
[null,"轎壁侧板位置",null,"材质",null,null,"材质厚度",null,"色号(依様本填写)",null,null,"备注"]
[null,"前侧:",null,"发纹不锈钢",null,null,"依标准"]
[null,"两侧两端:",null,"发纹不锈钢",null,null,"依标准"]
[null,"两侧中间:",null,"发纹不锈钢",null,null,"依标准"]
[null,"后侧两端:",null,"发纹不锈钢",null,null,"依标准"]
[null,"后侧中间:",null,"发纹不锈钢",null,null,"依标准"]
[null,"轎門:",null,"发纹不锈钢",null,null,"依标准"]
[null,"PS:除发纹不锈钢、镜面外，其余材质需按照公司样本填写色号；"]
[null,"预留装潢重:",null,null,null,"kg","预留装潢厚度",null,null,null,"mm"]
[null,"扶手:",{"$nulls":4},"位置",{"$nulls":4},{"$f":"IF(D11=\"紧急兼残障\",\"  P.S.不可使用MC001,標準為两侧\",IF(D11=\"残障\",\"  P.S.不可使用MC001,標準為两侧\",\" \"))","v":" "}]
[null,"明镜:",{"$nulls":9},{"$f":"IF(D42=\"后侧(半身明鏡)有,由台北自理\",\"  P.S:选配明镜时，由台北自理；\",\"\")","v":""}]
[null,"人机界面 (轎廂側)"]
[null,"主操纵盘型号",null,"ME003",null,null,"按钮&显示:",null,null,"标准"]
[{"$nulls":6},"面板材质&位置:",null,null,"见特记事项(需先和上海确认OK)"]
[null,"副操纵盘型号",null,"无",null,null,"按钮&显示:",null,null,"无"]
[{"$nulls":6},"面板材质&位置:",null,null,"无"]
[null,"残障主操纵盘",null,"无",null,null,"面板材质&位置:",null,null,"无"]
[null,"残障副操纵盘",null,"无",null,null,"面板材质&位置:",null,null,"无"]
[]
["    ","人机界面 (層门側)"]
[null,"外呼:",null,"MF003",null,null,"按钮&显示:",null,null,"标准"]
[{"$nulls":6},"面板材质:",null,null,"标准"]
[{"$nulls":6},"基准阶楼层:",null,null,"1",null,"FL"," P.S：基准阶标配外呼锁"]
[null,"PS:外呼/操纵盘等,於残障时需附盲文点字板,盲文点字板由台北自理,上海需注意按钮之间的间隙；"]
[]
[null,"到站灯",null,"无",null,null,"面板材质:",null,null,"无"]
[{"$nulls":6},"安装楼层:"]
[null,"橫向顯示器",null,"无",null,null,"面板材质:",null,null,"无"]
[{"$nulls":6},"安装楼层:"]
[]
["    ","層门系统"]
[null,"前门楼层:",null,"1-9F",null,"＋","后门楼层:",{"$nulls":4},{"$f":"IF(D18=\"是\",\" P.S:后门仅当千鸟或贯穿时需填写\",\" \")","v":" "}]
[null,"耐火:",null,"否",null,null,"耐火停数:",null,"无",null,null,"耐火楼层:",null,"无"]
[null,"门保护:",null,"光幕"]
[]
[null,"部品",null,null,null,"材质",null,null,"材质厚度",null,"色号(依様本)",null,"备注"]
[null,"层门:",null,"首层:"]
[null,null,null,"其余层:"]
[null,"小门框:",null,"首层:"]
[null,null,null,"其余层:"]
[null,"大门框:",null,"首层:"]
[null,null,null,"其余层:"]
[null,"PS:如其余层有大、小门框区別，请于备注栏填写。"]
[null,"轿厢象限示意圖"]
[]
[]
[]
[]
[{"$nulls":11}," P.S:主操纵盘标准位置为左前側板"]
[{"$nulls":11}," P.S:残障主操纵盘标准位置为右側中央"]
[]
[]
[]
[null,"标配功能"]
[null,"井道照明",null,null,"标配",{"$nulls":4},"物联网",null,null,"标配"]
[null,"出货方式",null,null,"依公司标准",{"$nulls":4},"开延长",null,null,"标配"]
[null,"无机房主机侧是否为卧室",{"$nulls":7},"次楼层停靠",null,null,"标配"]
[null,"误登录取消",null,null,"标配",{"$nulls":4},"出口木箱",null,null,"标配"]
[null,"再平层功能",null,null,"标配",{"$nulls":4},"保固年限",null,null,null,"單位 : 月"]
[{"$nulls":9},"PS:标配功能，不限于下表所列选项，以Masada样本上所列为准；"]
[null,"选配功能"]
[null,"三大件进口",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!P93=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"临时层门(IB)",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!Q93=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"出入口牛腿",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!P94=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"停数:",1,null,false,true]
[null,"对重附安全钳",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!P95=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"楼层:","1F",null,false,true]
[null,"冷气(歌林)",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!P96=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"临时轿门(IB)",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!Q96=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"夏普空气清净机",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!P97=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"火灾",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!Q97=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"对讲机集中管理",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!P98=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"轎廂側電子佈告欄",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!Q98=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[{"$nulls":4},"台数:",{"$nulls":7},"位置:",null,null,true,true]
[null,"中央监控系统(CRT)",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!P100=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"紫外灯杀菌系统",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!Q100=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"人脸识别",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!P101=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"语音呼梯(外置式)",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!Q101=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[{"$nulls":4},"形式:",{"$nulls":4},"APP智能呼梯",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!Q102=TRUE,\"✅\",\"  \")","v":"  "},null,true,false]
[null,"轿厢附到站钟GONG",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!P103=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"形式:",null,null,false,true]
[null,"地震管制",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!P104=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"刷卡机管制\n(轿厢侧)",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!Q104=TRUE,\"✅\",\"  \")","v":"✅"},null,false,true]
[null,"语音合成",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!P105=TRUE,\"✅\",\"  \")","v":"✅"},{"$nulls":6},"形式:","我司负责(隐藏式)",null,true,true]
[{"$nulls":4},"形式:","國語+台語",null,null,null,"自動返回基站",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!Q106=TRUE,\"✅\",\"  \")","v":"  "},null,null,false]
[null,"ARD",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!P107=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"刷卡机管制\n(乘场侧)",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!Q107=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"能量回馈器",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!P108=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"形式:",null,null,false,true]
[null,"RS485接口",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!P109=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"特殊操作","专用运转",null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!Q109=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"轿厢摄像头\n(CCTV)",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!P110=TRUE,\"✅\",\"  \")","v":"✅"},{"$nulls":4},"司机操作",null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!Q110=TRUE,\"✅\",\"  \")","v":"  "},null,true,false]
[{"$nulls":4},"形式:","我司负责",null,null,null,"满载直驶",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!Q111=TRUE,\"✅\",\"  \")","v":"  "},null,true,false]
[null,"观光梯外妆板",null,null,null,{"$f":"IF('(#2) 规格调查表--1.6版 (93號右梯平面梯)'!P112=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"PS:選擇刷卡机时，須配PASS開關；刷卡機面板尺寸 : 90x125mm",{"$nulls":5},false,true]
[{"$nulls":4},"材质:","特记事项",null,null,null,"PS:緊急梯时，火災回歸為標配，無須勾選。"]
[]
[null,"特记事项：",{"$nulls":7},"改訂履歷："]
[null,"1.內叫面板附隱藏式刷卡機位置",{"$nulls":7},"例 : [A] 外呼選型變更  2022.11.22 郭承瑋"]
[null,"2.CCTV我司負責復歸"]

{"sheet":"土建示意图","index":4,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":true,"merged":[]}