{"text_format":"2","workbook":"xlsx","n_sheets":8,"sheets":["No.5(緊急用) ","No.2,No.4(緊急用) ","No.6(殘障用) ","No.1,No.3(殘障用) ","版次订正记录","判断","下拉菜单","土建示意图"],"not_rendered":{"charts":0,"images":2,"macros":0,"external_links":0,"defined_names":0,"comments":4,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"No.5(緊急用) ","index":0,"n_rows":115,"n_cols":14,"rows_kept":115,"cut":false,"hidden":false,"merged":[[0,0,0,1],[0,2,0,4],[0,5,1,13],[1,0,1,1],[1,2,1,4],[2,0,2,1],[2,2,2,4],[4,12,4,13],[5,0,5,1],[5,2,5,3],[5,4,5,5],[5,6,5,7],[5,8,5,9],[5,10,5,11],[5,12,5,13],[3,0,3,1],[3,2,3,4],[3,6,3,7],[3,8,3,13],[4,0,4,1],[4,2,4,3],[4,4,4,5],[4,6,4,7],[4,8,4,9],[4,10,4,11],[8,12,8,13],[9,0,9,1],[9,2,9,3],[9,5,9,6],[9,7,9,9],[9,10,9,11],[9,12,9,13],[7,0,7,3],[8,0,8,1],[8,2,8,3],[8,5,8,6],[8,7,8,8],[8,10,8,11],[10,0,10,1],[10,2,10,3],[10,5,10,6],[10,7,10,13],[12,0,12,1],[12,2,12,3],[12,5,12,6],[12,7,12,8],[12,10,12,11],[12,12,12,13],[15,0,15,1],[15,2,15,3],[15,6,15,7],[15,10,15,11],[16,0,16,1],[16,2,16,3],[16,5,16,6],[16,7,16,12],[13,0,13,1],[13,2,13,3],[13,5,13,6],[13,7,13,8],[13,10,13,11],[13,12,13,13],[21,0,21,1],[21,2,21,3],[23,0,23,3],[24,0,24,1],[24,2,24,4],[24,6,24,8],[18,0,18,3],[19,0,19,1],[19,2,19,3],[19,5,19,6],[20,0,20,1],[20,2,20,3],[20,5,20,6],[26,0,26,3],[27,0,27,1],[27,2,27,4],[27,5,27,6],[27,7,27,9],[28,0,28,1],[28,2,28,4],[28,5,28,6],[28,7,28,9],[29,0,29,1],[29,2,29,4],[29,5,29,6],[29,7,29,9],[29,10,29,11],[30,0,30,1],[30,2,30,4],[30,5,30,6],[30,7,30,9],[30,10,30,13],[31,0,31,1],[31,2,31,4],[31,5,31,6],[31,7,31,9],[31,10,31,13],[32,0,32,1],[32,2,32,4],[32,5,32,6],[32,7,32,9],[32,10,32,13],[33,0,33,1],[33,2,33,4],[33,5,33,6],[33,7,33,9],[33,10,33,13],[34,0,34,1],[34,2,34,4],[34,5,34,6],[34,7,34,9],[34,10,34,13],[35,0,35,1],[35,2,35,4],[35,5,35,6],[35,7,35,9],[35,10,35,13],[36,0,36,1],[36,2,36,4],[36,5,36,6],[36,7,36,9],[36,10,36,13],[37,0,37,13],[38,0,38,1],[38,2,38,3],[38,5,38,6],[38,7,38,8],[39,0,39,1],[39,2,39,3],[39,5,39,6],[39,7,39,8],[40,0,40,1],[40,2,40,8],[41,0,41,3],[42,0,43,1],[42,2,43,4],[42,5,42,7],[42,8,42,13],[43,5,43,7],[43,8,43,13],[46,0,46,1],[46,2,46,4],[46,5,46,7],[46,8,46,13],[47,0,47,1],[47,2,47,4],[47,5,47,7],[47,8,47,13],[44,0,45,1],[44,2,45,4],[44,5,44,7],[44,8,44,13],[45,5,45,7],[45,8,45,13],[53,0,53,13],[55,0,56,1],[55,2,56,4],[55,5,55,7],[55,8,55,13],[56,5,56,7],[56,8,56,13],[49,0,49,3],[50,0,52,1],[50,2,52,4],[50,5,50,7],[50,8,50,13],[51,5,51,7],[51,8,51,13],[52,5,52,7],[52,8,52,9],[62,10,62,11],[62,12,62,13],[60,0,60,3],[61,0,61,1],[61,2,61,3],[61,5,61,6],[61,7,61,8],[61,10,61,13],[57,0,58,1],[57,2,58,4],[57,5,57,7],[57,8,57,13],[58,5,58,7],[58,8,58,13],[63,0,63,1],[63,2,63,3],[64,0,64,1],[65,0,65,3],[65,4,65,6],[65,7,65,8],[62,0,62,1],[62,2,62,3],[62,5,62,6],[62,7,62,8],[65,9,65,10],[65,11,65,13],[66,0,67,1],[66,2,66,3],[66,4,66,6],[66,7,66,8],[66,9,66,10],[66,11,66,13],[67,2,67,3],[67,4,67,6],[67,7,67,8],[67,9,67,10],[67,11,67,13],[68,0,69,1],[68,2,68,3],[68,4,68,6],[68,7,68,8],[68,9,68,10],[68,11,68,13],[69,2,69,3],[69,4,69,6],[69,7,69,8],[69,9,69,10],[69,11,69,13],[70,0,71,1],[70,2,70,3],[70,4,70,6],[70,7,70,8],[70,9,70,10],[70,11,70,13],[81,8,81,11],[82,0,82,3],[83,1,83,3],[83,4,83,6],[83,8,83,10],[83,11,83,13],[71,2,71,3],[71,4,71,6],[71,7,71,8],[71,9,71,10],[71,11,71,13],[73,0,73,3],[86,1,86,3],[86,4,86,6],[86,8,86,10],[86,11,86,13],[87,1,87,3],[87,4,87,6],[87,8,87,10],[87,11,87,13],[84,1,84,3],[84,4,84,6],[84,8,84,10],[84,11,84,13],[85,1,85,3],[85,4,85,6],[85,8,85,10],[85,11,85,13],[91,12,91,13],[92,1,92,3],[92,5,92,6],[92,12,92,13],[93,1,93,3],[93,5,93,6],[93,12,93,13],[88,1,88,3],[88,4,88,6],[90,0,90,3],[91,1,91,3],[91,5,91,6],[91,8,93,10],[96,1,97,3],[96,5,96,6],[96,8,97,10],[96,12,96,13],[97,5,97,6],[97,12,97,13],[94,1,94,3],[94,5,94,6],[94,8,94,10],[94,12,94,13],[95,1,95,3],[95,5,95,6],[95,8,95,10],[95,12,95,13],[98,1,98,3],[98,5,98,6],[98,8,98,10],[98,12,98,13],[99,1,100,3],[99,5,99,6],[99,8,99,10],[99,12,99,13],[100,5,100,6],[100,8,101,10],[103,12,103,13],[104,1,104,3],[104,5,104,6],[104,8,105,10],[104,12,104,13],[105,1,105,3],[105,5,105,6],[105,12,105,13],[100,12,100,13],[101,1,101,3],[101,5,101,6],[101,12,101,13],[102,1,102,3],[102,5,102,6],[102,8,103,10],[102,12,102,13],[103,1,103,3],[103,5,103,6],[106,1,106,3],[106,5,106,6],[106,8,107,8],[106,9,106,10],[106,12,106,13],[107,1,108,3],[107,5,107,6],[107,9,107,10],[107,12,107,13],[108,5,108,6],[113,0,113,7],[113,8,113,13],[114,0,114,7],[114,8,114,13],[115,0,115,7],[115,8,115,13],[108,8,108,10],[108,12,108,13],[109,1,110,3],[109,5,109,6],[110,5,110,6],[112,0,112,1],[112,8,112,9],[119,0,119,7],[119,8,119,13],[120,0,120,7],[120,8,120,13],[121,0,121,7],[121,8,121,13],[116,0,116,7],[116,8,116,13],[117,0,117,7],[117,8,117,13],[118,0,118,7],[118,8,118,13]]}
["填写日期:",null,{"$f":"TODAY()","v":"2023-10-02"},null,null," PS：1.请營業单位依客户要求，逐条填写；\n         2.没有选项或者说明不清楚的,请特记事项中注明；\n         3.空白处或者没有底色的部分，需和工厂讨论后再修改，不可以自行修改；"]
["客户名称:",null,"和境建設-善捷段"]
["预定交期:",null,"2023/09"]
["安装地区:",null,"台湾",null,null,null,"安装地址:",null,"桃園市龜山區文桃路及南林路交叉口"]
["号机:",null,"NO.5"]
["制造编号:"]
[" PS：正式订单台北都必须填写(仅询价时无需填写)，编号由台湾业务编制；"]
["基本规格",{"$nulls":4},"PS:非标轿厢內法，請依实際尺寸填写；"]
["机种:",null,"MAE100有机房",null,null,"载重:",null,"700kg",null,"标准","速度:",null,"90m/min"]
["用途:",null,"紧急",null,null,"类型:",null,"新梯",null,null,"场合:",null,"一般"]
["运转方式:",null,"联动",null,null,"联/群控号机:",null,"NO.5-NO.6"]
[]
["轿厢內法寬:",null,{"$f":"IF(J9=\"标准\",\"依标准\",\"\")","v":"依标准"},null,null,"內法深:",null,{"$f":"IF(J9=\"标准\",\"依标准\",\"\")","v":"依标准"},null,null,"內法高:",null,2500]
["开门形式:",null,"2P-CO",null,null,"开门宽:",null,{"$f":"IF(J9=\"标准\",\"依标准\",\"\")","v":"依标准"},null,null,"开门高:",null,{"$f":"IF(J9=\"标准\",\"依标准\",\"\")","v":"依标准"}]
[]
["层站门：",null,"19",null,"層","×","19",null,"站","×","19",null,"門"]
["千鸟&贯通:",null,"否",null,null,"层楼名：",null,"B4-B1,1-14,RF"]
[]
["井道尺寸",{"$nulls":4},"PS:井道最终依土建图为准；"]
["顶层:",null,5850,null,"mm","底坑:",null,1850,"mm",null,"行程:",57150,"mm"]
["井道内法宽:",null,1900,null,"mm","井道內法深:",null,1950,"mm",null,"全高:",64800,"mm"]
["井道结构:",null,"全混泥土"]
[]
["电源叁数"]
["主电源:",null,"3相4线制380V/60HZ",null,null,"照明:",{"$f":"IF(C9=\"MAQ100強驅梯\",\"单相220V/60HZ\",\"单相110V/60HZ\")","v":"单相110V/60HZ"},null,null,null,{"$f":"IF(C9=\"MAQ100強驅梯\",\"P.S.強驅梯照明電源为单相220V/60HZ\",\" \")","v":" "}]
[]
["轿厢"]
["轎廂:",null,"MA001",null,null,"標準選型:",null,"否",null,null,{"$f":"IF(H28=\"否\",\"  P.S.請確實填寫下方選型資料\",\"\")","v":"  P.S.請確實填寫下方選型資料"}]
["天井:",null,"MB001",null,null,"材质:",null,"依标准",null,null,"  P.S.法規規定逃生窗400*500"]
["地板:",null,"业主自理",null,null,"型号:",null,"其他",null,null,"预留厚度:",null,20,"mm"]
["轎壁侧板位置",null,"材质",null,null,"材质厚度",null,"色号(依様本填写)",null,null,"备注"]
["前侧:",null,"发纹不锈钢",null,null,"依标准",null,"/"]
["两侧两端:",null,"彩妆钢板",null,null,"依标准",null,"/"]
["两侧中间:",null,"彩妆钢板",null,null,"依标准",null,"/"]
["后侧两端:",null,"彩妆钢板",null,null,"依标准",null,"/"]
["后侧中间:",null,"彩妆钢板",null,null,"依标准",null,"/"]
["轎門:",null,"彩妆钢板",null,null,"依标准",null,"/"]
["PS:除发纹不锈钢、镜面外，其余材质需按照公司样本填写色号；"]
["预留装潢重:",null,0,null,"kg","预留装潢厚度",null,"无",null,"mm"]
["扶手:",null,"MC003",null,null,"位置",null,{"$f":"IF($C$10=\"紧急兼残障\",\"两侧\",IF($C$10=\"残障\",\"两侧\",\"无\"))","v":"无"},null,null,{"$f":"IF(C10=\"紧急兼残障\",\"  P.S.不可使用MC001,標準為两侧\",IF(C10=\"残障\",\"  P.S.不可使用MC001,標準為两侧\",\" \"))","v":" "}]
["明镜:",null,"后侧(半身明鏡)有,由台北自理",{"$nulls":7},{"$f":"IF(C41=\"后侧(半身明鏡)有,由台北自理\",\"  P.S:选配明镜时，由台北自理；\",\"\")","v":"  P.S:选配明镜时，由台北自理；"}]
["人机界面 (轎廂側)"]
["主操纵盘型号",null,"ME001",null,null,"按钮&显示:",null,null,"标准"]
[{"$nulls":5},"面板材质&位置:",null,null,"标准"]
["副操纵盘型号",null,"无",null,null,"按钮&显示:",null,null,"无"]
[{"$nulls":5},"面板材质&位置:",null,null,"无"]
["残障主操纵盘",null,"无",null,null,"面板材质&位置:",null,null,"无"]
["残障副操纵盘",null,"无",null,null,"面板材质&位置:",null,null,"无"]
[]
["人机界面 (層门側)"]
["外呼:",null,"MF001",null,null,"按钮&显示:",null,null,"标准"]
[{"$nulls":5},"面板材质:",null,null,"标准"]
[{"$nulls":5},"基准阶楼层:",null,null,"1",null,"FL"," P.S：基准阶标配外呼锁"]
["PS:外呼/操纵盘等,於残障时需附盲文点字板,盲文点字板由台北自理,上海需注意按钮之间的间隙；"]
[]
["到站灯",null,"无",null,null,"面板材质:",null,null,"无"]
[{"$nulls":5},"安装楼层:"]
["橫向顯示器",null,"无",null,null,"面板材质:",null,null,"无"]
[{"$nulls":5},"安装楼层:"]
[]
["層门系统"]
["前门楼层:",null,"B4-B1,1~13,RF",null,"＋","后门楼层:",null,"无",null,null,{"$f":"IF(C17=\"是\",\" P.S:后门仅当千鸟或贯穿时需填写\",\" \")","v":" "}]
["耐火:",null,"否",null,null,"耐火停数:",null,"无",null,null,"耐火楼层:",null,"无"]
["门保护:",null,"二合一"]
[]
["部品",null,null,null,"材质",null,null,"材质厚度",null,"色号(依様本)",null,"备注"]
["层门:",null,"首层:",null,"钢板烤漆",null,null,"依标准",null,"/",null,"1F"]
[null,null,"其余层:",null,"钢板烤漆",null,null,"依标准",null,"/",null,"B1-B1,2~14,RF"]
["小门框:",null,"首层:",null,"发纹不锈钢",null,null,"无",null,"/"]
[null,null,"其余层:",null,"发纹不锈钢",null,null,"无",null,"/"]
["大门框:",null,"首层:",null,"无",null,null,"无",null,"/"]
[null,null,"其余层:",null,"无",null,null,"无",null,"/"]
["PS:如其余层有大、小门框区別，请于备注栏填写。"]
["轿厢象限示意圖"]
[]
[]
[]
[]
[{"$nulls":10}," P.S:主操纵盘标准位置为左前側板"]
[{"$nulls":10}," P.S:残障主操纵盘标准位置为右側中央"]
[]
[]
["标配功能"]
[null,"井道照明",null,null,"标配",null,null,null,"物联网",null,null,"标配"]
[null,"出货方式",null,null,"依公司标准",null,null,null,"自动返回基站",null,null,"标配"]
[null,"无机房主机侧是否为卧室",null,null,"否，不允许",null,null,null,"次楼层停靠",null,null,"标配"]
[null,"误登录取消",null,null,"标配",null,null,null,"出口木箱",null,null,"标配"]
[null,"再平层功能",null,null,"标配",null,null,null,"保固保養年限",null,null,"2年"]
[null,"开延长",null,null,"标配",null,null,null,"PS:标配功能，不限于下表所列选项，以Masada样本上所列为准；"]
[]
["选配功能"]
[null,"三大件进口",null,null,null,{"$f":"判断!B83*1","v":0},null,null,"临时层门(IB)",null,null,null,{"$f":"判断!C83*1","v":1}]
[null,"出入口牛腿",null,null,null,{"$f":"判断!B84*1","v":0},{"$nulls":5},"停数:",0]
[null,"对重附安全钳",null,null,null,{"$f":"判断!B85*1","v":0},{"$nulls":5},"楼层:",0]
[null,"冷气(歌林)",null,null,null,{"$f":"判断!B86*1","v":0},null,null,"临时轿门(IB)",null,null,null,{"$f":"判断!C86*1","v":0}]
[null,"夏普空气清净机",null,null,null,{"$f":"判断!B87*1","v":0},null,null,"火灾",null,null,null,{"$f":"判断!C87*1","v":0}]
[null,"对讲机集中管理",null,null,null,{"$f":"判断!B88*1","v":1},null,null,"轎廂側電子佈告欄",null,null,null,{"$f":"判断!C88*1","v":0}]
[{"$nulls":4},"台数:",6,{"$nulls":5},"位置:","无"]
[null,"中央监控系统(CRT)",null,null,null,{"$f":"判断!B90*1","v":0},null,null,"紫外灯杀菌系统",null,null,null,{"$f":"判断!C90*1","v":0}]
[null,"人脸识别",null,null,null,{"$f":"判断!B91*1","v":0},null,null,"语音呼梯",null,null,null,{"$f":"判断!C91*1","v":0}]
[{"$nulls":4},"形式:","无",null,null,"乘场智能呼梯",null,null,null,{"$f":"判断!C96*1","v":0}]
[null,"轿厢附到站钟GONG",null,null,null,{"$f":"判断!B93*1","v":0},{"$nulls":5},"形式:","无"]
[null,"地震管制",null,null,null,{"$f":"判断!B94*1","v":0},null,null,"刷卡机管制\n(轿厢侧)",null,null,null,{"$f":"判断!C98*1","v":1}]
[null,"语音合成",null,null,null,{"$f":"判断!B95*1","v":0},{"$nulls":5},"形式:","标准-业主自理(隐藏式)"]
[null,"ARD",null,null,null,{"$f":"判断!B96*1","v":0},null,null,"刷卡机管制\n(乘场侧)",null,null,null,{"$f":"判断!C100*1","v":0}]
[null,"能量回馈器",null,null,null,{"$f":"判断!B97*1","v":0},{"$nulls":5},"形式:","无"]
[null,"RS485接口",null,null,null,{"$f":"判断!B98*1","v":0},null,null,"特殊操作","专用运转",null,null,{"$f":"判断!C102*1","v":0}]
[null,"轿厢摄像头\n(CCTV)",null,null,null,{"$f":"判断!B99*1","v":1},null,null,null,"司机操作",null,null,{"$f":"判断!C103*1","v":0}]
[{"$nulls":4},"形式:","标准-仅留配线(網線)",null,null,"满载直驶",null,null,null,{"$f":"判断!B104*1","v":0}]
[null,"观光梯外妆板",null,null,null,{"$f":"判断!B101*1","v":0},null,null,"PS:選擇刷卡机时，須配PASS開關；刷卡機面板尺寸 : 90x125mm"]
[{"$nulls":4},"材质:","无"]
[]
["特记事项：",{"$nulls":7},"改訂履歷："]
["2022/12//02",{"$nulls":7},"例 : [A] 外呼選型變更  2022.11.22 郭承瑋"]
["1.三側轎廂壁附壁鉤"]

{"sheet":"No.2,No.4(緊急用) ","index":1,"n_rows":116,"n_cols":14,"rows_kept":116,"cut":false,"hidden":false,"merged":[[0,0,0,1],[0,2,0,4],[0,5,1,13],[1,0,1,1],[1,2,1,4],[2,0,2,1],[2,2,2,4],[4,12,4,13],[5,0,5,1],[5,2,5,3],[5,4,5,5],[5,6,5,7],[5,8,5,9],[5,10,5,11],[5,12,5,13],[3,0,3,1],[3,2,3,4],[3,6,3,7],[3,8,3,13],[4,0,4,1],[4,2,4,3],[4,4,4,5],[4,6,4,7],[4,8,4,9],[4,10,4,11],[8,12,8,13],[9,0,9,1],[9,2,9,3],[9,5,9,6],[9,7,9,9],[9,10,9,11],[9,12,9,13],[7,0,7,3],[8,0,8,1],[8,2,8,3],[8,5,8,6],[8,7,8,8],[8,10,8,11],[10,0,10,1],[10,2,10,3],[10,5,10,6],[10,7,10,13],[12,0,12,1],[12,2,12,3],[12,5,12,6],[12,7,12,8],[12,10,12,11],[12,12,12,13],[15,0,15,1],[15,2,15,3],[15,6,15,7],[15,10,15,11],[16,0,16,1],[16,2,16,3],[16,5,16,6],[16,7,16,12],[13,0,13,1],[13,2,13,3],[13,5,13,6],[13,7,13,8],[13,10,13,11],[13,12,13,13],[21,0,21,1],[21,2,21,3],[23,0,23,3],[24,0,24,1],[24,2,24,4],[24,6,24,8],[18,0,18,3],[19,0,19,1],[19,2,19,3],[19,5,19,6],[20,0,20,1],[20,2,20,3],[20,5,20,6],[26,0,26,3],[27,0,27,1],[27,2,27,4],[27,5,27,6],[27,7,27,9],[28,0,28,1],[28,2,28,4],[28,5,28,6],[28,7,28,9],[29,0,29,1],[29,2,29,4],[29,5,29,6],[29,7,29,9],[29,10,29,11],[30,0,30,1],[30,2,30,4],[30,5,30,6],[30,7,30,9],[30,10,30,13],[31,0,31,1],[31,2,31,4],[31,5,31,6],[31,7,31,9],[31,10,31,13],[32,0,32,1],[32,2,32,4],[32,5,32,6],[32,7,32,9],[32,10,32,13],[33,0,33,1],[33,2,33,4],[33,5,33,6],[33,7,33,9],[33,10,33,13],[34,0,34,1],[34,2,34,4],[34,5,34,6],[34,7,34,9],[34,10,34,13],[35,0,35,1],[35,2,35,4],[35,5,35,6],[35,7,35,9],[35,10,35,13],[36,0,36,1],[36,2,36,4],[36,5,36,6],[36,7,36,9],[36,10,36,13],[37,0,37,13],[38,0,38,1],[38,2,38,3],[38,5,38,6],[38,7,38,8],[39,0,39,1],[39,2,39,3],[39,5,39,6],[39,7,39,8],[40,0,40,1],[40,2,40,8],[41,0,41,3],[42,0,43,1],[42,2,43,4],[42,5,42,7],[42,8,42,13],[43,5,43,7],[43,8,43,13],[46,0,46,1],[46,2,46,4],[46,5,46,7],[46,8,46,13],[47,0,47,1],[47,2,47,4],[47,5,47,7],[47,8,47,13],[44,0,45,1],[44,2,45,4],[44,5,44,7],[44,8,44,13],[45,5,45,7],[45,8,45,13],[53,0,53,13],[55,0,56,1],[55,2,56,4],[55,5,55,7],[55,8,55,13],[56,5,56,7],[56,8,56,13],[49,0,49,3],[50,0,52,1],[50,2,52,4],[50,5,50,7],[50,8,50,13],[51,5,51,7],[51,8,51,13],[52,5,52,7],[52,8,52,9],[62,10,62,11],[62,12,62,13],[60,0,60,3],[61,0,61,1],[61,2,61,3],[61,5,61,6],[61,7,61,8],[61,10,61,13],[57,0,58,1],[57,2,58,4],[57,5,57,7],[57,8,57,13],[58,5,58,7],[58,8,58,13],[63,0,63,1],[63,2,63,3],[64,0,64,1],[65,0,65,3],[65,4,65,6],[65,7,65,8],[62,0,62,1],[62,2,62,3],[62,5,62,6],[62,7,62,8],[65,9,65,10],[65,11,65,13],[66,0,67,1],[66,2,66,3],[66,4,66,6],[66,7,66,8],[66,9,66,10],[66,11,66,13],[67,2,67,3],[67,4,67,6],[67,7,67,8],[67,9,67,10],[67,11,67,13],[68,0,69,1],[68,2,68,3],[68,4,68,6],[68,7,68,8],[68,9,68,10],[68,11,68,13],[69,2,69,3],[69,4,69,6],[69,7,69,8],[69,9,69,10],[69,11,69,13],[70,0,71,1],[70,2,70,3],[70,4,70,6],[70,7,70,8],[70,9,70,10],[70,11,70,13],[81,8,81,11],[82,0,82,3],[83,1,83,3],[83,4,83,6],[83,8,83,10],[83,11,83,13],[71,2,71,3],[71,4,71,6],[71,7,71,8],[71,9,71,10],[71,11,71,13],[73,0,73,3],[86,1,86,3],[86,4,86,6],[86,8,86,10],[86,11,86,13],[87,1,87,3],[87,4,87,6],[87,8,87,10],[87,11,87,13],[84,1,84,3],[84,4,84,6],[84,8,84,10],[84,11,84,13],[85,1,85,3],[85,4,85,6],[85,8,85,10],[85,11,85,13],[91,12,91,13],[92,1,92,3],[92,5,92,6],[92,12,92,13],[93,1,93,3],[93,5,93,6],[93,12,93,13],[88,1,88,3],[88,4,88,6],[90,0,90,3],[91,1,91,3],[91,5,91,6],[91,8,93,10],[96,1,97,3],[96,5,96,6],[96,8,97,10],[96,12,96,13],[97,5,97,6],[97,12,97,13],[94,1,94,3],[94,5,94,6],[94,8,94,10],[94,12,94,13],[95,1,95,3],[95,5,95,6],[95,8,95,10],[95,12,95,13],[98,1,98,3],[98,5,98,6],[98,8,98,10],[98,12,98,13],[99,1,100,3],[99,5,99,6],[99,8,99,10],[99,12,99,13],[100,5,100,6],[100,8,101,10],[103,12,103,13],[104,1,104,3],[104,5,104,6],[104,8,105,10],[104,12,104,13],[105,1,105,3],[105,5,105,6],[105,12,105,13],[100,12,100,13],[101,1,101,3],[101,5,101,6],[101,12,101,13],[102,1,102,3],[102,5,102,6],[102,8,103,10],[102,12,102,13],[103,1,103,3],[103,5,103,6],[106,1,106,3],[106,5,106,6],[106,8,107,8],[106,9,106,10],[106,12,106,13],[107,1,108,3],[107,5,107,6],[107,9,107,10],[107,12,107,13],[108,5,108,6],[113,0,113,7],[113,8,113,13],[114,0,114,7],[114,8,114,13],[115,0,115,7],[115,8,115,13],[108,8,108,10],[108,12,108,13],[109,1,110,3],[109,5,109,6],[110,5,110,6],[112,0,112,1],[112,8,112,9],[119,0,119,7],[119,8,119,13],[120,0,120,7],[120,8,120,13],[121,0,121,7],[121,8,121,13],[116,0,116,7],[116,8,116,13],[117,0,117,7],[117,8,117,13],[118,0,118,7],[118,8,118,13]]}
["填写日期:",null,{"$f":"TODAY()","v":"2023-10-02"},null,null," PS：1.请營業单位依客户要求，逐条填写；\n         2.没有选项或者说明不清楚的,请特记事项中注明；\n         3.空白处或者没有底色的部分，需和工厂讨论后再修改，不可以自行修改；"]
["客户名称:",null,"和境建設-善捷段"]
["预定交期:",null,"2023/09"]
["安装地区:",null,"台湾",null,null,null,"安装地址:",null,"桃園市龜山區文桃路及南林路交叉口"]
["号机:",null,"NO.2",null,"NO.4"]
["制造编号:"]
[" PS：正式订单台北都必须填写(仅询价时无需填写)，编号由台湾业务编制；"]
["基本规格",{"$nulls":4},"PS:非标轿厢內法，請依实際尺寸填写；"]
["机种:",null,"MAE100有机房",null,null,"载重:",null,"700kg",null,"标准","速度:",null,"90m/min"]
["用途:",null,"紧急",null,null,"类型:",null,"新梯",null,null,"场合:",null,"一般"]
["运转方式:",null,"联动",null,null,"联/群控号机:",null,"NO.1-NO.2,NO.3-NO.4"]
[]
["轿厢內法寬:",null,{"$f":"IF(J9=\"标准\",\"依标准\",\"\")","v":"依标准"},null,null,"內法深:",null,{"$f":"IF(J9=\"标准\",\"依标准\",\"\")","v":"依标准"},null,null,"內法高:",null,2500]
["开门形式:",null,"2P-CO",null,null,"开门宽:",null,{"$f":"IF(J9=\"标准\",\"依标准\",\"\")","v":"依标准"},null,null,"开门高:",null,{"$f":"IF(J9=\"标准\",\"依标准\",\"\")","v":"依标准"}]
[]
["层站门：",null,"18",null,"層","×","18",null,"站","×","18",null,"門"]
["千鸟&贯通:",null,"否",null,null,"层楼名：",null,"B4-B1,1-13,RF"]
[]
["井道尺寸",{"$nulls":4},"PS:井道最终依土建图为准；"]
["顶层:",null,5850,null,"mm","底坑:",null,1850,"mm",null,"行程:",57150,"mm"]
["井道内法宽:",null,1900,null,"mm","井道內法深:",null,1950,"mm",null,"全高:",64800,"mm"]
["井道结构:",null,"全混泥土"]
[]
["电源叁数"]
["主电源:",null,"3相4线制380V/60HZ",null,null,"照明:",{"$f":"IF(C9=\"MAQ100強驅梯\",\"单相220V/60HZ\",\"单相110V/60HZ\")","v":"单相110V/60HZ"},null,null,null,{"$f":"IF(C9=\"MAQ100強驅梯\",\"P.S.強驅梯照明電源为单相220V/60HZ\",\" \")","v":" "}]
[]
["轿厢"]
["轎廂:",null,"MA001",null,null,"標準選型:",null,"否",null,null,{"$f":"IF(H28=\"否\",\"  P.S.請確實填寫下方選型資料\",\"\")","v":"  P.S.請確實填寫下方選型資料"}]
["天井:",null,"MB001",null,null,"材质:",null,"依标准",null,null,"  P.S.法規規定逃生窗400*500"]
["地板:",null,"业主自理",null,null,"型号:",null,"其他",null,null,"预留厚度:",null,20,"mm"]
["轎壁侧板位置",null,"材质",null,null,"材质厚度",null,"色号(依様本填写)",null,null,"备注"]
["前侧:",null,"发纹不锈钢",null,null,"依标准",null,"/"]
["两侧两端:",null,"彩妆钢板",null,null,"依标准",null,"/"]
["两侧中间:",null,"彩妆钢板",null,null,"依标准",null,"/"]
["后侧两端:",null,"彩妆钢板",null,null,"依标准",null,"/"]
["后侧中间:",null,"彩妆钢板",null,null,"依标准",null,"/"]
["轎門:",null,"彩妆钢板",null,null,"依标准",null,"/"]
["PS:除发纹不锈钢、镜面外，其余材质需按照公司样本填写色号；"]
["预留装潢重:",null,0,null,"kg","预留装潢厚度",null,"无",null,"mm"]
["扶手:",null,"MC003",null,null,"位置",null,{"$f":"IF($C$10=\"紧急兼残障\",\"两侧\",IF($C$10=\"残障\",\"两侧\",\"无\"))","v":"无"},null,null,{"$f":"IF(C10=\"紧急兼残障\",\"  P.S.不可使用MC001,標準為两侧\",IF(C10=\"残障\",\"  P.S.不可使用MC001,標準為两侧\",\" \"))","v":" "}]
["明镜:",null,"后侧(半身明鏡)有,由台北自理",{"$nulls":7},{"$f":"IF(C41=\"后侧(半身明鏡)有,由台北自理\",\"  P.S:选配明镜时，由台北自理；\",\"\")","v":"  P.S:选配明镜时，由台北自理；"}]
["人机界面 (轎廂側)"]
["主操纵盘型号",null,"ME001",null,null,"按钮&显示:",null,null,"标准"]
[{"$nulls":5},"面板材质&位置:",null,null,"标准"]
["副操纵盘型号",null,"无",null,null,"按钮&显示:",null,null,"无"]
[{"$nulls":5},"面板材质&位置:",null,null,"无"]
["残障主操纵盘",null,"无",null,null,"面板材质&位置:",null,null,"无"]
["残障副操纵盘",null,"无",null,null,"面板材质&位置:",null,null,"无"]
[]
["人机界面 (層门側)"]
["外呼:",null,"MF001",null,null,"按钮&显示:",null,null,"标准"]
[{"$nulls":5},"面板材质:",null,null,"标准"]
[{"$nulls":5},"基准阶楼层:",null,null,"1",null,"FL"," P.S：基准阶标配外呼锁"]
["PS:外呼/操纵盘等,於残障时需附盲文点字板,盲文点字板由台北自理,上海需注意按钮之间的间隙；"]
[]
["到站灯",null,"无",null,null,"面板材质:",null,null,"无"]
[{"$nulls":5},"安装楼层:"]
["橫向顯示器",null,"无",null,null,"面板材质:",null,null,"无"]
[{"$nulls":5},"安装楼层:"]
[]
["層门系统"]
["前门楼层:",null,"B4-B1,1~13,RF",null,"＋","后门楼层:",null,"无",null,null,{"$f":"IF(C17=\"是\",\" P.S:后门仅当千鸟或贯穿时需填写\",\" \")","v":" "}]
["耐火:",null,"否",null,null,"耐火停数:",null,"无",null,null,"耐火楼层:",null,"无"]
["门保护:",null,"光幕"]
[]
["部品",null,null,null,"材质",null,null,"材质厚度",null,"色号(依様本)",null,"备注"]
["层门:",null,"首层:",null,"钢板烤漆",null,null,"依标准",null,"/",null,"1F"]
[null,null,"其余层:",null,"钢板烤漆",null,null,"依标准",null,"/",null,"B1-B1,2~13,RF"]
["小门框:",null,"首层:",null,"发纹不锈钢",null,null,"无",null,"/"]
[null,null,"其余层:",null,"发纹不锈钢",null,null,"无",null,"/"]
["大门框:",null,"首层:",null,"无",null,null,"无",null,"/"]
[null,null,"其余层:",null,"无",null,null,"无",null,"/"]
["PS:如其余层有大、小门框区別，请于备注栏填写。"]
["轿厢象限示意圖"]
[]
[]
[]
[]
[{"$nulls":10}," P.S:主操纵盘标准位置为左前側板"]
[{"$nulls":10}," P.S:残障主操纵盘标准位置为右側中央"]
[]
[]
["标配功能"]
[null,"井道照明",null,null,"标配",null,null,null,"物联网",null,null,"标配"]
[null,"出货方式",null,null,"依公司标准",null,null,null,"自动返回基站",null,null,"标配"]
[null,"无机房主机侧是否为卧室",null,null,"否，不允许",null,null,null,"次楼层停靠",null,null,"标配"]
[null,"误登录取消",null,null,"标配",null,null,null,"出口木箱",null,null,"标配"]
[null,"再平层功能",null,null,"标配",null,null,null,"保固保養年限",null,null,"2年"]
[null,"开延长",null,null,"标配",null,null,null,"PS:标配功能，不限于下表所列选项，以Masada样本上所列为准；"]
[]
["选配功能"]
[null,"三大件进口",null,null,null,{"$f":"判断!B83*1","v":0},null,null,"临时层门(IB)",null,null,null,{"$f":"判断!C83*1","v":1}]
[null,"出入口牛腿",null,null,null,{"$f":"判断!B84*1","v":0},{"$nulls":5},"停数:",0]
[null,"对重附安全钳",null,null,null,{"$f":"判断!B85*1","v":0},{"$nulls":5},"楼层:",0]
[null,"冷气(歌林)",null,null,null,{"$f":"判断!B86*1","v":0},null,null,"临时轿门(IB)",null,null,null,{"$f":"判断!C86*1","v":0}]
[null,"夏普空气清净机",null,null,null,{"$f":"判断!B87*1","v":0},null,null,"火灾",null,null,null,{"$f":"判断!C87*1","v":0}]
[null,"对讲机集中管理",null,null,null,{"$f":"判断!B88*1","v":1},null,null,"轎廂側電子佈告欄",null,null,null,{"$f":"判断!C88*1","v":0}]
[{"$nulls":4},"台数:",6,{"$nulls":5},"位置:","无"]
[null,"中央监控系统(CRT)",null,null,null,{"$f":"判断!B90*1","v":0},null,null,"紫外灯杀菌系统",null,null,null,{"$f":"判断!C90*1","v":0}]
[null,"人脸识别",null,null,null,{"$f":"判断!B91*1","v":0},null,null,"语音呼梯",null,null,null,{"$f":"判断!C91*1","v":0}]
[{"$nulls":4},"形式:","无",null,null,"乘场智能呼梯",null,null,null,{"$f":"判断!C96*1","v":0}]
[null,"轿厢附到站钟GONG",null,null,null,{"$f":"判断!B93*1","v":0},{"$nulls":5},"形式:","无"]
[null,"地震管制",null,null,null,{"$f":"判断!B94*1","v":0},null,null,"刷卡机管制\n(轿厢侧)",null,null,null,{"$f":"判断!C98*1","v":1}]
[null,"语音合成",null,null,null,{"$f":"判断!B95*1","v":0},{"$nulls":5},"形式:","标准-业主自理(隐藏式)"]
[null,"ARD",null,null,null,{"$f":"判断!B96*1","v":0},null,null,"刷卡机管制\n(乘场侧)",null,null,null,{"$f":"判断!C100*1","v":0}]
[null,"能量回馈器",null,null,null,{"$f":"判断!B97*1","v":0},{"$nulls":5},"形式:","无"]
[null,"RS485接口",null,null,null,{"$f":"判断!B98*1","v":0},null,null,"特殊操作","专用运转",null,null,{"$f":"判断!C102*1","v":0}]
[null,"轿厢摄像头\n(CCTV)",null,null,null,{"$f":"判断!B99*1","v":1},null,null,null,"司机操作",null,null,{"$f":"判断!C103*1","v":0}]
[{"$nulls":4},"形式:","标准-仅留配线(網線)",null,null,"满载直驶",null,null,null,{"$f":"判断!B104*1","v":0}]
[null,"观光梯外妆板",null,null,null,{"$f":"判断!B101*1","v":0},null,null,"PS:選擇刷卡机时，須配PASS開關；刷卡機面板尺寸 : 90x125mm"]
[{"$nulls":4},"材质:","无"]
[]
["特记事项：",{"$nulls":7},"改訂履歷："]
["2022/12//02",{"$nulls":7},"例 : [A] 外呼選型變更  2022.11.22 郭承瑋"]
["1.三側轎廂壁附壁鉤"]
["2.1F>6米"]

{"sheet":"No.6(殘障用) ","index":2,"n_rows":116,"n_cols":14,"rows_kept":116,"cut":false,"hidden":false,"merged":[[0,0,0,1],[0,2,0,4],[0,5,1,13],[1,0,1,1],[1,2,1,4],[2,0,2,1],[2,2,2,4],[4,12,4,13],[5,0,5,1],[5,2,5,3],[5,4,5,5],[5,6,5,7],[5,8,5,9],[5,10,5,11],[5,12,5,13],[3,0,3,1],[3,2,3,4],[3,6,3,7],[3,8,3,13],[4,0,4,1],[4,2,4,3],[4,4,4,5],[4,6,4,7],[4,8,4,9],[4,10,4,11],[8,12,8,13],[9,0,9,1],[9,2,9,3],[9,5,9,6],[9,7,9,9],[9,10,9,11],[9,12,9,13],[7,0,7,3],[8,0,8,1],[8,2,8,3],[8,5,8,6],[8,7,8,8],[8,10,8,11],[10,0,10,1],[10,2,10,3],[10,5,10,6],[10,7,10,13],[12,0,12,1],[12,2,12,3],[12,5,12,6],[12,7,12,8],[12,10,12,11],[12,12,12,13],[15,0,15,1],[15,2,15,3],[15,6,15,7],[15,10,15,11],[16,0,16,1],[16,2,16,3],[16,5,16,6],[16,7,16,12],[13,0,13,1],[13,2,13,3],[13,5,13,6],[13,7,13,8],[13,10,13,11],[13,12,13,13],[21,0,21,1],[21,2,21,3],[23,0,23,3],[24,0,24,1],[24,2,24,4],[24,6,24,8],[18,0,18,3],[19,0,19,1],[19,2,19,3],[19,5,19,6],[20,0,20,1],[20,2,20,3],[20,5,20,6],[26,0,26,3],[27,0,27,1],[27,2,27,4],[27,5,27,6],[27,7,27,9],[28,0,28,1],[28,2,28,4],[28,5,28,6],[28,7,28,9],[29,0,29,1],[29,2,29,4],[29,5,29,6],[29,7,29,9],[29,10,29,11],[30,0,30,1],[30,2,30,4],[30,5,30,6],[30,7,30,9],[30,10,30,13],[31,0,31,1],[31,2,31,4],[31,5,31,6],[31,7,31,9],[31,10,31,13],[32,0,32,1],[32,2,32,4],[32,5,32,6],[32,7,32,9],[32,10,32,13],[33,0,33,1],[33,2,33,4],[33,5,33,6],[33,7,33,9],[33,10,33,13],[34,0,34,1],[34,2,34,4],[34,5,34,6],[34,7,34,9],[34,10,34,13],[35,0,35,1],[35,2,35,4],[35,5,35,6],[35,7,35,9],[35,10,35,13],[36,0,36,1],[36,2,36,4],[36,5,36,6],[36,7,36,9],[36,10,36,13],[37,0,37,13],[38,0,38,1],[38,2,38,3],[38,5,38,6],[38,7,38,8],[39,0,39,1],[39,2,39,3],[39,5,39,6],[39,7,39,8],[40,0,40,1],[40,2,40,8],[41,0,41,3],[42,0,43,1],[42,2,43,4],[42,5,42,7],[42,8,42,13],[43,5,43,7],[43,8,43,13],[46,0,46,1],[46,2,46,4],[46,5,46,7],[46,8,46,13],[47,0,47,1],[47,2,47,4],[47,5,47,7],[47,8,47,13],[44,0,45,1],[44,2,45,4],[44,5,44,7],[44,8,44,13],[45,5,45,7],[45,8,45,13],[53,0,53,13],[55,0,56,1],[55,2,56,4],[55,5,55,7],[55,8,55,13],[56,5,56,7],[56,8,56,13],[49,0,49,3],[50,0,52,1],[50,2,52,4],[50,5,50,7],[50,8,50,13],[51,5,51,7],[51,8,51,13],[52,5,52,7],[52,8,52,9],[62,10,62,11],[62,12,62,13],[60,0,60,3],[61,0,61,1],[61,2,61,3],[61,5,61,6],[61,7,61,8],[61,10,61,13],[57,0,58,1],[57,2,58,4],[57,5,57,7],[57,8,57,13],[58,5,58,7],[58,8,58,13],[63,0,63,1],[63,2,63,3],[64,0,64,1],[65,0,65,3],[65,4,65,6],[65,7,65,8],[62,0,62,1],[62,2,62,3],[62,5,62,6],[62,7,62,8],[65,9,65,10],[65,11,65,13],[66,0,67,1],[66,2,66,3],[66,4,66,6],[66,7,66,8],[66,9,66,10],[66,11,66,13],[67,2,67,3],[67,4,67,6],[67,7,67,8],[67,9,67,10],[67,11,67,13],[68,0,69,1],[68,2,68,3],[68,4,68,6],[68,7,68,8],[68,9,68,10],[68,11,68,13],[69,2,69,3],[69,4,69,6],[69,7,69,8],[69,9,69,10],[69,11,69,13],[70,0,71,1],[70,2,70,3],[70,4,70,6],[70,7,70,8],[70,9,70,10],[70,11,70,13],[81,8,81,11],[82,0,82,3],[83,1,83,3],[83,4,83,6],[83,8,83,10],[83,11,83,13],[71,2,71,3],[71,4,71,6],[71,7,71,8],[71,9,71,10],[71,11,71,13],[73,0,73,3],[86,1,86,3],[86,4,86,6],[86,8,86,10],[86,11,86,13],[87,1,87,3],[87,4,87,6],[87,8,87,10],[87,11,87,13],[84,1,84,3],[84,4,84,6],[84,8,84,10],[84,11,84,13],[85,1,85,3],[85,4,85,6],[85,8,85,10],[85,11,85,13],[91,12,91,13],[92,1,92,3],[92,5,92,6],[92,12,92,13],[93,1,93,3],[93,5,93,6],[93,12,93,13],[88,1,88,3],[88,4,88,6],[90,0,90,3],[91,1,91,3],[91,5,91,6],[91,8,93,10],[96,1,97,3],[96,5,96,6],[96,8,97,10],[96,12,96,13],[97,5,97,6],[97,12,97,13],[94,1,94,3],[94,5,94,6],[94,8,94,10],[94,12,94,13],[95,1,95,3],[95,5,95,6],[95,8,95,10],[95,12,95,13],[98,1,98,3],[98,5,98,6],[98,8,98,10],[98,12,98,13],[99,1,100,3],[99,5,99,6],[99,8,99,10],[99,12,99,13],[100,5,100,6],[100,8,101,10],[103,12,103,13],[104,1,104,3],[104,5,104,6],[104,8,105,10],[104,12,104,13],[105,1,105,3],[105,5,105,6],[105,12,105,13],[100,12,100,13],[101,1,101,3],[101,5,101,6],[101,12,101,13],[102,1,102,3],[102,5,102,6],[102,8,103,10],[102,12,102,13],[103,1,103,3],[103,5,103,6],[106,1,106,3],[106,5,106,6],[106,8,107,8],[106,9,106,10],[106,12,106,13],[107,1,108,3],[107,5,107,6],[107,9,107,10],[107,12,107,13],[108,5,108,6],[113,0,113,7],[113,8,113,13],[114,0,114,7],[114,8,114,13],[115,0,115,7],[115,8,115,13],[108,8,108,10],[108,12,108,13],[109,1,110,3],[109,5,109,6],[110,5,110,6],[112,0,112,1],[112,8,112,9],[119,0,119,7],[119,8,119,13],[120,0,120,7],[120,8,120,13],[121,0,121,7],[121,8,121,13],[116,0,116,7],[116,8,116,13],[117,0,117,7],[117,8,117,13],[118,0,118,7],[118,8,118,13]]}
["填写日期:",null,{"$f":"TODAY()","v":"2023-10-02"},null,null," PS：1.请營業单位依客户要求，逐条填写；\n         2.没有选项或者说明不清楚的,请特记事项中注明；\n         3.空白处或者没有底色的部分，需和工厂讨论后再修改，不可以自行修改；"]
["客户名称:",null,"和境建設-善捷段"]
["预定交期:",null,"2023/09"]
["安装地区:",null,"台湾",null,null,null,"安装地址:",null,"桃園市龜山區文桃路及南林路交叉口"]
["号机:",null,"NO.6"]
["制造编号:"]
[" PS：正式订单台北都必须填写(仅询价时无需填写)，编号由台湾业务编制；"]
["基本规格",{"$nulls":4},"PS:非标轿厢內法，請依实際尺寸填写；"]
["机种:",null,"MAE100有机房",null,null,"载重:",null,"700kg",null,"标准","速度:",null,"90m/min"]
["用途:",null,"残障",null,null,"类型:",null,"新梯",null,null,"场合:",null,"一般"]
["运转方式:",null,"联动",null,null,"联/群控号机:",null,"NO.5-NO.6"]
[]
["轿厢內法寬:",null,{"$f":"IF(J9=\"标准\",\"依标准\",\"\")","v":"依标准"},null,null,"內法深:",null,{"$f":"IF(J9=\"标准\",\"依标准\",\"\")","v":"依标准"},null,null,"內法高:",null,2500]
["开门形式:",null,"2P-CO",null,null,"开门宽:",null,{"$f":"IF(J9=\"标准\",\"依标准\",\"\")","v":"依标准"},null,null,"开门高:",null,{"$f":"IF(J9=\"标准\",\"依标准\",\"\")","v":"依标准"}]
[]
["层站门：",null,"19",null,"層","×","19",null,"站","×","19",null,"門"]
["千鸟&贯通:",null,"否",null,null,"层楼名：",null,"B4-B1,1-14,RF"]
[]
["井道尺寸",{"$nulls":4},"PS:井道最终依土建图为准；"]
["顶层:",null,5850,null,"mm","底坑:",null,1850,"mm",null,"行程:",57150,"mm"]
["井道内法宽:",null,1900,null,"mm","井道內法深:",null,1950,"mm",null,"全高:",64800,"mm"]
["井道结构:",null,"全混泥土"]
[]
["电源叁数"]
["主电源:",null,"3相4线制380V/60HZ",null,null,"照明:",{"$f":"IF(C9=\"MAQ100強驅梯\",\"单相220V/60HZ\",\"单相110V/60HZ\")","v":"单相110V/60HZ"},null,null,null,{"$f":"IF(C9=\"MAQ100強驅梯\",\"P.S.強驅梯照明電源为单相220V/60HZ\",\" \")","v":" "}]
[]
["轿厢"]
["轎廂:",null,"MA001",null,null,"標準選型:",null,"否",null,null,{"$f":"IF(H28=\"否\",\"  P.S.請確實填寫下方選型資料\",\"\")","v":"  P.S.請確實填寫下方選型資料"}]
["天井:",null,"MB001",null,null,"材质:",null,"依标准",null,null,"  P.S.法規規定逃生窗400*500"]
["地板:",null,"业主自理",null,null,"型号:",null,"其他",null,null,"预留厚度:",null,20,"mm"]
["轎壁侧板位置",null,"材质",null,null,"材质厚度",null,"色号(依様本填写)",null,null,"备注"]
["前侧:",null,"发纹不锈钢",null,null,"依标准",null,"/"]
["两侧两端:",null,"彩妆钢板",null,null,"依标准",null,"/"]
["两侧中间:",null,"彩妆钢板",null,null,"依标准",null,"/"]
["后侧两端:",null,"彩妆钢板",null,null,"依标准",null,"/"]
["后侧中间:",null,"彩妆钢板",null,null,"依标准",null,"/"]
["轎門:",null,"彩妆钢板",null,null,"依标准",null,"/"]
["PS:除发纹不锈钢、镜面外，其余材质需按照公司样本填写色号；"]
["预留装潢重:",null,0,null,"kg","预留装潢厚度",null,"无",null,"mm"]
["扶手:",null,"MC003",null,null,"位置",null,{"$f":"IF($C$10=\"紧急兼残障\",\"两侧\",IF($C$10=\"残障\",\"两侧\",\"无\"))","v":"两侧"},null,null,{"$f":"IF(C10=\"紧急兼残障\",\"  P.S.不可使用MC001,標準為两侧\",IF(C10=\"残障\",\"  P.S.不可使用MC001,標準為两侧\",\" \"))","v":"  P.S.不可使用MC001,標準為两侧"}]
["明镜:",null,"后侧(半身明鏡)有,由台北自理",{"$nulls":7},{"$f":"IF(C41=\"后侧(半身明鏡)有,由台北自理\",\"  P.S:选配明镜时，由台北自理；\",\"\")","v":"  P.S:选配明镜时，由台北自理；"}]
["人机界面 (轎廂側)"]
["主操纵盘型号",null,"ME001",null,null,"按钮&显示:",null,null,"标准"]
[{"$nulls":5},"面板材质&位置:",null,null,"标准"]
["副操纵盘型号",null,"无",null,null,"按钮&显示:",null,null,"无"]
[{"$nulls":5},"面板材质&位置:",null,null,"无"]
["残障主操纵盘",null,"ME010",null,null,"面板材质&位置:",null,null,"标准"]
["残障副操纵盘",null,"无",null,null,"面板材质&位置:",null,null,"无"]
[]
["人机界面 (層门側)"]
["外呼:",null,"MF007",null,null,"按钮&显示:",null,null,"标准"]
[{"$nulls":5},"面板材质:",null,null,"标准"]
[{"$nulls":5},"基准阶楼层:",null,null,"1",null,"FL"," P.S：基准阶标配外呼锁"]
["PS:外呼/操纵盘等,於残障时需附盲文点字板,盲文点字板由台北自理,上海需注意按钮之间的间隙；"]
[]
["到站灯",null,"无",null,null,"面板材质:",null,null,"无"]
[{"$nulls":5},"安装楼层:"]
["橫向顯示器",null,"无",null,null,"面板材质:",null,null,"无"]
[{"$nulls":5},"安装楼层:"]
[]
["層门系统"]
["前门楼层:",null,"B4-B1,1~13,RF",null,"＋","后门楼层:",null,"无",null,null,{"$f":"IF(C17=\"是\",\" P.S:后门仅当千鸟或贯穿时需填写\",\" \")","v":" "}]
["耐火:",null,"否",null,null,"耐火停数:",null,"无",null,null,"耐火楼层:",null,"无"]
["门保护:",null,"二合一"]
[]
["部品",null,null,null,"材质",null,null,"材质厚度",null,"色号(依様本)",null,"备注"]
["层门:",null,"首层:",null,"钢板烤漆",null,null,"依标准",null,"/",null,"1F"]
[null,null,"其余层:",null,"钢板烤漆",null,null,"依标准",null,"/",null,"B1-B1,2~14,RF"]
["小门框:",null,"首层:",null,"发纹不锈钢",null,null,"无",null,"/"]
[null,null,"其余层:",null,"发纹不锈钢",null,null,"无",null,"/"]
["大门框:",null,"首层:",null,"无",null,null,"无",null,"/"]
[null,null,"其余层:",null,"无",null,null,"无",null,"/"]
["PS:如其余层有大、小门框区別，请于备注栏填写。"]
["轿厢象限示意圖"]
[]
[]
[]
[]
[{"$nulls":10}," P.S:主操纵盘标准位置为左前側板"]
[{"$nulls":10}," P.S:残障主操纵盘标准位置为右側中央"]
[]
[]
["标配功能"]
[null,"井道照明",null,null,"标配",null,null,null,"物联网",null,null,"标配"]
[null,"出货方式",null,null,"依公司标准",null,null,null,"自动返回基站",null,null,"标配"]
[null,"无机房主机侧是否为卧室",null,null,"否，不允许",null,null,null,"次楼层停靠",null,null,"标配"]
[null,"误登录取消",null,null,"标配",null,null,null,"出口木箱",null,null,"标配"]
[null,"再平层功能",null,null,"标配",null,null,null,"保固保養年限",null,null,"2年"]
[null,"开延长",null,null,"标配",null,null,null,"PS:标配功能，不限于下表所列选项，以Masada样本上所列为准；"]
[]
["选配功能"]
[null,"三大件进口",null,null,null,{"$f":"判断!B83*1","v":0},null,null,"临时层门(IB)",null,null,null,{"$f":"判断!C83*1","v":1}]
[null,"出入口牛腿",null,null,null,{"$f":"判断!B84*1","v":0},{"$nulls":5},"停数:",0]
[null,"对重附安全钳",null,null,null,{"$f":"判断!B85*1","v":0},{"$nulls":5},"楼层:",0]
[null,"冷气(歌林)",null,null,null,{"$f":"判断!B86*1","v":0},null,null,"临时轿门(IB)",null,null,null,{"$f":"判断!C86*1","v":0}]
[null,"夏普空气清净机",null,null,null,{"$f":"判断!B87*1","v":0},null,null,"火灾",null,null,null,{"$f":"判断!C87*1","v":0}]
[null,"对讲机集中管理",null,null,null,{"$f":"判断!B88*1","v":1},null,null,"轎廂側電子佈告欄",null,null,null,{"$f":"判断!C88*1","v":0}]
[{"$nulls":4},"台数:",6,{"$nulls":5},"位置:","无"]
[null,"中央监控系统(CRT)",null,null,null,{"$f":"判断!B90*1","v":0},null,null,"紫外灯杀菌系统",null,null,null,{"$f":"判断!C90*1","v":0}]
[null,"人脸识别",null,null,null,{"$f":"判断!B91*1","v":0},null,null,"语音呼梯",null,null,null,{"$f":"判断!C91*1","v":0}]
[{"$nulls":4},"形式:","无",null,null,"乘场智能呼梯",null,null,null,{"$f":"判断!C96*1","v":0}]
[null,"轿厢附到站钟GONG",null,null,null,{"$f":"判断!B93*1","v":0},{"$nulls":5},"形式:","无"]
[null,"地震管制",null,null,null,{"$f":"判断!B94*1","v":0},null,null,"刷卡机管制\n(轿厢侧)",null,null,null,{"$f":"判断!C98*1","v":1}]
[null,"语音合成",null,null,null,{"$f":"判断!B95*1","v":0},{"$nulls":5},"形式:","标准-业主自理(隐藏式)"]
[null,"ARD",null,null,null,{"$f":"判断!B96*1","v":0},null,null,"刷卡机管制\n(乘场侧)",null,null,null,{"$f":"判断!C100*1","v":0}]
[null,"能量回馈器",null,null,null,{"$f":"判断!B97*1","v":0},{"$nulls":5},"形式:","无"]
[null,"RS485接口",null,null,null,{"$f":"判断!B98*1","v":0},null,null,"特殊操作","专用运转",null,null,{"$f":"判断!C102*1","v":0}]
[null,"轿厢摄像头\n(CCTV)",null,null,null,{"$f":"判断!B99*1","v":1},null,null,null,"司机操作",null,null,{"$f":"判断!C103*1","v":0}]
[{"$nulls":4},"形式:","标准-仅留配线(網線)",null,null,"满载直驶",null,null,null,{"$f":"判断!B104*1","v":0}]
[null,"观光梯外妆板",null,null,null,{"$f":"判断!B101*1","v":0},null,null,"PS:選擇刷卡机时，須配PASS開關；刷卡機面板尺寸 : 90x125mm"]
[{"$nulls":4},"材质:","无"]
[]
["特记事项：",{"$nulls":7},"改訂履歷："]
["2022/12//02",{"$nulls":7},"例 : [A] 外呼選型變更  2022.11.22 郭承瑋"]
["1.三側轎廂壁附壁鉤"]
["2.1F>6米"]

{"sheet":"No.1,No.3(殘障用) ","index":3,"n_rows":117,"n_cols":14,"rows_kept":117,"cut":false,"hidden":false,"merged":[[119,0,119,7],[119,8,119,13],[120,0,120,7],[120,8,120,13],[121,0,121,7],[121,8,121,13],[116,0,116,7],[116,8,116,13],[117,0,117,7],[117,8,117,13],[118,0,118,7],[118,8,118,13],[113,0,113,7],[113,8,113,13],[114,0,114,7],[114,8,114,13],[115,0,115,7],[115,8,115,13],[108,8,108,10],[108,12,108,13],[109,1,110,3],[109,5,109,6],[110,5,110,6],[112,0,112,1],[112,8,112,9],[106,1,106,3],[106,5,106,6],[106,8,107,8],[106,9,106,10],[106,12,106,13],[107,1,108,3],[107,5,107,6],[107,9,107,10],[107,12,107,13],[108,5,108,6],[103,12,103,13],[104,1,104,3],[104,5,104,6],[104,8,105,10],[104,12,104,13],[105,1,105,3],[105,5,105,6],[105,12,105,13],[100,12,100,13],[101,1,101,3],[101,5,101,6],[101,12,101,13],[102,1,102,3],[102,5,102,6],[102,8,103,10],[102,12,102,13],[103,1,103,3],[103,5,103,6],[98,1,98,3],[98,5,98,6],[98,8,98,10],[98,12,98,13],[99,1,100,3],[99,5,99,6],[99,8,99,10],[99,12,99,13],[100,5,100,6],[100,8,101,10],[96,1,97,3],[96,5,96,6],[96,8,97,10],[96,12,96,13],[97,5,97,6],[97,12,97,13],[94,1,94,3],[94,5,94,6],[94,8,94,10],[94,12,94,13],[95,1,95,3],[95,5,95,6],[95,8,95,10],[95,12,95,13],[91,12,91,13],[92,1,92,3],[92,5,92,6],[92,12,92,13],[93,1,93,3],[93,5,93,6],[93,12,93,13],[88,1,88,3],[88,4,88,6],[90,0,90,3],[91,1,91,3],[91,5,91,6],[91,8,93,10],[86,1,86,3],[86,4,86,6],[86,8,86,10],[86,11,86,13],[87,1,87,3],[87,4,87,6],[87,8,87,10],[87,11,87,13],[84,1,84,3],[84,4,84,6],[84,8,84,10],[84,11,84,13],[85,1,85,3],[85,4,85,6],[85,8,85,10],[85,11,85,13],[70,0,71,1],[70,2,70,3],[70,4,70,6],[70,7,70,8],[70,9,70,10],[70,11,70,13],[81,8,81,11],[82,0,82,3],[83,1,83,3],[83,4,83,6],[83,8,83,10],[83,11,83,13],[71,2,71,3],[71,4,71,6],[71,7,71,8],[71,9,71,10],[71,11,71,13],[73,0,73,3],[68,0,69,1],[68,2,68,3],[68,4,68,6],[68,7,68,8],[68,9,68,10],[68,11,68,13],[69,2,69,3],[69,4,69,6],[69,7,69,8],[69,9,69,10],[69,11,69,13],[65,9,65,10],[65,11,65,13],[66,0,67,1],[66,2,66,3],[66,4,66,6],[66,7,66,8],[66,9,66,10],[66,11,66,13],[67,2,67,3],[67,4,67,6],[67,7,67,8],[67,9,67,10],[67,11,67,13],[63,0,63,1],[63,2,63,3],[64,0,64,1],[65,0,65,3],[65,4,65,6],[65,7,65,8],[62,0,62,1],[62,2,62,3],[62,5,62,6],[62,7,62,8],[62,10,62,11],[62,12,62,13],[60,0,60,3],[61,0,61,1],[61,2,61,3],[61,5,61,6],[61,7,61,8],[61,10,61,13],[57,0,58,1],[57,2,58,4],[57,5,57,7],[57,8,57,13],[58,5,58,7],[58,8,58,13],[53,0,53,13],[55,0,56,1],[55,2,56,4],[55,5,55,7],[55,8,55,13],[56,5,56,7],[56,8,56,13],[49,0,49,3],[50,0,52,1],[50,2,52,4],[50,5,50,7],[50,8,50,13],[51,5,51,7],[51,8,51,13],[52,5,52,7],[52,8,52,9],[46,0,46,1],[46,2,46,4],[46,5,46,7],[46,8,46,13],[47,0,47,1],[47,2,47,4],[47,5,47,7],[47,8,47,13],[44,0,45,1],[44,2,45,4],[44,5,44,7],[44,8,44,13],[45,5,45,7],[45,8,45,13],[40,0,40,1],[40,2,40,8],[41,0,41,3],[42,0,43,1],[42,2,43,4],[42,5,42,7],[42,8,42,13],[43,5,43,7],[43,8,43,13],[37,0,37,13],[38,0,38,1],[38,2,38,3],[38,5,38,6],[38,7,38,8],[39,0,39,1],[39,2,39,3],[39,5,39,6],[39,7,39,8],[35,0,35,1],[35,2,35,4],[35,5,35,6],[35,7,35,9],[35,10,35,13],[36,0,36,1],[36,2,36,4],[36,5,36,6],[36,7,36,9],[36,10,36,13],[33,0,33,1],[33,2,33,4],[33,5,33,6],[33,7,33,9],[33,10,33,13],[34,0,34,1],[34,2,34,4],[34,5,34,6],[34,7,34,9],[34,10,34,13],[31,0,31,1],[31,2,31,4],[31,5,31,6],[31,7,31,9],[31,10,31,13],[32,0,32,1],[32,2,32,4],[32,5,32,6],[32,7,32,9],[32,10,32,13],[29,0,29,1],[29,2,29,4],[29,5,29,6],[29,7,29,9],[29,10,29,11],[30,0,30,1],[30,2,30,4],[30,5,30,6],[30,7,30,9],[30,10,30,13],[26,0,26,3],[27,0,27,1],[27,2,27,4],[27,5,27,6],[27,7,27,9],[28,0,28,1],[28,2,28,4],[28,5,28,6],[28,7,28,9],[21,0,21,1],[21,2,21,3],[23,0,23,3],[24,0,24,1],[24,2,24,4],[24,6,24,8],[18,0,18,3],[19,0,19,1],[19,2,19,3],[19,5,19,6],[20,0,20,1],[20,2,20,3],[20,5,20,6],[15,0,15,1],[15,2,15,3],[15,6,15,7],[15,10,15,11],[16,0,16,1],[16,2,16,3],[16,5,16,6],[16,7,16,12],[13,0,13,1],[13,2,13,3],[13,5,13,6],[13,7,13,8],[13,10,13,11],[13,12,13,13],[10,0,10,1],[10,2,10,3],[10,5,10,6],[10,7,10,13],[12,0,12,1],[12,2,12,3],[12,5,12,6],[12,7,12,8],[12,10,12,11],[12,12,12,13],[4,10,4,11],[8,12,8,13],[9,0,9,1],[9,2,9,3],[9,5,9,6],[9,7,9,9],[9,10,9,11],[9,12,9,13],[7,0,7,3],[8,0,8,1],[8,2,8,3],[8,5,8,6],[8,7,8,8],[8,10,8,11],[0,0,0,1],[0,2,0,4],[0,5,1,13],[1,0,1,1],[1,2,1,4],[2,0,2,1],[2,2,2,4],[4,12,4,13],[5,0,5,1],[5,2,5,3],[5,4,5,5],[5,6,5,7],[5,8,5,9],[5,10,5,11],[5,12,5,13],[3,0,3,1],[3,2,3,4],[3,6,3,7],[3,8,3,13],[4,0,4,1],[4,2,4,3],[4,4,4,5],[4,6,4,7],[4,8,4,9]]}
["填写日期:",null,{"$f":"TODAY()","v":"2023-10-02"},null,null," PS：1.请營業单位依客户要求，逐条填写；\n         2.没有选项或者说明不清楚的,请特记事项中注明；\n         3.空白处或者没有底色的部分，需和工厂讨论后再修改，不可以自行修改；"]
["客户名称:",null,"和境建設-善捷段"]
["预定交期:",null,"2023/09"]
["安装地区:",null,"台湾",null,null,null,"安装地址:",null,"桃園市龜山區文桃路及南林路交叉口"]
["号机:",null,"NO.1",null,"NO.3"]
["制造编号:"]
[" PS：正式订单台北都必须填写(仅询价时无需填写)，编号由台湾业务编制；"]
["基本规格",{"$nulls":4},"PS:非标轿厢內法，請依实際尺寸填写；"]
["机种:",null,"MAE100有机房",null,null,"载重:",null,"700kg",null,"标准","速度:",null,"90m/min"]
["用途:",null,"残障",null,null,"类型:",null,"新梯",null,null,"场合:",null,"一般"]
["运转方式:",null,"联动",null,null,"联/群控号机:",null,"NO.1-NO.2,NO.3-NO.4"]
[]
["轿厢內法寬:",null,{"$f":"IF(J9=\"标准\",\"依标准\",\"\")","v":"依标准"},null,null,"內法深:",null,{"$f":"IF(J9=\"标准\",\"依标准\",\"\")","v":"依标准"},null,null,"內法高:",null,2500]
["开门形式:",null,"2P-CO",null,null,"开门宽:",null,{"$f":"IF(J9=\"标准\",\"依标准\",\"\")","v":"依标准"},null,null,"开门高:",null,{"$f":"IF(J9=\"标准\",\"依标准\",\"\")","v":"依标准"}]
[]
["层站门：",null,"18",null,"層","×","18",null,"站","×","18",null,"門"]
["千鸟&贯通:",null,"否",null,null,"层楼名：",null,"B4-B1,1-13,RF"]
[]
["井道尺寸",{"$nulls":4},"PS:井道最终依土建图为准；"]
["顶层:",null,5850,null,"mm","底坑:",null,1850,"mm",null,"行程:",57150,"mm"]
["井道内法宽:",null,1900,null,"mm","井道內法深:",null,1950,"mm",null,"全高:",64800,"mm"]
["井道结构:",null,"全混泥土"]
[]
["电源叁数"]
["主电源:",null,"3相4线制380V/60HZ",null,null,"照明:",{"$f":"IF(C9=\"MAQ100強驅梯\",\"单相220V/60HZ\",\"单相110V/60HZ\")","v":"单相110V/60HZ"},null,null,null,{"$f":"IF(C9=\"MAQ100強驅梯\",\"P.S.強驅梯照明電源为单相220V/60HZ\",\" \")","v":" "}]
[]
["轿厢"]
["轎廂:",null,"MA001",null,null,"標準選型:",null,"否",null,null,{"$f":"IF(H28=\"否\",\"  P.S.請確實填寫下方選型資料\",\"\")","v":"  P.S.請確實填寫下方選型資料"}]
["天井:",null,"MB003",null,null,"材质:",null,"依标准",null,null,"  P.S.法規規定逃生窗400*500"]
["地板:",null,"业主自理",null,null,"型号:",null,"其他",null,null,"预留厚度:",null,25,"mm"]
["轎壁侧板位置",null,"材质",null,null,"材质厚度",null,"色号(依様本填写)",null,null,"备注"]
["前侧:",null,"发纹不锈钢",null,null,"依标准"]
["两侧两端:",null,"钢板烤漆",null,null,"依标准",null,"RAL-9003"]
["两侧中间:",null,"钢板烤漆",null,null,"依标准",null,"RAL-9003"]
["后侧两端:",null,"钢板烤漆",null,null,"依标准",null,"RAL-9003"]
["后侧中间:",null,"钢板烤漆",null,null,"依标准",null,"RAL-9003"]
["轎門:",null,"钢板烤漆",null,null,"依标准",null,"RAL-9003"]
["PS:除发纹不锈钢、镜面外，其余材质需按照公司样本填写色号；"]
["预留装潢重:",null,0,null,"kg","预留装潢厚度",null,"无",null,"mm"]
["扶手:",null,"MC003",null,null,"位置",null,{"$f":"IF($C$10=\"紧急兼残障\",\"两侧\",IF($C$10=\"残障\",\"两侧\",\"无\"))","v":"两侧"},null,null,{"$f":"IF(C10=\"紧急兼残障\",\"  P.S.不可使用MC001,標準為两侧\",IF(C10=\"残障\",\"  P.S.不可使用MC001,標準為两侧\",\" \"))","v":"  P.S.不可使用MC001,標準為两侧"}]
["明镜:",null,"后侧(半身明鏡)有,由台北自理",{"$nulls":7},{"$f":"IF(C41=\"后侧(半身明鏡)有,由台北自理\",\"  P.S:选配明镜时，由台北自理；\",\"\")","v":"  P.S:选配明镜时，由台北自理；"}]
["人机界面 (轎廂側)"]
["主操纵盘型号",null,"ME001",null,null,"按钮&显示:",null,null,"标准"]
[{"$nulls":5},"面板材质&位置:",null,null,"标准"]
["副操纵盘型号",null,"无",null,null,"按钮&显示:",null,null,"无"]
[{"$nulls":5},"面板材质&位置:",null,null,"无"]
["残障主操纵盘",null,"ME013",null,null,"面板材质&位置:",null,null,"标准"]
["残障副操纵盘",null,"无",null,null,"面板材质&位置:",null,null,"无"]
[]
["人机界面 (層门側)"]
["外呼:",null,"MF007",null,null,"按钮&显示:",null,null,"标准"]
[{"$nulls":5},"面板材质:",null,null,"标准"]
[{"$nulls":5},"基准阶楼层:",null,null,"1",null,"FL"," P.S：基准阶标配外呼锁"]
["PS:外呼/操纵盘等,於残障时需附盲文点字板,盲文点字板由台北自理,上海需注意按钮之间的间隙；"]
[]
["到站灯",null,"无",null,null,"面板材质:",null,null,"无"]
[{"$nulls":5},"安装楼层:"]
["橫向顯示器",null,"无",null,null,"面板材质:",null,null,"无"]
[{"$nulls":5},"安装楼层:"]
[]
["層门系统"]
["前门楼层:",null,"B4-B1,1~13,RF",null,"＋","后门楼层:",null,"无",null,null,{"$f":"IF(C17=\"是\",\" P.S:后门仅当千鸟或贯穿时需填写\",\" \")","v":" "}]
["耐火:",null,"否",null,null,"耐火停数:",null,"无",null,null,"耐火楼层:",null,"无"]
["门保护:",null,"二合一"]
[]
["部品",null,null,null,"材质",null,null,"材质厚度",null,"色号(依様本)",null,"备注"]
["层门:",null,"首层:",null,"发纹不锈钢",null,null,"依标准",null,"/",null,"1F"]
[null,null,"其余层:",null,"钢板烤漆",null,null,"依标准",null,"RAL-7036",null,"B1-B1,2~13,RF"]
["小门框:",null,"首层:",null,"发纹不锈钢",null,null,"无",null,"/",null,"1F"]
[null,null,"其余层:",null,"发纹不锈钢",null,null,"无",null,"/",null,"B1-B1,2~13,RF"]
["大门框:",null,"首层:",null,"无",null,null,"无",null,"/"]
[null,null,"其余层:",null,"无",null,null,"无",null,"/"]
["PS:如其余层有大、小门框区別，请于备注栏填写。"]
["轿厢象限示意圖"]
[]
[]
[]
[]
[{"$nulls":10}," P.S:主操纵盘标准位置为左前側板"]
[{"$nulls":10}," P.S:残障主操纵盘标准位置为右側中央"]
[]
[]
["标配功能"]
[null,"井道照明",null,null,"标配",null,null,null,"物联网",null,null,"标配"]
[null,"出货方式",null,null,"依公司标准",null,null,null,"自动返回基站",null,null,"标配"]
[null,"无机房主机侧是否为卧室",null,null,"否，不允许",null,null,null,"次楼层停靠",null,null,"标配"]
[null,"误登录取消",null,null,"标配",null,null,null,"出口木箱",null,null,"标配"]
[null,"再平层功能",null,null,"标配",null,null,null,"保固保養年限",null,null,"2年"]
[null,"开延长",null,null,"标配",null,null,null,"PS:标配功能，不限于下表所列选项，以Masada样本上所列为准；"]
[]
["选配功能"]
[null,"三大件进口",null,null,null,{"$f":"判断!B83*1","v":0},null,null,"临时层门(IB)",null,null,null,{"$f":"判断!C83*1","v":1}]
[null,"出入口牛腿",null,null,null,{"$f":"判断!B84*1","v":0},{"$nulls":5},"停数:",1]
[null,"对重附安全钳",null,null,null,{"$f":"判断!B85*1","v":0},{"$nulls":5},"楼层:",1]
[null,"冷气(歌林)",null,null,null,{"$f":"判断!B86*1","v":0},null,null,"临时轿门(IB)",null,null,null,{"$f":"判断!C86*1","v":0}]
[null,"夏普空气清净机",null,null,null,{"$f":"判断!B87*1","v":0},null,null,"火灾",null,null,null,{"$f":"判断!C87*1","v":0}]
[null,"对讲机集中管理",null,null,null,{"$f":"判断!B88*1","v":1},null,null,"轎廂側電子佈告欄",null,null,null,{"$f":"判断!C88*1","v":0}]
[{"$nulls":4},"台数:",6,{"$nulls":5},"位置:","无"]
[null,"中央监控系统(CRT)",null,null,null,{"$f":"判断!B90*1","v":0},null,null,"紫外灯杀菌系统",null,null,null,{"$f":"判断!C90*1","v":0}]
[null,"人脸识别",null,null,null,{"$f":"判断!B91*1","v":0},null,null,"语音呼梯",null,null,null,{"$f":"判断!C91*1","v":0}]
[{"$nulls":4},"形式:","无",null,null,"乘场智能呼梯",null,null,null,{"$f":"判断!C96*1","v":0}]
[null,"轿厢附到站钟GONG",null,null,null,{"$f":"判断!B93*1","v":0},{"$nulls":5},"形式:","无"]
[null,"地震管制",null,null,null,{"$f":"判断!B94*1","v":0},null,null,"刷卡机管制\n(轿厢侧)",null,null,null,{"$f":"判断!C98*1","v":1}]
[null,"语音合成",null,null,null,{"$f":"判断!B95*1","v":0},{"$nulls":5},"形式:","标准-业主自理(隐藏式)"]
[null,"ARD",null,null,null,{"$f":"判断!B96*1","v":0},null,null,"刷卡机管制\n(乘场侧)",null,null,null,{"$f":"判断!C100*1","v":0}]
[null,"能量回馈器",null,null,null,{"$f":"判断!B97*1","v":0},{"$nulls":5},"形式:","无"]
[null,"RS485接口",null,null,null,{"$f":"判断!B98*1","v":0},null,null,"特殊操作","专用运转",null,null,{"$f":"判断!C102*1","v":0}]
[null,"轿厢摄像头\n(CCTV)",null,null,null,{"$f":"判断!B99*1","v":1},null,null,null,"司机操作",null,null,{"$f":"判断!C103*1","v":0}]
[{"$nulls":4},"形式:","标准-仅留配线(網線)",null,null,"满载直驶",null,null,null,{"$f":"判断!B104*1","v":0}]
[null,"观光梯外妆板",null,null,null,{"$f":"判断!B101*1","v":0},null,null,"PS:選擇刷卡机时，須配PASS開關；刷卡機面板尺寸 : 90x125mm"]
[{"$nulls":4},"材质:","无"]
[]
["特记事项：",{"$nulls":7},"改訂履歷："]
["2022/12//02",{"$nulls":7},"例 : [A] 外呼選型變更  2022.11.22 郭承瑋"]
["1.三側轎廂壁附壁鉤"]
["2.1F>6米"]
["3.刷卡機全階管制"]

{"sheet":"版次订正记录","index":4,"n_rows":8,"n_cols":4,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
["版次","内容","作成/审核","时间"]
["1.0","初版作成","祝晓祥/李普祥","2022.06.10"]
["1.1","依照和巨龙检讨：不锈钢标配由长丝改为短丝","祝晓祥/李普祥","2022.06.10"]
["1.2","依实际使用状况，重新排版；","祝","2022.11.09"]
["1.3","依營業使用状况，重新修正；","郭","2022.11.22"]
["1.4","H10 追加全机旧改","郭","2022.11.28"]
["↑","F26 強驅照明電源追加程式","↑","↑"]
["↑","M32 追加(修改)程式","↑","↑"]

{"sheet":"判断","index":5,"n_rows":106,"n_cols":3,"rows_kept":106,"cut":false,"hidden":true,"merged":[]}
{"$rows_empty":80}
[null,false,false]
[null,false]
[null,false,true]
[null,false,false]
[null,false,false]
[null,false,false]
[null,false,false]
[null,true,false]
[null,false,false]
[null,false,false]
[null,false,false]
[null,false,false]
[null,false,false]
[null,false,false]
[null,false,false]
[null,false,false]
[null,false,false]
[null,false,true]
[null,true,true]
[null,false,false]
[null,false,false]
[null,false,false]
[null,true,false]
[null,false,false]
[null,false]
[null,3]

{"sheet":"下拉菜单","index":6,"n_rows":62,"n_cols":41,"rows_kept":62,"cut":false,"hidden":false,"merged":[]}
[]
[{"$nulls":14},"天井","地板",{"$nulls":6},"无"]
["机种",{"$nulls":13},"依标准","依标准","外呼","明镜",null,"操纵盘型号","无",null,"依标准","无","无",{"$nulls":11},"到站灯"]
["MAE100有机房","人乘","台湾","新梯","公共","450kg","30m/min",{"$nulls":5},"1","2","MB001","PVC","无","无","普通,直角配","无","标准","无","彩妆钢板","Q235A","依标准","无","2P-CO","光幕","无","2:1","Φ8mm×5沟",null,"220V/50HZ",800,"2000mm",null,"无","海德汉1357","sin/cos","Φ320","TK5A-1"]
["MAM200無機房","货梯","大陆","全机旧改","一般","550kg","45m/min","否","3相4线制380V/60HZ","单相110V/60HZ","全混泥土","单台","2","3","MB002","大理石","MF001","后侧(半身明鏡)有,由台北自理","一体式,直角配","ME001","非标,见特记事项","MC001","钢板烤漆","304短丝","见特记事项","两侧","2S-L","二合一","标准大门框","1:1","Φ8mm×6沟",null,null,900,"2100mm",null,"MG001",null,null,"Φ400","T75/B"]
["MAH100小電梯","观光",null,"旧改M1",null,"600kg","60m/min","是,千鸟","3相5线制380V/60HZ",null,"圈梁","联动","3","4","MB003","花纹钢板","MF002","见特记事项",null,"ME002",null,"MC002","发纹不锈钢",304,null,"特记","2S-R",null,"大门框附幕板",null,"Φ8mm×7沟",null,null,1000,"2200mm",null,"MG002",null,null,"Φ420","T89/B"]
["MAQ100強驅梯","客货",null,"旧改M2",null,"700kg","90m/min","是,贯通","3相4线制220V/60HZ",null,"钢结构","群控","4","5","MB004","业主自理","MF003",null,null,"ME003",null,"MC003","镜面不锈钢","依标准",null,null,"4P-CO",null,null,null,"Φ10mm×5沟",null,null,1100,"2300mm",null,"MG003",null,null,"Φ450","T114/B"]
["MAF100貨梯","病床",null,"旧改M3",null,"750kg","105m/min",null,"单相 220V/60HZ",null,null,null,"5","6","MB005",null,"MF004",null,null,"ME004",null,"MC004","镀钛不锈钢(抗指紋)","其他",null,null,"2U",null,null,null,"Φ10mm×6沟",null,null,1200,"2400mm",null,"MG004",null,null,"Φ550","T127/B"]
["MAZ100雜物梯","紧急",null,"旧改M4",null,"800kg","120m/min",{"$nulls":5},"6","7","MB006","依标准","MF005",null,null,"ME005","无","见特记事项","发纹不锈钢(蚀刻)",null,null,null,"特记事项",null,null,null,"Φ10mm×7沟",null,null,1400,"特记事项",null,"MG005"]
[null,"残障",null,"旧改M1+M4",null,"900kg","150m/min",{"$nulls":5},"7","8","MB007","MD001","MF006",null,null,"ME006","标准",null,"镜面不锈钢(蚀刻)",{"$nulls":10},1700,null,null,"MG006"]
[null,"紧急兼残障",null,null,null,"1000kg",{"$nulls":6},"8","9","MB008","MD002","MF007",null,null,"ME007","见特记事项(需先和上海确认OK)",null,"镀钛不锈钢(蚀刻+抗指紋)",{"$nulls":10},2300,null,"否","特记事项"]
[null,"特殊环境",null,null,null,"1050kg",{"$nulls":6},"9","10","MB009","MD003","MF008",null,null,"ME008",null,null,"见特记事项",{"$nulls":10},"特记事项",null,"千鸟"]
[{"$nulls":5},"1150kg",{"$nulls":6},"10","11","MB010","MD004","MF009",null,null,"ME009",null,null,null,"ML001",{"$nulls":7},"是",null,null,null,"贯通"]
[{"$nulls":5},"1350kg",{"$nulls":6},"11","12","MB011","MD005","MF010",null,null,"ME014",null,null,null,"ML002",null,null,"是",null,null,null,"无","否"]
["號机",{"$nulls":4},"1600kg",{"$nulls":6},"12","13","MB012","MD006","MF011",null,null,"ME015",null,null,null,"ML003",null,null,"否",null,null,null,"依标准"]
["NO.1",{"$nulls":11},"13","14","见特记事项","MD007","MF012",null,null,"ME016",null,null,"烤漆(色号7036)","ML004",null,"无",null,null,"无",null,"见特记事项",null,null,"刷卡机"]
["NO.2",{"$nulls":11},"14","15",null,"MD008","MF013",null,null,"ME017",null,null,"烤漆(色号7042)","ML005",null,"依标准",null,null,"标准-仅留配线(網線)",{"$nulls":4},"无"]
["NO.3",{"$nulls":11},"15","16",null,"MD009","MF014",null,null,"ME018",null,null,"纯发纹不锈钢","ML006",null,"特记事项",null,null,"我司负责",null,"无","是",null,"业主自理(外挂式)"]
["NO.4",{"$nulls":11},"16","17",null,"MD010","MF015",{"$nulls":5},"镜面不锈钢","ML007",{"$nulls":6},"轿厢侧","否",null,"标准-业主自理(隐藏式)"]
["NO.5",{"$nulls":11},"17","18","轎廂","MD011","MF016",null,null,"残障操纵盘",null,null,"镀钛不锈钢","ML008",{"$nulls":6},"乘场侧",null,null,"我司负责(隐藏式)"]
["NO.6",{"$nulls":11},"18","19","MA001","MD012","MF017",null,null,"无",null,null,null,"ML009",{"$nulls":4},"无",null,"轿厢+乘场"]
["NO.7",{"$nulls":11},"19","20","MA002","MD013","MF018",null,null,"ME010",null,null,null,"ML010",null,"标准",null,null,"业主自理"]
["NO.8",{"$nulls":11},"20","21","MA003","其他","MF019",null,null,"ME011",{"$nulls":5},"非标准",null,null,"我司负责"]
["NO.9",{"$nulls":11},"21","22","MA004",null,"MF020",null,null,"ME012",null,null,null,7036]
["NO.10",{"$nulls":11},"22","23","MA005",null,"MF021",null,null,"ME013",null,null,null,7042,{"$nulls":4},"无",null,"到站灯","橫顯"]
["NO.11",{"$nulls":11},"23","24","MA006",2,"MF022",{"$nulls":6},"/",{"$nulls":4},"手势",null,"无","无"]
["NO.12",{"$nulls":11},"24","25","MA007",4,"见特记事项",{"$nulls":11},"APP",null,"MG001","MH001"]
["NO.13",{"$nulls":11},"25","26","MA008",6,{"$nulls":14},"MG002","MH002"]
["NO.14",{"$nulls":11},"26","27","其他",20,{"$nulls":14},"MG003","见特记事项"]
["NO.15",{"$nulls":11},"27","28",null,"特记",{"$nulls":14},"MG004"]
["NO.16",{"$nulls":11},"28","29",{"$nulls":16},"MG005"]
["NO.17",{"$nulls":11},"29","30",{"$nulls":16},"MG006"]
["NO.18",{"$nulls":11},"30","31",{"$nulls":16},"见特记事项"]
["NO.19",{"$nulls":11},"31","32"]
["NO.20",{"$nulls":11},"32","33"]
["NO.21",{"$nulls":11},"33","34"]
["NO.22",{"$nulls":11},"34","35"]
["NO.23",{"$nulls":11},"35","36"]
["NO.24",{"$nulls":11},"36","37"]
["NO.25",{"$nulls":11},"37","38"]
["NO.26",{"$nulls":11},"38","39"]
["NO.27",{"$nulls":11},"39","40"]
["NO.28",{"$nulls":11},"40","41"]
["NO.29",{"$nulls":11},"41","42"]
["NO.30",{"$nulls":11},"42","43"]
["NO.31",{"$nulls":11},"43","44"]
["NO.32",{"$nulls":11},"44","45"]
["NO.33",{"$nulls":11},"45","46"]
["NO.34",{"$nulls":11},"46","47"]
["NO.35",{"$nulls":11},"47","48"]
[{"$nulls":12},"48","49"]
[{"$nulls":12},"49","50"]
[{"$nulls":12},"50","51"]
[{"$nulls":12},"其他","52"]
[{"$nulls":13},"53"]
[{"$nulls":13},"54"]
[{"$nulls":13},"55"]
[{"$nulls":13},"56"]
[{"$nulls":13},"57"]
[{"$nulls":13},"58"]
[{"$nulls":13},"59"]
[{"$nulls":13},"60"]

{"sheet":"土建示意图","index":7,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":true,"merged":[]}