{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["平台梯 - 電梯規格調查表","Sheet2"],"not_rendered":{"charts":0,"images":1,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"平台梯 - 電梯規格調查表","index":0,"n_rows":37,"n_cols":18,"rows_kept":37,"cut":false,"hidden":false,"merged":[[2,1,2,3],[2,4,2,6],[33,1,33,18],[34,1,34,18],[39,1,39,18],[18,1,18,3],[18,4,18,6],[18,7,18,9],[18,10,18,12],[18,13,18,15],[18,16,18,18],[30,1,30,3],[30,4,30,6],[30,7,30,9],[30,10,30,12],[30,13,30,15],[30,16,30,18],[16,1,16,3],[16,4,16,6],[16,7,16,9],[17,1,17,3],[17,4,17,6],[17,7,17,9],[17,10,17,12],[17,13,17,15],[17,16,17,18],[16,10,16,18],[26,1,26,2],[26,3,26,4],[26,5,26,6],[26,7,26,8],[26,9,26,10],[26,11,26,12],[26,13,26,14],[26,15,26,16],[26,17,26,18],[25,1,25,2],[25,3,25,4],[25,5,25,6],[25,7,25,8],[25,9,25,10],[25,11,25,12],[25,13,25,14],[25,15,25,16],[25,17,25,18],[24,1,24,2],[24,3,24,4],[24,5,24,6],[24,7,24,8],[24,9,24,10],[24,11,24,12],[24,13,24,14],[24,15,24,16],[24,17,24,18],[23,1,23,2],[23,3,23,4],[23,5,23,6],[23,7,23,8],[23,9,23,10],[23,11,23,12],[23,13,23,14],[23,15,23,16],[23,17,23,18],[22,1,22,2],[22,3,22,4],[22,5,22,6],[22,7,22,8],[22,9,22,10],[22,11,22,12],[22,13,22,14],[22,15,22,16],[22,17,22,18],[21,1,21,2],[21,3,21,4],[21,5,21,6],[21,7,21,8],[21,9,21,10],[21,11,21,12],[21,13,21,14],[21,15,21,16],[21,17,21,18],[12,1,12,3],[12,4,12,6],[12,7,12,9],[12,10,12,12],[12,13,12,15],[12,16,12,18],[13,1,13,3],[13,4,13,6],[13,7,13,9],[13,10,13,12],[13,13,13,15],[13,16,13,18],[8,1,8,3],[8,4,8,6],[8,7,8,9],[8,10,8,12],[8,13,8,15],[8,16,8,18],[11,1,11,3],[11,4,11,6],[11,7,11,9],[11,10,11,12],[11,13,11,15],[11,16,11,18],[9,1,9,18],[1,1,1,6],[27,1,27,18],[37,1,37,18],[38,1,38,18],[19,1,19,18],[1,10,3,18],[0,1,0,18],[4,1,4,3],[4,4,4,6],[4,7,4,9],[4,10,4,12],[4,13,4,15],[4,16,4,18],[5,1,5,3],[5,4,5,6],[5,7,5,9],[5,10,5,18],[6,1,6,3],[6,4,6,18],[7,1,7,3],[7,4,7,6],[7,7,7,9],[7,13,7,15],[7,16,7,18]]}
[null,"平台式別墅梯（HOME ELEVATOR）规格表"]
[null,"變更版次時，請確實於此欄明確標示。",{"$nulls":8},"【使用說明】\n(1) 以下規格調查資料，請營業依客乎需求，確實逐條填寫\n(2) 沒有選項或特殊事項時，於特記欄位說明。\n(3) 空白處或無底色部分，不可以自行修改。"]
[null,"營業擔當",null,null,"楊勝安"]
[null,"基本參數表"]
[null,"製造編號",null,null,"(由業務部編碼)",null,null,"版次",null,null,"A(初版)",null,null,"日期",null,null,20230703]
[null,"號機",null,null,"#1",null,null,"案件名稱",null,null,"穆刻室內-新竹案"]
[null,"案件地址",null,null,"新竹市北區延平路一段138巷7號"]
[null,"梯型",null,null,"平台梯",null,null,"層/站/門",null,null,"4/","4/",4,"台數",null,null,1]
[null,"额定速度",null,null,"0.15 m/s",null,null,"额定载重",null,null,"320KG",null,null,"动力电压",null,null,"單相220 V"]
[]
[null,"土建參數表"]
[null,"井道類型",null,null,"铝合金",null,null,"井道颜色",null,null,"米珍珠",null,null,"井道玻璃",null,null,"5+5強化玻璃"]
[null,"預留井道寬度",null,null,1174,null,null,"預留井道深度",null,null,1392,null,null,"提升高度",null,null,10050]
[null,"頂層高度",null,null,2880,null,null,"底坑深度",null,null,100,null,null,"井道總高",null,null,{"$f":"Q13+E14+K14","v":13030}]
[]
[null,"轎廂參數表"]
[null,"轎廂裝潢",null,null,"V12",null,null,"背景牆",null,null,"岩板 - \n雪花白"]
[null,"轎廂寬度",null,null,1100,null,null,"轎廂深度",null,null,1000,null,null,"轎廂高度",null,null,2200]
[null,"操作盤型號",null,null,"標配 - 智慧屏01",null,null,"地毯樣式",null,null,"標配 - 灰色尼龍"]
[null,"P.S. 轎廂裝潢搭配之背景牆以及操作盤皆已標準套餐型式執行。"]
[null,"層站參數表"]
[null,"樓層名",null,"前側\n開門方式",null,"前側\n開門寬度",null,"左側\n開門方式",null,"左側\n開門寬度",null,"右側\n開門方式",null,"右側\n開門寬度",null,"開門高度",null,"層高"]
[null,1,null,"無",null,null,null,"無",null,null,null,"自動雙平\n開門",null,806,null,2100,null,3250]
[null,2,null,"自動雙平\n開門",null,848,null,"無",null,null,null,"無",null,null,null,2100,null,3500]
[null,3,null,"無",null,null,null,"無",null,null,null,"自動雙平\n開門",null,806,null,2100,null,3300]
[null,4,null,"無",null,null,null,"無",null,null,null,"自動雙平\n開門",null,806,null,2100,null,2880]
[null,5,null,"無",null,null,null,"無",null,null,null,"無"]
[null,"P.S. 以上每樓層開門方式請確實填寫"]
[]
[null,"層門參數表"]
[null,"層門材质",null,null,"依標準",null,null,"召喚盒型號",null,null,"標配 - 召喚盒01"]
[]
[null,"特記欄位"]
[null,"業主有智慧呼梯需求，故請規劃設計各樓外呼接點"]
[null,"將此接點預留在頂樓控制櫃附近，供弱電廠商接線使用。"]
[]
[null,"改訂履歷"]

{"sheet":"Sheet2","index":1,"n_rows":14,"n_cols":13,"rows_kept":14,"cut":false,"hidden":false,"merged":[]}
[]
[]
[]
[{"$nulls":5},"無"]
[null,"2/","2/",2,"180KG","自動雙平\n開門","V12","標配 - 灰色尼龍","標配 - 智慧屏01","皮革","#1","雪山白","標配 - 召喚盒01"]
[null,"3/","3/",3,"280KG","自動單平\n開門(左軸)",null,"選配 - 藍色尼龍","選配 - 智慧屏02","有機玻璃-夕","#2","柔光黑","選配 - 召喚盒02"]
[null,"4/","4/",4,"320KG","自動單平\n開門(右軸)",null,null,null,"有機玻璃-曉","#3","皓沙銀"]
[null,"5/","5/",5,null,"手動單平\n開門(左軸)",null,null,null,"岩板 - \n莫蘭迪色 翠綠","#4","米珍珠"]
[null,"6/","6/",6,null,"手動單平\n開門(右軸)",null,null,null,"岩板 - \n莫蘭迪色 宮廷橙","#5","牛津藍"]
[{"$nulls":9},"岩板 - \n雪花白","#6","中國紅"]
[{"$nulls":9},"岩板 - \n羅馬金啡石"]
[{"$nulls":9},"岩板 - \n翰海星雲"]
[{"$nulls":9},"岩板 - \n斯里蘭卡鐵刀木"]
[{"$nulls":9},"岩板 - \n愛爾蘭 布紋綠"]