{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["A"],"not_rendered":{"charts":0,"images":3,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"A","index":0,"n_rows":26,"n_cols":13,"rows_kept":26,"cut":false,"hidden":false,"merged":[[4,9,5,9],[2,4,2,5],[6,1,6,2]]}
["永佳捷電梯升降道測量尺寸表"]
[]
["工程編號：",null,"NO4","工程名稱：","耐福營造-湖光段",null,null,"電梯編號："," ",null,null,"填表日期：","112/9/4"]
[{"$nulls":11},"填 寫 人：   ","張潘榮"]
[" 部位","WW","WD","FW","LR","FW1","FD","HR","HF(SH)","備註"]
["樓別","梯井寬度","梯井深度","左側壁寬","出入口寬度","右側壁寬","壁厚","開口高度","樓高"]
["pit ","積水垃圾無法測量",null," "," "," "," "," "," "]
[1,2010,1710,500,1000,500,200,2190,4250]
[2,2000,1700,500,1000,500,200,2210,3520]
[3,2000,1700,500,1000,500,200,2220,3520]
[4,2000,1700,500,1000,500,200,2200,3560]
[5,2000,1700,180,1510,300,205,2300,4425]
[" "," "," "," "," "," "," "," "," "]
[" "," "," "," "," "," ",null," "," "]
[]
[]
[]
[]
[{"$nulls":9}," "]
[]
[{"$nulls":9}," "]
[]
[]
[]
[]
["PH(PIT)"," ","OH:",4425]