{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["強驅梯 - 電梯規格調查表","工作表1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":43,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"強驅梯 - 電梯規格調查表","index":0,"n_rows":42,"n_cols":10,"rows_kept":42,"cut":false,"hidden":false,"merged":[[10,1,10,2],[10,3,10,4],[10,6,10,7],[10,9,10,10],[3,1,3,2],[3,3,3,4],[3,9,3,10],[4,1,4,2],[4,3,4,4],[6,1,6,2],[7,1,7,2],[7,3,7,10],[9,1,9,3],[4,9,4,10],[13,1,13,2],[11,1,11,2],[11,3,11,5],[11,6,11,7],[11,8,11,10],[12,1,12,2],[12,3,12,5],[12,6,12,7],[12,8,12,10],[16,1,16,3],[16,4,16,6],[16,8,16,10],[17,1,17,3],[17,4,17,6],[17,8,17,10],[21,1,21,3],[22,1,22,3],[22,4,22,6],[22,8,22,10],[23,8,23,10],[29,3,29,4],[29,6,29,7],[26,8,26,10],[27,1,27,3],[27,4,27,5],[27,6,27,7],[27,8,27,10],[20,1,20,6],[40,2,40,10],[37,2,37,10],[38,2,38,10],[39,2,39,10],[29,9,29,10],[31,1,31,3],[33,1,33,3],[35,1,35,3],[32,1,32,3],[36,2,36,10],[25,1,25,3],[26,1,26,3],[26,4,26,5],[26,6,26,7],[29,1,29,2],[44,1,44,10],[45,1,45,10],[2,1,2,10],[0,0,1,10],[41,1,41,10],[42,1,42,10],[43,1,43,10],[3,6,3,7],[6,3,6,10],[5,1,5,10],[4,6,4,7],[28,1,28,10],[13,3,13,5],[23,1,23,6],[19,1,19,3],[19,4,19,6]]}
["家用電梯（HOME ELEVATOR）規格書"]
[]
[null,"    請確實填入改訂紀錄 (A為初版不用註記，B番開始須確實記錄)"]
[null,"品牌",null,"永佳捷",null,"版次","A (初版)",null,"營業","楊勝安"]
[null,"製作番號",null,null,null,"號機","#1號機",null,"預計交期","2023.11.15"]
[]
[null,"客戶名稱",null,"胡一帆"]
[null,"安裝地址",null,"新竹市東區民權路56巷7號"]
[]
[null,"基本參數："]
[null,"梯型",null,"強驅梯",null,"速度","0.4 m/s",null,"動力電源","220V"]
[null,"層/站/門",null,"4層/4站/4門",null,null,"提升高度 (mm)",null,9640]
[null,"載重",null,"280kg",null,null,"主機形式",null,"卧式底坑"]
[null,"開門型式",null,"中分四扇門"]
[]
[null,"轎廂型式：",null,{"$f":"IF(E18=\"長窗型\",\"PS. 轎門以及層門皆會有長型視窗\",\" \")","v":"PS. 轎門以及層門皆會有長型視窗"}]
[null,"轎廂款式",null,null,"G10 首席款",null,null,"轎門顏色",{"$f":"IF(E17=\"G5 純質款\",\"MS-125白砂灰\",IF(E17=\"G6 經典款\",\"MS-125白砂灰\",IF(E17=\"G10 首席款\",\"MS-125白砂灰\",IF(E17=\"G20 尊爵款\",\"MS-125白砂灰\",IF(E17=\"A3 時尚款\",\"黑鈦噴砂不鏽鋼抗指紋\",IF(E17=\"A8 雅緻款\",\"黑鈦噴砂不鏽鋼抗指紋\",\" \"))))))","v":"MS-125白砂灰"}]
[null,"層門型式",null,null,"長窗型",null,null,"層門顏色","MS-125白砂灰"]
[null,{"$f":"IF(E17=\"G5 純質款\",\"PS. 層門僅能選擇長窗型\",IF(E17=\"G6 經典款\",\"PS. 層門僅能選擇長窗型\",IF(E17=\"G10 首席款\",\"PS. 層門僅能選擇長窗型\",IF(E17=\"G20 尊爵款\",\"PS. 層門僅能選擇長窗型\",\" \"))))","v":"PS. 層門僅能選擇長窗型"},{"$nulls":5},{"$f":"IF(E17=\"G5 純質款\",\"PS. 顏色僅能選擇MS-125白砂灰及MS-78純白\",IF(E17=\"G6 經典款\",\"PS. 顏色僅能選擇MS-125白砂灰及MS-78純白\",IF(E17=\"G10 首席款\",\"PS. 顏色僅能選擇MS-125白砂灰及MS-78純白\",IF(E17=\"G20 尊爵款\",\"PS. 顏色僅能選擇MS-125白砂灰及MS-78純白\",IF(E17=\"A3 時尚款\",\"PS. 顏色僅能選擇不銹鋼系列\",IF(E17=\"A8 雅緻款\",\"PS. 顏色僅能選擇不銹鋼系列\",\"  \"))))))","v":"PS. 顏色僅能選擇MS-125白砂灰及MS-78純白"}]
[null,"地毯型式",null,null,"地毯 LL-07"]
[null,{"$f":"IF(E17=\"G5 純質款\",\"PS.不可選岩板\",IF(E17=\"G6 經典款\",\"PS.不可選岩板\",IF(E17=\"G10 首席款\",\"PS.不可選岩板\",IF(E17=\"G20 尊爵款\",\"PS.不可選岩板\",IF(E17=\"A3 時尚款\",\"PS.不可選地毯、PVC地板\",IF(E17=\"A8 雅緻款\",\"不可選地毯、PVC地板\",\" \"))))))","v":"PS.不可選岩板"}]
[null,"人機介面樣式："]
[null,"操縱箱款式",null,null,"操縱面板-玻璃(白色)",null,null,"外召款式","標準配置"]
[null,{"$f":"IF(E17=\"A3 時尚款\",\"PS. 款式僅能選擇依標準配置\",IF(E17=\"A8 雅緻款\",\"PS. 款式僅能選擇依標準配置\",\" \"))","v":" "}]
[]
[null,"土建參數："]
[null,"轎廂淨尺寸（寬*深）",null,null,"950*1100",null,"井道淨尺寸（寬*深）",null,"1350*1350"]
[null,"開門淨尺寸（寬*高）",null,null,"800*2000",null,"井道類型",null,"RC結構"]
[]
[null,"底坑深度",null,550,null,"頂層淨高",3065,null,"轎廂高度",2100]
[]
[null,"樓層參數："]
[null,"所在樓層標記 (樓名)",null,null,1,2,3,4]
[null,"樓高（mm）",null,null,3200,3210,3230,3065]
[]
[null,"特記事項："]
[null,"序號","特記說明"]
[null,1]
[null,2]
[null,3]
[null,4]
[null,"改訂履歷："]

{"sheet":"工作表1","index":1,"n_rows":16,"n_cols":7,"rows_kept":16,"cut":false,"hidden":false,"merged":[]}
{"$rows_empty":8}
[{"$nulls":6},"--G系列--"]
[{"$nulls":6},"MS-125白砂灰"]
[{"$nulls":6},"MS-78 純白"]
[]
[{"$nulls":6},"--A系列--"]
[{"$nulls":6},"黑鈦噴砂不銹鋼"]
[{"$nulls":6},"MAC砂不銹鋼"]
[{"$nulls":6},"2B香檳金不銹鋼"]