{"text_format":"2","workbook":"xlsx","n_sheets":5,"sheets":["(範例) 规格调查表--1.7版","(# 輸入號機) 规格调查表--1.7版","版次订正记录","下拉菜单","土建示意图"],"not_rendered":{"charts":0,"images":5,"macros":0,"external_links":0,"defined_names":0,"comments":2,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"(範例) 规格调查表--1.7版","index":0,"n_rows":116,"n_cols":17,"rows_kept":116,"cut":false,"hidden":true,"merged":[[124,1,124,8],[124,9,124,14],[121,1,121,8],[121,9,121,14],[122,1,122,8],[122,9,122,14],[123,1,123,8],[123,9,123,14],[118,1,118,8],[118,9,118,14],[119,1,119,8],[119,9,119,14],[120,1,120,8],[120,9,120,14],[115,1,115,8],[115,9,115,14],[116,1,116,8],[116,9,116,14],[117,1,117,8],[117,9,117,14],[110,9,110,11],[110,13,110,14],[111,1,112,3],[111,5,111,6],[112,5,112,6],[114,1,114,2],[114,9,114,10],[108,1,108,3],[108,5,108,6],[108,9,109,9],[108,10,108,11],[108,13,108,14],[109,1,110,3],[109,5,109,6],[109,10,109,11],[109,13,109,14],[110,5,110,6],[106,1,106,3],[106,5,106,6],[106,9,107,11],[106,13,106,14],[107,1,107,3],[107,5,107,6],[107,13,107,14],[104,1,104,3],[104,5,104,6],[104,9,105,11],[104,13,104,14],[105,1,105,3],[105,5,105,6],[105,13,105,14],[100,1,100,3],[100,5,100,6],[100,9,100,11],[100,13,100,14],[101,1,102,3],[101,5,101,6],[101,9,101,11],[101,13,101,14],[102,5,102,6],[102,9,103,11],[102,13,102,14],[103,1,103,3],[103,5,103,6],[103,13,103,14],[96,1,96,3],[96,5,96,6],[96,9,96,11],[96,13,96,14],[97,1,97,3],[97,5,97,6],[97,9,97,11],[97,13,97,14],[98,5,98,6],[98,9,99,11],[98,13,98,14],[99,13,99,14],[98,1,98,3],[99,1,99,3],[99,5,99,6],[92,1,92,4],[93,1,93,3],[93,5,93,6],[93,9,95,11],[93,13,93,14],[94,1,94,3],[94,5,94,6],[94,13,94,14],[95,1,95,3],[95,5,95,6],[95,13,95,14],[89,1,89,3],[89,4,89,6],[89,9,89,11],[89,13,89,14],[90,1,90,3],[90,4,90,6],[87,1,87,3],[87,4,87,6],[87,9,87,11],[87,12,87,14],[88,1,88,3],[88,4,88,6],[88,9,88,11],[88,12,88,14],[86,1,86,3],[86,4,86,6],[86,9,86,11],[86,12,86,14],[72,8,72,9],[72,10,72,11],[72,12,72,14],[74,1,74,4],[82,9,82,12],[84,1,84,4],[71,1,72,2],[71,3,71,4],[71,5,71,7],[71,8,71,9],[71,10,71,11],[71,12,71,14],[72,3,72,4],[72,5,72,7],[85,1,85,3],[85,4,85,6],[85,9,85,11],[85,12,85,14],[69,1,70,2],[69,3,69,4],[69,5,69,7],[69,8,69,9],[69,10,69,11],[69,12,69,14],[70,3,70,4],[70,5,70,7],[70,8,70,9],[70,10,70,11],[70,12,70,14],[64,1,64,2],[64,3,64,4],[65,1,65,2],[66,1,66,4],[66,5,66,7],[66,8,66,9],[66,10,66,11],[66,12,66,14],[68,12,68,14],[67,1,68,2],[67,3,67,4],[67,5,67,7],[67,8,67,9],[67,10,67,11],[67,12,67,14],[68,3,68,4],[68,5,68,7],[68,8,68,9],[68,10,68,11],[62,1,62,2],[62,3,62,4],[62,6,62,7],[62,8,62,9],[62,11,62,14],[63,1,63,2],[63,3,63,4],[63,6,63,7],[63,8,63,9],[63,11,63,12],[63,13,63,14],[58,1,59,2],[58,3,59,5],[58,6,58,8],[58,9,58,14],[59,6,59,8],[59,9,59,14],[54,1,54,14],[56,1,57,2],[56,3,57,5],[56,6,56,8],[56,9,56,14],[57,6,57,8],[57,9,57,14],[51,1,53,2],[51,3,53,5],[51,6,51,8],[51,9,51,14],[52,6,52,8],[52,9,52,14],[53,6,53,8],[53,9,53,10],[47,1,47,2],[47,3,47,5],[47,6,47,8],[47,9,47,14],[48,1,48,2],[48,3,48,5],[48,6,48,8],[48,9,48,14],[45,1,46,2],[45,3,46,5],[45,6,45,8],[45,9,45,14],[46,6,46,8],[46,9,46,14],[41,1,41,2],[41,3,41,9],[42,1,42,4],[43,1,44,2],[43,3,44,5],[43,6,43,8],[43,9,43,14],[44,6,44,8],[44,9,44,14],[38,1,38,14],[39,1,39,2],[39,3,39,4],[39,6,39,7],[39,8,39,9],[40,1,40,2],[40,3,40,4],[40,6,40,7],[40,8,40,9],[36,1,36,2],[36,3,36,5],[36,6,36,7],[36,8,36,10],[36,11,36,14],[37,1,37,2],[37,3,37,5],[37,6,37,7],[37,8,37,10],[37,11,37,14],[34,1,34,2],[34,3,34,5],[34,6,34,7],[34,8,34,10],[34,11,34,14],[35,1,35,2],[35,3,35,5],[35,6,35,7],[35,8,35,10],[35,11,35,14],[32,1,32,2],[32,3,32,5],[32,6,32,7],[32,8,32,10],[32,11,32,14],[33,1,33,2],[33,3,33,5],[33,6,33,7],[33,8,33,10],[33,11,33,14],[30,11,30,12],[31,1,31,2],[31,3,31,5],[31,6,31,7],[31,8,31,10],[31,11,31,14],[29,1,29,2],[29,3,29,5],[29,6,29,7],[29,8,29,10],[30,1,30,2],[30,3,30,5],[30,6,30,7],[30,8,30,10],[22,1,22,2],[22,3,22,4],[25,1,25,2],[25,3,25,5],[25,7,25,9],[28,1,28,2],[28,3,28,5],[28,6,28,7],[28,8,28,10],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[16,1,16,2],[16,3,16,4],[16,7,16,8],[16,11,16,12],[17,1,17,2],[17,3,17,4],[17,6,17,7],[17,8,17,13],[14,1,14,2],[14,3,14,4],[14,6,14,7],[14,8,14,9],[14,11,14,12],[14,13,14,14],[11,1,11,2],[11,3,11,4],[11,6,11,7],[11,8,11,14],[13,1,13,2],[13,3,13,4],[13,6,13,7],[13,8,13,9],[13,11,13,12],[13,13,13,14],[10,1,10,2],[10,3,10,4],[10,6,10,7],[10,8,10,10],[10,11,10,12],[10,13,10,14],[9,1,9,2],[9,3,9,4],[9,6,9,7],[9,8,9,9],[9,11,9,12],[9,13,9,14],[6,1,6,2],[6,3,6,4],[6,5,6,6],[6,7,6,8],[6,9,6,10],[6,11,6,12],[6,13,6,14],[4,1,4,2],[4,3,4,5],[4,7,4,8],[4,9,4,14],[5,1,5,2],[5,3,5,4],[5,5,5,6],[5,7,5,8],[5,9,5,10],[5,11,5,12],[0,0,0,14],[1,1,1,2],[1,3,1,5],[1,10,3,14],[2,1,2,2],[2,3,2,5],[3,1,3,2],[3,3,3,5],[5,13,5,14]]}
["        請確實填入改訂紀錄 (A為初版不用註記，B番開始須確實記錄)"]
[null,"填写日期:",null,"2022.12.5",null,null,null,"版次","B",null,"【使用說明 】\n  1.请營業单位依客户要求，逐条填写；\n  2.没有选项或者说明不清楚的,於特记事项注明；\n  3.空白处或者没有底色的部分，不可以自行修改；"]
[null,"客户名称:"]
[null,"预定交期:"]
[null,"安装地区:",null,"台湾",null,null,null,"安装地址:"]
[null,"号机:"]
[null,"制造编号:"]
[null," PS：正式订单台北都必须填写(仅询价时无需填写)，编号由台湾业务编制；"]
[null,"基本规格",{"$nulls":4},"PS:非标轿厢內法，請依实際尺寸填写；"]
[null,"机种:",{"$nulls":4},"载重:",null,"1000kg",null,"标准","速度:",null,"90m/min"]
[null,"用途:",null,"人乘",null,null,"类型:",null,"新梯",null,null,"场合:",null,"一般"]
[null,"运转方式:",null,"单台",null,null,"联/群控号机:",null,"无"]
[]
[null,"轿厢內法寬:",null,{"$f":"IF(K10=\"标准\",\"依标准\",\"\")","v":"依标准"},null,null,"內法深:",null,{"$f":"IF(K10=\"标准\",\"依标准\",\"\")","v":"依标准"},null,null,"內法高:",null,{"$f":"IF(K10=\"标准\",\"依标准\",\"\")","v":"依标准"}]
[null,"开门形式:",null,"2P-CO",null,null,"开门宽:",null,{"$f":"IF(K10=\"标准\",\"依标准\",\"\")","v":"依标准"},null,null,"开门高:",null,{"$f":"IF(K10=\"标准\",\"依标准\",\"\")","v":"依标准"}]
[]
[null,"层站门：",null,null,null,"層","×",null,null,"站","×",null,null,"門"]
[null,"千鸟&贯通:",null,"否",null,null,"层楼名："]
[]
[null,"井道尺寸",{"$nulls":4},"PS:井道最终依土建图为准；"]
[null,"顶层:",null,null,null,"mm","底坑:",null,null,"mm",null,"行程:",null,"mm"]
[null,"井道内法宽:",null,null,null,"mm","井道內法深:",null,null,"mm",null,"全高:",null,"mm"]
[null,"井道结构:",null,"全混泥土"]
[]
["    ","电源叁数"]
[null,"主电源:",null,"3相4线制380V/60HZ",null,null,"照明:",{"$f":"IF(D10=\"MAQ100強驅梯\",\"单相220V/60HZ\",\"单相110V/60HZ\")","v":"单相110V/60HZ"},null,null,null,{"$f":"IF(D10=\"MAQ100強驅梯\",\"P.S.強驅梯照明電源为单相220V/60HZ\",\" \")","v":" "}]
[]
["    ","轿厢"]
[null,"轎廂:",null,"MA001",null,null,"標準選型:",null,"否",null,null,{"$f":"IF(I29=\"否\",\"  P.S.請確實填寫下方選型資料\",\"\")","v":"  P.S.請確實填寫下方選型資料"}]
[null,"天井:",null,"依标准",null,null,"材质:",null,"依标准",null,null,"  P.S.法規規定逃生窗400*500"]
[null,"地板:",null,"依标准",null,null,"型号:",null,"依标准",null,null,"预留厚度:",null,{"$f":"IF(I31=\"其他\",\" \",\"/\")","v":"/"},"mm"]
[null,"轎壁侧板位置",null,"材质",null,null,"材质厚度",null,"色号(依様本填写)",null,null,"备注"]
[null,"前侧:",null,"依标准",null,null,"依标准",null,"/"]
[null,"两侧两端:",null,"依标准",null,null,"依标准",null,"/"]
[null,"两侧中间:",null,"依标准",null,null,"依标准",null,"/"]
[null,"后侧两端:",null,"依标准",null,null,"依标准",null,"/"]
[null,"后侧中间:",null,"依标准",null,null,"依标准",null,"/"]
[null,"轎門:",null,"依标准",null,null,"依标准",null,"/"]
[null,"PS:除发纹不锈钢、镜面外，其余材质需按照公司样本填写色号；"]
[null,"预留装潢重:",null,0,null,"kg","预留装潢厚度",null,"无",null,"mm"]
[null,"扶手:",null,"无",null,null,"位置",null,{"$f":"IF($D$11=\"紧急兼残障\",\"两侧\",IF($D$11=\"残障\",\"两侧\",IF($D$41=\"MC001\",\"特记\",IF($D$41=\"MC002\",\"特记\",IF($D$41=\"MC003\",\"特记\",IF($D$41=\"MC004\",\"特记\",\"无\"))))))","v":"无"},null,null,{"$f":"IF(D11=\"紧急兼残障\",\"  P.S.不可使用MC001,標準為两侧\",IF(D11=\"残障\",\"  P.S.不可使用MC001,標準為两侧\",\" \"))","v":" "}]
[null,"明镜:",null,{"$f":"IF($D$11=\"紧急兼残障\",\"后侧(半身明鏡)有,由台北自理\",IF($D$11=\"残障\",\"后侧(半身明鏡)有,由台北自理\",\"无\"))","v":"无"},{"$nulls":7},{"$f":"IF(D42=\"后侧(半身明鏡)有,由台北自理\",\"  P.S:选配明镜时，由台北自理；\",\"\")","v":""}]
[null,"人机界面 (轎廂側)"]
[null,"主操纵盘型号",null,"ME001",null,null,"按钮&显示:",null,null,"标准"]
[{"$nulls":6},"面板材质&位置:",null,null,"标准"]
[null,"副操纵盘型号",null,"无",null,null,"按钮&显示:",null,null,"无"]
[{"$nulls":6},"面板材质&位置:",null,null,"无"]
[null,"残障主操纵盘",null,"无",null,null,"面板材质&位置:",null,null,"无"]
[null,"残障副操纵盘",null,"无",null,null,"面板材质&位置:",null,null,"无"]
[]
["    ","人机界面 (層门側)"]
[null,"外呼:",null,"无",null,null,"按钮&显示:",null,null,"标准"]
[{"$nulls":6},"面板材质:",null,null,"标准"]
[{"$nulls":6},"基准阶楼层:",null,null,"1",null,"FL"," P.S：基准阶标配外呼锁"]
[null,"PS:外呼/操纵盘等,於残障时需附盲文点字板,盲文点字板由台北自理,上海需注意按钮之间的间隙；"]
[]
[null,"到站灯",null,"无",null,null,"面板材质:",null,null,"无"]
[{"$nulls":6},"安装楼层:"]
[null,"橫向顯示器",null,"无",null,null,"面板材质:",null,null,"无"]
[{"$nulls":6},"安装楼层:"]
[]
["    ","層门系统"]
[null,"前门楼层:",null,null,null,"＋","后门楼层:",null,"无",null,null,{"$f":"IF(D18=\"是\",\" P.S:后门仅当千鸟或贯穿时需填写\",\" \")","v":" "}]
[null,"耐火:",null,"否",null,null,"耐火停数:",null,"无",null,null,"耐火楼层:",null,"无"]
[null,"门保护:",null,"光幕"]
[]
[null,"部品",null,null,null,"材质",null,null,"材质厚度",null,"色号(依様本)",null,"备注"]
[null,"层门:",null,"首层:",null,"发纹不锈钢",null,null,"依标准",null,"/"]
[null,null,null,"其余层:",null,"发纹不锈钢",null,null,"依标准",null,"/"]
[null,"小门框:",null,"首层:",null,"无",null,null,"无",null,"/"]
[null,null,null,"其余层:",null,"无",null,null,"无",null,"/"]
[null,"大门框:",null,"首层:",null,"无",null,null,"无",null,"/"]
[null,null,null,"其余层:",null,"无",null,null,"无",null,"/"]
[null,"PS:如其余层有大、小门框区別，请于备注栏填写。"]
[null,"轿厢象限示意圖"]
[]
[]
[]
[]
[{"$nulls":11}," P.S:主操纵盘标准位置为左前側板"]
[{"$nulls":11}," P.S:残障主操纵盘标准位置为右側中央"]
[]
[]
[]
[null,"标配功能"]
[null,"井道照明",null,null,"标配",{"$nulls":4},"物联网",null,null,"标配"]
[null,"出货方式",null,null,"依公司标准",{"$nulls":4},"自动返回基站",null,null,"标配"]
[null,"无机房主机侧是否为卧室",null,null,"否，不允许",{"$nulls":4},"次楼层停靠",null,null,"标配"]
[null,"误登录取消",null,null,"标配",{"$nulls":4},"出口木箱",null,null,"标配"]
[null,"再平层功能",null,null,"标配",{"$nulls":4},"保固年限",null,null,18,"單位 : 月"]
[null,"开延长",null,null,"标配",{"$nulls":4},"PS:标配功能，不限于下表所列选项，以Masada样本上所列为准；"]
[]
[null,"选配功能"]
["B","三大件进口",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!P94=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"临时层门(IB)",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!Q94=TRUE,\"✅\",\"  \")","v":"✅"},null,false,true]
["B","出入口牛腿",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!P95=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"停数:",1,null,false,true]
["B","对重附安全钳",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!P96=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"楼层:",1,null,false,true]
[null,"冷气(歌林)",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!P97=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"临时轿门(IB)",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!Q97=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"夏普空气清净机",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!P98=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"火灾",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!Q98=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"对讲主机特殊安裝",null,null,"位置:",null,null,"PS. 安裝於機房為標準",null,"轎廂側電子佈告欄",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!Q99=TRUE,\"✅\",\"  \")","v":"  "},null,true,false]
[null,"管理室对讲机集中管理",null,null,"台数:",{"$nulls":7},"位置:",null,null,true,true]
[null,"中央监控系统(CRT)",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!P101=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"紫外灯杀菌系统",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!Q101=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"人脸识别",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!P102=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"语音呼梯(外置式)",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!Q102=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[{"$nulls":4},"形式:",{"$nulls":4},"APP智能呼梯",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!Q103=TRUE,\"✅\",\"  \")","v":"  "},null,true,false]
[null,"轿厢附到站钟GONG",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!P104=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"形式:",null,null,false,true]
[null,"地震管制",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!P105=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"刷卡机管制\n(轿厢侧)",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!Q105=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"语音合成",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!P106=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"形式:",null,null,false,true]
[null,"ARD",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!P107=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"刷卡机管制\n(乘场侧)",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!Q107=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"能量回馈器",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!P108=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"形式:",null,null,false,true]
[null,"RS485接口",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!P109=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"特殊操作","专用运转",null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!Q109=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"轿厢摄像头\n(CCTV)",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!P110=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":4},"司机操作",null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!Q110=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[{"$nulls":4},"形式:",{"$nulls":4},"满载直驶",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!Q111=TRUE,\"✅\",\"  \")","v":"  "},null,true,false]
[null,"观光梯外妆板",null,null,null,{"$f":"IF('(範例) 规格调查表--1.7版'!P112=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"PS:選擇刷卡机时，須配PASS開關；刷卡機面板尺寸 : 90x125mm",{"$nulls":5},false,true]
[{"$nulls":4},"材质:",{"$nulls":4},"PS:緊急梯时，火災回歸為標配，無須勾選。"]
[]
[null,"特记事项：",{"$nulls":7},"改訂履歷："]
[{"$nulls":9},"例 : [A] 外呼選型變更  2022.11.22 郭承瑋"]

{"sheet":"(# 輸入號機) 规格调查表--1.7版","index":1,"n_rows":124,"n_cols":17,"rows_kept":124,"cut":false,"hidden":false,"merged":[[49,1,49,14],[55,1,55,14],[67,1,68,2],[64,1,64,2],[124,1,124,8],[124,9,124,14],[0,0,0,14],[1,10,3,14],[103,1,103,3],[106,1,106,3],[107,1,107,3],[108,1,108,3],[109,1,110,3],[111,1,112,3],[111,5,111,6],[112,5,112,6],[110,5,110,6],[109,5,109,6],[108,5,108,6],[107,5,107,6],[106,5,106,6],[104,5,104,6],[103,5,103,6],[90,4,90,6],[86,1,86,3],[99,1,99,3],[100,1,101,3],[102,1,102,3],[102,5,102,6],[100,5,100,6],[99,5,99,6],[101,5,101,6],[85,4,85,6],[95,1,95,3],[96,1,96,3],[97,5,97,6],[96,5,96,6],[95,5,95,6],[69,1,70,2],[69,3,69,4],[69,5,69,7],[87,1,87,3],[97,1,97,3],[98,1,98,3],[98,5,98,6],[121,9,121,14],[122,1,122,8],[122,9,122,14],[115,9,115,14],[116,1,116,8],[116,9,116,14],[117,1,117,8],[117,9,117,14],[110,9,110,11],[110,13,110,14],[114,1,114,2],[114,9,114,10],[115,1,115,8],[108,9,109,9],[108,10,108,11],[108,13,108,14],[109,10,109,11],[123,1,123,8],[123,9,123,14],[118,1,118,8],[118,9,118,14],[119,1,119,8],[119,9,119,14],[120,1,120,8],[120,9,120,14],[121,1,121,8],[109,13,109,14],[104,13,104,14],[106,9,107,11],[106,13,106,14],[107,13,107,14],[101,13,101,14],[102,13,102,14],[103,9,104,11],[103,13,103,14],[99,9,99,11],[99,13,99,14],[100,9,100,11],[100,13,100,14],[101,9,102,11],[97,9,98,11],[97,13,97,14],[98,13,98,14],[95,9,95,11],[95,13,95,14],[96,9,96,11],[96,13,96,14],[92,13,92,14],[93,13,93,14],[94,13,94,14],[91,1,91,4],[92,9,94,11],[94,1,94,3],[94,5,94,6],[88,9,88,11],[88,12,88,14],[89,9,89,11],[88,1,88,3],[89,1,89,3],[90,1,90,3],[92,1,92,3],[93,1,93,3],[93,5,93,6],[92,5,92,6],[86,9,86,11],[86,12,86,14],[87,9,87,11],[87,12,87,14],[86,4,86,6],[87,4,87,6],[88,4,88,6],[89,4,89,6],[71,1,72,2],[71,3,71,4],[71,5,71,7],[71,8,71,9],[71,10,71,11],[71,12,71,14],[84,1,84,4],[85,9,85,11],[85,12,85,14],[72,3,72,4],[72,5,72,7],[72,8,72,9],[72,10,72,11],[72,12,72,14],[74,1,74,4],[85,1,85,3],[69,10,69,11],[69,12,69,14],[70,3,70,4],[70,5,70,7],[70,8,70,9],[70,10,70,11],[70,12,70,14],[66,10,66,11],[66,12,66,14],[67,3,67,4],[67,5,67,7],[67,8,67,9],[67,10,67,11],[67,12,67,14],[68,3,68,4],[68,5,68,7],[68,8,68,9],[68,10,68,11],[68,12,68,14],[69,8,69,9],[64,3,64,4],[65,1,65,2],[66,1,66,4],[66,5,66,7],[66,8,66,9],[63,1,63,2],[63,3,63,4],[63,6,63,7],[63,8,63,9],[63,11,63,12],[63,13,63,14],[62,1,62,2],[62,3,62,4],[62,6,62,7],[62,8,62,9],[62,11,62,14],[58,1,59,2],[58,3,59,5],[58,6,58,8],[58,9,58,14],[59,6,59,8],[59,9,59,14],[54,1,54,14],[56,1,57,2],[56,3,57,5],[56,6,56,8],[56,9,56,14],[57,6,57,8],[57,9,57,14],[51,1,53,2],[51,3,53,5],[51,6,51,8],[51,9,51,14],[52,6,52,8],[52,9,52,14],[53,6,53,8],[53,9,53,10],[47,1,47,2],[47,3,47,5],[47,6,47,8],[47,9,47,14],[48,1,48,2],[48,3,48,5],[48,6,48,8],[48,9,48,14],[45,1,46,2],[45,3,46,5],[45,6,45,8],[45,9,45,14],[46,6,46,8],[46,9,46,14],[41,1,41,2],[41,3,41,9],[43,1,44,2],[43,3,44,5],[43,6,43,8],[43,9,43,14],[44,6,44,8],[44,9,44,14],[38,1,38,14],[39,1,39,2],[39,3,39,4],[39,6,39,7],[39,8,39,9],[40,1,40,2],[40,3,40,4],[40,6,40,7],[40,8,40,9],[42,1,42,4],[36,1,36,2],[36,3,36,5],[36,6,36,7],[36,8,36,10],[36,11,36,14],[37,1,37,2],[37,3,37,5],[37,6,37,7],[37,8,37,10],[37,11,37,14],[34,1,34,2],[34,3,34,5],[34,6,34,7],[34,8,34,10],[34,11,34,14],[35,1,35,2],[35,3,35,5],[35,6,35,7],[35,8,35,10],[35,11,35,14],[32,1,32,2],[32,3,32,5],[32,6,32,7],[32,8,32,10],[32,11,32,14],[33,1,33,2],[33,3,33,5],[33,6,33,7],[33,8,33,10],[33,11,33,14],[30,1,30,2],[30,3,30,5],[30,6,30,7],[30,8,30,10],[30,11,30,12],[31,1,31,2],[31,3,31,5],[31,6,31,7],[31,8,31,10],[31,11,31,14],[28,1,28,2],[28,3,28,5],[28,6,28,7],[28,8,28,10],[29,1,29,2],[29,3,29,5],[29,6,29,7],[29,8,29,10],[22,1,22,2],[22,3,22,4],[25,1,25,2],[25,3,25,5],[25,7,25,9],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[16,1,16,2],[16,3,16,4],[16,7,16,8],[16,11,16,12],[17,1,17,2],[17,3,17,4],[17,6,17,7],[17,8,17,13],[14,1,14,2],[14,3,14,4],[14,6,14,7],[14,8,14,9],[14,11,14,12],[14,13,14,14],[11,1,11,2],[11,3,11,4],[11,6,11,7],[11,8,11,14],[13,1,13,2],[13,3,13,4],[13,6,13,7],[13,8,13,9],[13,11,13,12],[13,13,13,14],[9,13,9,14],[10,1,10,2],[10,3,10,4],[10,6,10,7],[10,8,10,10],[10,11,10,12],[10,13,10,14],[9,1,9,2],[9,6,9,7],[9,11,9,12],[9,3,9,5],[9,8,9,10],[4,3,4,5],[4,7,4,8],[4,9,4,14],[5,1,5,2],[5,3,5,4],[5,5,5,6],[5,7,5,8],[5,9,5,10],[5,11,5,12],[1,8,1,9],[2,8,2,9],[111,9,111,11],[111,13,111,14],[104,1,105,3],[105,5,105,6],[105,9,105,11],[105,13,105,14],[1,1,1,2],[1,3,1,5],[2,1,2,2],[2,3,2,5],[3,1,3,2],[3,3,3,5],[89,13,89,14],[5,13,5,14],[6,1,6,2],[6,3,6,4],[6,5,6,6],[6,7,6,8],[6,9,6,10],[6,11,6,12],[6,13,6,14],[4,1,4,2]]}
["        請確實填入改訂紀錄 (A為初版不用註記，B番開始須確實記錄)"]
[null,"填寫日期:",null,"2023.09.11",null,null,null,"版次","A(初版)",null,"【使用說明 】\n  1.請營業單位依客户要求，逐條填寫；\n  2.没有選項或者說明不清楚的,於特記事項註明；\n  3.空白處或者没有底色的部分，不可以自行修改；"]
[null,"客户名稱:",null,"國聯建設(旗津棧)",null,null,null,"營業","杜孟釗"]
[null,"預定交期:",null,"2024.02.20"]
[null,"安裝地區:",null,"台灣",null,null,null,"安裝地址:",null,"高雄市旗津區中洲二路162號旁"]
[null,"號機:",null,"NO.2"]
[null,"製造編號:",null,"3MX00136"]
[null," PS：正式訂單台北都必須填寫(僅詢價時無需填寫)，編號由台灣業務編製；"]
[null,"基本规格",{"$nulls":4},"PS:非标轿厢內法，請依实際尺寸填写；"]
[null,"機種:",null,"MAE100 有機房",null,null,"載重:",null,"800kg",null,null,"速度:",null,"105m/min"]
[null,"用途:",null,"殘障",null,null,"類型:",null,"新梯",null,null,"場合:",null,"一般"]
[null,"運轉方式:",null,"聯動",null,null,"聯/群控號機:",null," NO.1-NO.2"]
[]
[null,"轎廂內法寬:",null,1400,null,null,"內法深:",null,1400,null,null,"內法高:",null,2500]
[null,"開門形式:",null,"2P-CO",null,null,"開門寬:",null,800,null,null,"開門高:",null,2200]
[]
[null,"層 / 站 / 門：",null,"12",null,"層","×","11",null,"站","×","11",null,"門"]
[null,"千鳥&貫通:",null,"否",null,null,"樓層名：",null,"B1,1F,2-9,RF"]
[]
[null,"井道尺寸",{"$nulls":4},"PS:井道最终依土建图为准；"]
[null,"頂層 (OH):",null,5750,null,"mm","底坑 (PIT):",null,2350,"mm",null,"行程:",37400,"mm"]
[null,"井道内法寬:",null,1950,null,"mm","井道內法深:",null,2100,"mm",null,"全高:",45500,"mm"]
[null,"井道結構:",null,"RC結構"]
[]
["    ","电源叁数"]
[null,"主電源:",null,"3相4線制380V/60HZ",null,null,"照明:","單相220V/60HZ",null,null,null,{"$f":"IF(D10=\"MAQ100強驅梯\",\"P.S.強驅梯照明電源为单相220V/60HZ\",\" \")","v":" "}]
[]
["    ","轎廂"]
[null,"轎廂:",null,"MA004",null,null,"標準選型:",null,"否",null,null,{"$f":"IF(I29=\"否\",\"  P.S.請確實填寫下方選型資料\",\"\")","v":"  P.S.請確實填寫下方選型資料"}]
[null,"天井:",null,"MB003",null,null,"材質:",null,"依标准",null,null,"  P.S.法規規定逃生窗400*500"]
[null,"地板:",null,"業主自理",null,null,"型號:",null,"依標準",null,null,"預留厚度:",null,{"$f":"IF(D31=\"業主自理\",25,\"/\")","v":25},"mm"]
[null,"轎壁位置",null,"材質",null,null,"材質厚度",null,"色號(依樣本填寫)",null,null,"備註"]
[null,"前側:",null,"髮紋不銹鋼",null,null,"依標準",null,{"$f":"IF(D33=\"依標準\",\"/\",\" \")","v":" "}]
[null,"兩側兩端:",null,"彩妝鋼板",null,null,"依標準",null,"ML004(韓華WE423)"]
[null,"兩側中間:",null,"彩妝鋼板",null,null,"依標準",null,"ML004(韓華WE423)"]
[null,"後側兩端:",null,"彩妝鋼板",null,null,"依標準",null,"ML004(韓華WE423)"]
[null,"後侧中間:",null,"鏡面不銹鋼",null,null,"依標準",null,"鏡面不鏽鋼",null,null,"寬度請以90公分設計"]
[null,"轎門:",null,"彩妝鋼板",null,null,"依標準",null,"ML004(韓華WE423)"]
[null,"PS:除髮紋不銹鋼、鏡面外，其餘材質需按照公司樣本填寫色號；"]
[null,"預留裝潢重:",null,0,null,"kg","預留裝潢厚度",null,"無",null,"mm"]
[null,"扶手:",null,"MC002",null,null,"位置",null,"三側",null,null,{"$f":"IF(D11=\"紧急兼残障\",\"  P.S.不可使用MC001,標準為两侧\",IF(D11=\"残障\",\"  P.S.不可使用MC001,標準為两侧\",IF(D11=\"家用小電梯\",\"  P.S.2S-L扶手位於左側,2S-R扶手位於右側\",\" \")))","v":" "}]
[null,"明镜:",null,"無",{"$nulls":7},{"$f":"IF(D42=\"后侧(半身明鏡)有,由台北自理\",\"  P.S:选配明镜时，由台北自理；\",\"\")","v":""}]
[null,"人機介面 (轎廂側)"]
[null,"主操作盤型號",null,"ME001",null,null,"按鈕&顯示:",null,null,"標準"]
[{"$nulls":6},"面板材質&位置:",null,null,"標準"]
[null,"副操作盤型號",null,"無",null,null,"按鈕&顯示:",null,null,"無"]
[{"$nulls":6},"面板材質&位置:",null,null,"無"]
[null,"殘障主操作盤",null,"ME013",null,null,"面板材質&位置:",null,null,"標準"]
[null,"殘障副操作盤",null,"無",null,null,"面板材質&位置:",null,null,"無"]
[null,{"$f":"IF(D10=\"MAF100 貨梯 (無機房)\",\"PS. 無機房貨梯時，操作盤只能選擇ME021\",\" \")","v":" "}]
["    ","人機介面 (層門側)"]
[null,"外呼:",null,"MF007",null,null,"按鈕&顯示:",null,null,"標準"]
[{"$nulls":6},"面板材質:",null,null,"標準"]
[{"$nulls":6},"基準階樓層:",null,null,"1",null,"FL",{"$f":"IF(J54=\"無\",\"無須配置外呼鎖\",\"P.S:基準階標配外呼鎖\")","v":"P.S:基準階標配外呼鎖"}]
[null,"PS:外呼/操作盤等,於殘障時需附盲文點字板,盲文點字板由台北自理,上海需注意按鈕間隙；"]
[null,{"$f":"IF(D10=\"MAF100 貨梯 (無機房)\",\"PS. 無機房貨梯時，人機介面只能選擇MF028\",\" \")","v":" "}]
[null,"到站燈",null,"無",null,null,"面板材質:",null,null,"無"]
[{"$nulls":6},"安裝樓層:"]
[null,"橫向顯示器",null,"無",null,null,"面板材質:",null,null,"無"]
[{"$nulls":6},"安裝樓層:"]
[]
["    ","層門系统"]
[null,"前門樓名:",null,"/",null,"＋","後門樓名:",null,"/",null,null,{"$f":"IF(D18=\"是\",\" P.S:後門僅千鳥或貫穿時需填寫\",\" \")","v":" "}]
[null,"耐火:",null,"是",null,null,"耐火停數:",null,1,null,null,"耐火樓層:",null,"1F"]
[null,"門保護:",null,"光幕"]
[]
[null,"部品",null,null,null,"材質",null,null,"材質厚度",null,"色號(依樣本)",null,"備註"]
[null,"層门:",null,"首層:",null,"髮紋不銹鋼",null,null,"依標準",null,"防火門",null,"1F"]
[null,null,null,"其餘層:",null,"鋼板烤漆",null,null,"依標準",null,"RAL1035",null,"B1,2-9,RF"]
[null,"小門框:",null,"首層:",null,"髮紋不銹鋼",null,null,"依標準",null,"防火門",null,"1F"]
[null,null,null,"其餘層:",null,"髮紋不銹鋼",null,null,"依標準",null,null,null,"B1,2-9,RF"]
[null,"大門框:",null,"首層:",null,"無",null,null,"無"]
[null,null,null,"其餘層:",null,"無",null,null,"無"]
[null,"PS:如其餘層有大、小門框區別，请餘備註欄填寫樓名。"]
[null,"轎廂象限示意圖"]
[]
[]
[]
[]
[{"$nulls":11}," P.S:主操作盤標準位置為左前側板"]
[{"$nulls":11}," P.S.殘障主操作盤標準位置為右側中央"]
[{"$nulls":11}," P.S:貫穿 / 千鳥型前後側皆須有操作盤"]
[{"$nulls":11},"      "]
[]
[null,"標配功能"]
[null,"井道照明",null,null,"標配",{"$nulls":4},"物聯網",null,null,"標配"]
[null,"出貨方式",null,null,"依公司標準",{"$nulls":4},"開延長",null,null,"標配"]
[null,"無機房主機側是否為卧室",null,null,"否，不允许",{"$nulls":4},"次樓層停靠",null,null,"標配"]
[null,"誤登錄取消",null,null,"標配",{"$nulls":4},"出口木箱",null,null,"標配"]
[null,"再平層功能",null,null,"標配",{"$nulls":4},"保固年限",null,null,24,"單位 : 月"]
[{"$nulls":9},"PS:標配功能，不限於下表所列選項，以Masada樣本上所列為準；"]
[null,"選配功能",{"$nulls":7},"PS. 正式層門待工務通知後再進行製作。"]
[null,"三大件進口",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!P93=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"臨時層門(IB)",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!Q93=TRUE,\"✅ 標準塗裝\",\"  \")","v":"  "},null,false,false]
[null,"出入口牛腿",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!P94=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"停數:",null,null,false,true]
[null,"對重附安全鉗",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!P95=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"樓層:",null,null,false,true]
[null,"冷氣(歌林)",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!P96=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"臨時轎門(IB)",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!Q96=TRUE,\"✅ 標準塗裝\",\"  \")","v":"  "},null,false,false]
[null,"夏普空氣清淨機",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!P97=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"火災管制",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!Q97=TRUE,\"✅\",\"  \")","v":"✅"},null,false,true]
[null,"對講主機特殊安裝",null,null,"位置:","主樓乘場",null,"PS. 安裝於機房為標準",null,"轎廂側電子佈告欄",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!Q98=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"管理室對講機集中管理",null,null,"台数:","1台",{"$nulls":6},"位置:","無",null,true,true]
[null,"中央監控系統(CRT)",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!P100=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"紫外燈殺菌系统",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!Q100=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"人臉辨識",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!P101=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"語音呼梯(外掛式)",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!Q101=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[{"$nulls":4},"形式:","無",null,null,null,"APP智能呼梯",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!Q102=TRUE,\"✅\",\"  \")","v":"  "},null,true,false]
[null,"轎廂附到站鐘GONG",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!P103=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"形式:",null,null,false,true]
[null,"地震管制",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!P104=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"刷卡機管制\n(轎廂側)",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!Q104=TRUE,\"✅\",\"  \")","v":"✅"},null,false,true]
[null,"語音合成",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!P105=TRUE,\"✅\",\"  \")","v":"✅"},{"$nulls":6},"形式:","標準-業主自理(隱藏式)",null,true,true]
[{"$nulls":4},"形式:","國語 (標準)",null,null,null,"自動返回基站",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!Q106=TRUE,\"✅\",\"  \")","v":"  "},null,null,false]
[null,"ARD",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!P107=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"刷卡機管制\n(乘場側)",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!Q107=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"能量回饋器",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!P108=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":6},"形式:",null,null,false,true]
[null,"RS485接口",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!P109=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"特殊操作","專用運轉",null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!Q109=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[null,"轎廂攝像頭\n(CCTV)",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!P110=TRUE,\"✅\",\"  \")","v":"  "},{"$nulls":4},"司機操作",null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!Q110=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[{"$nulls":4},"形式:","無",null,null,null,"滿載直駛",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!Q111=TRUE,\"✅\",\"  \")","v":"  "},null,true,false]
[null,"觀光梯外裝板",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!P112=TRUE,\"✅\",\"  \")","v":"  "},null,null,null,"導軌長特殊 (記入特記)",null,null,null,{"$f":"IF('(# 輸入號機) 规格调查表--1.7版'!Q112=TRUE,\"✅\",\"  \")","v":"  "},null,false,false]
[{"$nulls":4},"材質:","無",null,null,null,"PS:緊急梯时，火災回歸為標配，無須勾選。"]
[{"$nulls":9},"PS:選擇刷卡机时，須配PASS開關；刷卡機面板尺寸 : 90x125mm"]
[null,"特記事項：",{"$nulls":7},"改訂履歷："]
[null,"1.需附開門延長",{"$nulls":7},"例 : [A] 外呼選型變更  2022.11.22 郭承瑋"]
[null,"2.本案只有1F為防火門"]
[null,"3.踢腳為烤漆黑色"]
[null,"4.本案為兩台連動"]
[null,"5.#2號機為行動不便,車廂操作盤與外呼指示器之盲人點字等相關須加上"]
[null,"6.扶手為三側,型式為MC002(高度與款式需符合殘障法規規定)"]
[null,"7.提供一組讀卡機PASS開關供1樓管理室使用"]
[null,"8.1F乘場消防開關啟動需#1-2號機同時回歸至1F(消防法規檢查)"]
[null,"9.刷卡機管制為各階管制"]

{"sheet":"版次订正记录","index":2,"n_rows":15,"n_cols":4,"rows_kept":15,"cut":false,"hidden":true,"merged":[]}
["版次","内容","作成/审核","时间"]
["1.0","初版作成","祝晓祥/李普祥","2022.06.10"]
["1.1","依照和巨龙检讨：不锈钢标配由长丝改为短丝","祝晓祥/李普祥","2022.06.10"]
["1.2","依实际使用状况，重新排版；","祝","2022.11.09"]
["1.3","依營業使用状况，重新修正；","郭","2022.11.22"]
["1.4","H10 追加全机旧改","郭","2022.11.28"]
["↑","F26 強驅照明電源追加程式","↑","↑"]
["↑","M32 追加(修改)程式","↑","↑"]
["1.5","選配功能程式修正","郭","2022.12.6"]
["↑","追加改訂欄位","↑","↑"]
["1.6","追加語音合成選項","郭","2023.2.21"]
["↑","自動返回基站改選配","↑","↑"]
["↑","新增語音形式選擇","↑","↑"]
["1.7","追加導軌長度指定欄位","郭","2023.6.30"]
["↑","追加營業擔當欄位","↑","↑"]

{"sheet":"下拉菜单","index":3,"n_rows":62,"n_cols":43,"rows_kept":62,"cut":false,"hidden":false,"merged":[]}
[]
[{"$nulls":14},"天井","地板",{"$nulls":6},"無"]
["机种",{"$nulls":11},"無",null,"依標準","依標準","外呼","明镜",null,"操纵盘型号","無",null,"依標準","无","無",{"$nulls":11},"到站灯"]
["MAE100 有機房","人乘","台灣","新梯","公共","450kg","30m/min",{"$nulls":5},"1","2","MB001","PVC","無","無","普通,直角配","無","標準","無","彩妝鋼板","Q235A","依標準","无","2P-CO","光幕","无","2:1","Φ8mm×5沟",null,"220V/50HZ",800,"2000mm",null,"無","海德汉1357","sin/cos","Φ320","TK5A-1","管理室","1台"]
["MAM200 無機房","家用小電梯","大陆","全機汰改","一般","550kg","45m/min","否","3相4線制380V/60HZ","單相220V/60HZ","RC結構","單台","2","3","MB002","大理石",null,"後側(半身明鏡)有,由台北自理","一体式,直角配","ME001","非標準,LCD顯示螢幕5吋 (直向)","MC001","鋼板烤漆","304短丝","見特記事項","两侧","2S-L","二合一","标准大门框","1:1","Φ8mm×6沟",null,null,900,"2100mm",null,"MG001",null,null,"Φ400","T75/B","主樓乘場","2台"]
["MAH100 小電梯","貨梯",null,"汰改M1",null,"600kg","60m/min","是,千鳥","3相5線制380V/60HZ",null,"圈樑","聯動","3","4","MB003","花紋鋼板(噴塗)","---人乘用---","見特記事項",null,"ME002","非標準,見特記事項","MC002","髮紋不銹鋼",304,null,"特记","2S-R",null,"大门框附幕板",null,"Φ8mm×7沟",null,null,1000,"2200mm",null,"MG002",null,null,"Φ420","T89/B","見特記事項","3台"]
["MAF100 貨梯 (有機房)","觀光",null,"汰改M2",null,"700kg","90m/min","是,貫通","3相4線制220V/60HZ",null,"鋼結構","群控","4","5","MB004","花紋鋼板(SUS)","MF001",null,null,"ME003",null,"MC003","鏡面不銹鋼","依标准",null,null,"4P-CO",null,null,null,"Φ10mm×5沟",null,null,1100,"2300mm",null,"MG003",null,null,"Φ450","T114/B",null,"4台"]
["MAF100 貨梯 (無機房)","客貨",null,"汰改M3",null,"750kg","105m/min",null,"單相 220V/60HZ",null,null,null,"5","6","MB005","業主自理","MF002",null,null,"ME005(含語音呼梯)",null,"MC004","鍍鈦不锈钢","其他",null,null,"2U",null,null,null,"Φ10mm×6沟",null,null,1200,"2400mm",null,"MG004",null,null,"Φ550","T127/B",null,"5台"]
[null,"病床",null,"汰改M4",null,"800kg","120m/min",{"$nulls":5},"6","7","MB006","依標準","MF003",null,null,"ME006(一體式,非前側)","無","MC005","髮紋不銹鋼 +蝕刻",null,null,null,"見特記事項",null,null,null,"Φ10mm×7沟",null,null,1400,"特记事项",null,"MG005",{"$nulls":5},"6台"]
["MAQ100強驅梯","緊急",null,"汰改M1+M4",null,"900kg","150m/min",null,null,null,"無",null,"7","8","MB007","MD001","MF004",null,null,"ME008(一體式,前側)","標準","見特記事項","鏡面不銹鋼 +蝕刻",{"$nulls":10},1700,null,null,"MG006",{"$nulls":5},"7台"]
["MAZ100雜物梯","殘障",null,null,null,"1000kg",{"$nulls":6},"8","9","MB008","MD002","MF005",null,null,"--------------------","見特記事項(需先和上海確認OK)",null,"鍍鈦不銹鋼 +蝕刻",{"$nulls":10},2300,null,"否","特记事项",{"$nulls":5},"8台"]
[null,"緊急兼殘障",null,null,null,"1050kg",{"$nulls":4},"左側",null,"9","10","MB009","MD003","MF006",null,null,"以下為小電梯用",null,null,"見特記事項",{"$nulls":10},"特记事项",null,"千鸟",{"$nulls":6},"9台"]
[null,"特殊環境",null,null,null,"1150kg",{"$nulls":4},"右側",null,"10","11","MB010","MD004","MF010 (有底盒,手勢呼梯)",null,null,"ME016",null,null,null,"ML001",{"$nulls":7},"是",null,null,null,"贯通",{"$nulls":6},"10台"]
[{"$nulls":5},"1350kg",{"$nulls":4},"兩側",null,"11","12",null,"MD005","MF011",null,null,"ME017",null,null,null,"ML002",null,null,"是",null,null,null,"无","否",{"$nulls":8},12,null,"11台"]
["號机",{"$nulls":4},"1500kg",{"$nulls":4},"三側",null,"12","13","--小電梯 天井--","MD006","MF013 (無接觸式按鈕)",null,null,"ME018",null,null,null,"ML003",null,null,"否",null,null,null,"依标准",{"$nulls":9},18,null,"12台"]
["NO.1",{"$nulls":4},"1600kg",{"$nulls":4},"正後側",null,"13","14","MB011","MD007","MF015",{"$nulls":5},"烤漆(色号7036)","ML004",null,"無",null,null,"無",null,"见特记事项",null,null,"刷卡机",{"$nulls":6},24,null,"13台"]
["NO.2",{"$nulls":4},"1800KG",{"$nulls":4},"見特記事項",null,"14","15","MB012","MD008","MF021",null,null,"以下為貨梯用",null,null,"烤漆(色号7042)","ML005",null,"依標準 (SUS)",null,null,"標準-僅留配線(網線)",{"$nulls":4},"無",{"$nulls":6},36,null,"14台"]
["NO.3",{"$nulls":4},"2000KG",{"$nulls":6},"15","16","MB014","MD009","MF022 (有底盒,手勢呼梯)",null,null,"ME021",null,null,"纯发纹不锈钢","ML006",null,"見特記事項",null,null,"我司负责",null,"無","是",null,"業主自理(外掛式)",{"$nulls":6},48,null,"15台"]
["NO.4",{"$nulls":4},"2500KG",{"$nulls":6},"16","17","MB015","MD010","MF030",null,null,"ME022",null,null,"镜面不锈钢","ML007",{"$nulls":6},"轎廂側","否",null,"標準-業主自理(隱藏式)",{"$nulls":8},"16台"]
["NO.5",{"$nulls":4},"3000KG",{"$nulls":6},"17","18","MB013","MD011",null,null,null,"残障操纵盘",null,null,"镀钛不锈钢","ML008",{"$nulls":6},"乘場側",null,null,"我司負責(隱藏式)",{"$nulls":8},"17台"]
["NO.6",{"$nulls":4},"3500KG",{"$nulls":6},"18","19","--貨梯 天井--","MD012","---殘障用---",null,null,"無",null,null,null,"ML009",null,null,"無",null,"无",null,"轎廂+乘場",{"$nulls":11},"18台"]
["NO.7",{"$nulls":4},"4000KG",{"$nulls":6},"19","20","MB022 (RAL7032)","MD013","MF001+MF015",null,null,"ME010",null,null,null,"ML010",null,"標準","左側前端",null,"业主自理",{"$nulls":13},"19台"]
["NO.8",{"$nulls":4},"5000KG",{"$nulls":6},"20","21","MB022 (RAL7042)","其他","MF007",null,null,"ME011",{"$nulls":5},"非標","左側中間",null,"我司负责",{"$nulls":13},"見特記事項"]
["NO.9",{"$nulls":11},"21","22","見特記事項",null,"MF008",null,null,"ME012",null,null,null,7036,null,null,"右側前端"]
["NO.10",{"$nulls":11},"22","23","轎廂",null,"MF009 (兩台並聯,手勢呼梯)",null,null,"ME013",null,null,null,7042,null,null,"右側中間",null,"无",null,"到站灯","橫顯",null,"語音合成"]
["NO.11",{"$nulls":11},"23","24","MA001",2,"MF011+MF012",{"$nulls":6},"/",null,null,"見特記事項",null,"手势",null,"無","無","无","無"]
["NO.12",{"$nulls":11},"24","25","MA002",4,"  ",{"$nulls":11},"APP",null,"MG001(弧形)","MH001","轎廂","國語 (標準)"]
["NO.13",{"$nulls":11},"25","26","MA003",6,"---人乘+残障用---",{"$nulls":13},"MG002","MH002","乘場","國語+台語"]
["NO.14",{"$nulls":11},"26","27","MA004",20,"MF019 (左側殘障用)",{"$nulls":13},"MG003(方形)","MH003",null,"國語+英語"]
["NO.15",{"$nulls":11},"27","28","MA005","特记","MF020 (右側殘障用)",{"$nulls":13},"MG004","見特記事項",null,"國語+客語"]
["NO.16",{"$nulls":11},"28","29","MA006",null,"---以下為貨梯 選型---",{"$nulls":13},"MG005",null,null,"見特記事項"]
["NO.17",{"$nulls":11},"29","30","MA007",null,"MF001 (有機房貨梯)",{"$nulls":13},"MG006"]
["NO.18",{"$nulls":11},"30","31","MA008",null,"MF028 (無機房貨梯)",{"$nulls":13},"見特記事項"]
["NO.19",{"$nulls":11},"31","32","其他",null,"---以下為強驅梯 選型---"]
["NO.20",{"$nulls":11},"32","33",null,"MB022+O24:O38","標準配置"]
["NO.21",{"$nulls":11},"33","34","--小電梯 機型--",null,"可選配置"]
["NO.22",{"$nulls":11},"34","35","MA017",null,"見特記事項"]
["NO.23",{"$nulls":11},"35","36","MA018"]
["NO.24",{"$nulls":11},"36","37","MA019"]
["NO.25",{"$nulls":11},"37","38","MA020"]
["NO.26",{"$nulls":11},"38","39","MA021"]
["NO.27",{"$nulls":11},"39","40"]
["NO.28",{"$nulls":11},"40","41","--貨梯 機型--"]
["NO.29",{"$nulls":11},"41","42","MA022"]
["NO.30",{"$nulls":11},"42","43","MA023"]
["NO.31",{"$nulls":11},"43","44"]
["NO.32",{"$nulls":11},"44","45"]
["NO.33",{"$nulls":11},"45","46"]
["NO.34",{"$nulls":11},"46","47"]
["NO.35",{"$nulls":11},"47","48"]
[{"$nulls":12},"48","49"]
[{"$nulls":12},"49","50"]
[{"$nulls":12},"50","51"]
[{"$nulls":12},"其他","52"]
[{"$nulls":13},"53"]
[{"$nulls":13},"54"]
[{"$nulls":13},"55"]
[{"$nulls":13},"56"]
[{"$nulls":13},"57"]
[{"$nulls":13},"58"]
[{"$nulls":13},"59"]
[{"$nulls":13},"60"]

{"sheet":"土建示意图","index":4,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":true,"merged":[]}