{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["工作表4"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"工作表4","index":0,"n_rows":26,"n_cols":5,"rows_kept":26,"cut":false,"hidden":false,"merged":[]}
["三、樓高"]
["作番","3MX00218","3MX00219","3MX00220","3MX00221"]
["樓名","樓高","樓高","樓高","樓高"]
["PIT",2180,2200,2185,2190]
["B3F",3215,3230,3200,3225]
["B2F",3210,3220,3200,3215]
["B1F",4350,4360,4355,4365]
["1F",6790,6800,6750,6760]
["2F",3070,3080,3090,3095]
["3F",3075,3060,3080,3060]
["4F",3080,3090,3055,3080]
["5F",3085,3095,3050,3060]
["6F",3070,3050,3060,3075]
["7F",3050,3080,3070,3055]
["8F",3070,3040,3075,3075]
["9F",3060,3080,3065,3065]
["10F",3065,3075,3070,3075]
["11F",3170,3160,3180,3160]
["12F",3170,3165,3190,3180]
["13F",3160,3150,3150,3160]
["14F",3150,3160,3160,3165]
["15F",3160,3170,3155,3170]
["RF",3180,3180,3170,3165]
["OH",5880,9050,5880,8995]
["行程",60650,57500,57500,57500]
["樓高","19T","18T","18T","19T"]