{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["工作表4"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"工作表4","index":0,"n_rows":22,"n_cols":5,"rows_kept":22,"cut":false,"hidden":false,"merged":[]}
["三、樓高"]
["作番","3MX00011","3MX00012","3MX00013","3MX00014"]
["樓名","樓高","樓高","樓高","樓高"]
["PIT",1850,1900,1910,1880]
["B3F",3120,3120,3140,3140]
["B2F",3130,3130,3145,3145]
["B1F",4220,4220,4210,4210]
["1F",6450,6450,6430,6430]
["2F",3020,3020,3030,3030]
["3F",3060,3060,3025,3025]
["4F",3050,3050,3020,3020]
["5F",3045,3045,3010,3010]
["6F",3030,3030,3000,3000]
["7F",3055,3055,3020,3020]
["8F",3060,3060,3040,3040]
["9F",3040,3040,3010,3010]
["10F",3060,3060,3020,3020]
["11F",3240,3240,3260,3260]
["RF",3220,3220,3250,3250]
["OH",6080,6050,6150,6140]
["行程",47000,47000,47000,47000]
["樓高","15T","15T","15T","15T"]