{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["工作表4"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"工作表4","index":0,"n_rows":27,"n_cols":5,"rows_kept":27,"cut":false,"hidden":false,"merged":[]}
["三、樓高"]
["作番","3MX00809","3MX00810","3MX00811","3MX00812"]
["樓名","樓高","樓高","樓高","樓高"]
["PIT",1880,1870,1890,1900]
["B4F",4030,null,null,4030]
["B3F",3120,null,null,3160]
["B2F",3110,null,null,3120]
["B1F",3870,null,null,3890]
["1F",4240,4220,4220,4210]
["2F",3220,3220,3210,3230]
["3F",3210,3240,3220,3220]
["4F",3240,3220,3230,3215]
["5F",3230,3230,3240,3240]
["6F",3220,3210,3210,3245]
["7F",3240,3200,3205,3220]
["8F",3260,3205,3220,3230]
["9F",3240,3220,3200,3210]
["10F",3240,3240,3240,3200]
["11F",3220,3230,3220,3240]
["12F",3210,3210,3210,3230]
["13F",3220,3240,3200,3240]
["14F",3210,3250,3240,3210]
["15F",3200,3240,3250,3200]
["RF",3210,3240,3260,3240]
["OH",5900,9050,9100,5880]
["行程",63050,45800,45800,63050]
["樓高","20T","15T","15T","20T"]